	[image: image2.png]



DuPage County

ROBERT J. SCHILLERSTROM

COUNTY BOARD CHAIRMAN
	COUNTY OF DU PAGE, ILLINOIS

PROCUREMENT SERVICES  DIVISION

421 North County Farm Road, Room 3-400

Wheaton, IL 60187-3978

TX:  (630) 407-6200



FX:  (630) 407-6201


COUNTY OF DU PAGE, ILLINOIS


	FURNISH, DELIVER AND INSTALL BID

	INVITATION TO BID: 
	#09-051
	BID ISSUE DATE:
	04/06/09

	BID DESCRIPTION:
	SECURITY SYSTEM UPGRADES & ADDITIONS

	BID OPENING DATE:
	04/20/09
	BID OPENING TIME:  2:00 P.M.

	SUBMIT 1 ORIGINAL PLUS 1 COPY
	BOND REQUIRED:  YES


BID RESPONSES MUST BE RECEIVED AND TIME STAMPED NO LATER THAN THE PUBLIC BID OPENING DATE AND TIME (LOCAL TIME) SPECIFIED ABOVE.  BIDS WILL BE OPENED AND READ ALOUD AT THAT TIME IN THE PROCUREMENT SERVICES DIVISION.  LATE BIDS WILL NOT BE CONSIDERED.

TO ALL PROSPECTIVE BIDDERS:

You are hereby invited to submit your bid for the item(s) to be furnished and delivered, shipped F.O.B. delivered, to the address specified herein.

The original bid and the required number of copies must be received in a sealed envelope that has your name and address in the upper left corner and the attached label filled in and pasted on the lower left corner.

All bids are subject to staff analysis.  The County of DuPage reserves the right to accept or reject any and all bids received and waive any and all technicalities.

	Bids must be delivered and time stamped, prior to the public bid opening date and time, to:


	DU PAGE COUNTY PROCUREMENT SERVICES  DIVISION

421 NORTH COUNTY FARM ROAD, ROOM 3-400
WHEATON, IL 60187-3978


	BUYER:
	MARIA C. CALAMIA, CPPB
	PHONE:
	(630) 407-6182

	TECHNICAL CONTACT:
	TOM WILLIAMS
	PHONE:
	(630) 407-5252


	FULL NAME OF BIDDER
	

	BID CONTACT PERSON
	

	TELEPHONE NUMBER
	


FACSIMILE AND/OR E-MAIL TRANSMITTED BIDS WILL NOT BE ACCEPTED
PLEASE NOTE:  Our bid documents have changed; please review carefully.

PROJECT INFORMATION

	PROJECT NAME:
	SECURITY SYSTEMS UPGRADES & ADDITIONS

	USER DEPARTMENT:
	HUMAN RESOURCES, SECURITY DIVISION


	EVENT:
	LOCATION:
	DATE:
	TIME:

	Deadline for Inquiries
	bidinformation@dupageco.org
	04/10/09
	4:00 p.m.

	Response to Inquiries
	Via E-mail
	04/13/09
	4:00 p.m.

	Deadline for Exceptions
	Procurement Services, Room 3-400
	04/13/09
	4:00 p.m.

	Bidder’s Proposal Due
	Procurement Services, Room 3-400
	04/20/09
	2:00 p.m.


	(
	SUBMITTAL CHECKLIST

(BID PACKET SHOULD BE RETURNED IN ITS ENTIRETY)

	
	ORIGINAL BID

	
	ONE (1) COPY

	
	ADDENDA NUMBER ACKNOWLEDGED, IF APPLICABLE

	
	REFERENCES

	
	PROPOSAL PRICING (INCLUDING UNIT PRICES, WHERE REQUIRED)

	
	CERTIFICATION/PROPOSAL SIGNATURE AFFIDAVIT PAGE, COMPLETED, WITH SEAL 

(IF CORPORATION) NOTARY PUBLIC AND AUTHORIZED SIGNATURE

	
	JOINT PURCHASING SECTION, COMPLETED

	
	BID SECURITY, IF APPLICABLE

	
	WARRANTY INFORMATION

	
	PAYMENT & PERFORMANCE BOND 

	
	CERTIFIED TRANSCRIPT OF PAYROLL SAMPLE (IF NOT USING STATE FORM)


	AWARDED CONTRACTOR REQUIREMENTS

	PREVAILING WAGE REQUIRED:
	YES

	BID SECURITY:
	NONE REQUIRED

	PAYMENT & PERFORMANCE BONDS:
	DUE WITHIN 10 DAYS OF NOTICE OF AWARD

	CERTIFICATE OF INSURANCE:
	DUE WITHIN 10 DAYS OF NOTICE OF AWARD

	CERTIFIED TRANSCRIPTS OF PAYROLL
	MUST ACCOMPANY EVERY INVOICE


	AUTHORIZED COUNTY REPRESENTATIVES

	CONTACT PERSON:
	MARIA C. CALAMIA, CPPB
	PHONE #:  
(630) 407-6182

	TITLE:
	DUPAGE COUNTY BUYER
	FAX #:  (630) 407-6201

	TECHNICAL CONTACT:
	TOM WILLIAMS
	PHONE #:  (630) 407-5252

	TITLE:
	CHIEF OF SECURITY 
	FAX #:  (630) 407-5250


INSTRUCTIONS TO BIDDERS
ON-LINE NOTIFICATION OF SPECIFICATIONS:

This document is available over the Internet at www.DemandStar.com, as well as from the contact listed in this document.  Adobe Acrobat( Reader is required to view electronic documents on-line.  If you do not have Adobe Acrobat( Reader, you may download it for free from Adobe at www.adobe.com/products/acrobat/readstep.html.

Businesses without Internet access may contact the Procurement Services Division of the County at (630) 407-6190 for these documents.

Companies interested in doing business with the County are able to register and maintain their registration via the Internet at www.DemandStar.comwww.DemandStar.com.  Registration is not required but if you choose to register you will receive automatic initial notification from DemandStar of relevant opportunities with the County of DuPage.  
The County is not responsible for errors and omissions occurring in the transmission or downloading of any specifications from this website.  In the event of any discrepancy between information on this website and the hard copy specifications, the terms of the hard copy specification will control.

ON-LINE PROVIDER DISCLAIMER:

DemandStar.com has no affiliation with the County of DuPage other than as a service that facilitates communication between the County and its vendors.  DemandStar.com is an independent entity and is not an agent or representative of the County.  Communications to DemandStar.com do not constitute communications to the County.

BID REQUIREMENTS:

All bids must be submitted on the blank bid form furnished with these contract documents and shall conform to the terms and conditions set forth in this Invitation to Bid (the ITB).  Please make and retain a copy of your Response (Bid) for your records.  The bid must be enclosed in a sealed envelope bearing the bid number and the printed title of the bid.  Bidders must sign, in ink, the bid form where indicated and have the signature notarized.  Unsigned bids will not be read.
Bidder shall acknowledge receipt of each addendum issued in the space provided on the bid form.

ALTERNATE/EQUAL BIDS:

The specifications cannot cover precisely, all minute details of the equipment required.  Therefore, for purposes of establishing a standard of quality, the items listed in the specification may state brand names, manufacturer’s models, numbers, et cetera. The County of DuPage, for cost effective measures, standardizes on specific items; those bids will contain the language "NO SUBSTITUTIONS," and any alternative will not be considered.   A generic or alternate brand product of equal specifications may be proposed as an alternative for the item identified unless “NO SUBSTITUTIONS” is indicated.  However, in bidding the alternate item, the bidder must also attach manufacturer’s printed specifications and literature.
Bidders submitting alternate items, of equal specifications, may be requested to provide samples of the item they intend to supply for testing.  The Procurement Manager of DuPage County shall be the sole judge to determine whether the alternate item is actually equal to the item identified in the specifications and the Procurement Manager’s decision will be final and binding.

Bidders are encouraged to submit cost-saving/value-added alternate bid pricing suggestions, such as rebates, creative lease agreements, extended warranty periods, trade-in allowances, or the availability of discounts for floor model or demonstrator units at significant savings.  Any alternate pricing should be noted as a separate line that may be subtracted from the bid pricing as specified, allowing for clear evaluation and value-analysis by the County.  

The County recognizes the expertise provided by many bidders and encourages creativity in bidding.  Alternates may be considered if the bid submitted clearly indicates what will be furnished and how it will benefit the County.  Alternates will be compared to the lowest responsive, responsible bid as specified.  

DEVIATIONS:
The County of DuPage reserves the right to approve any material the Bidder proposes to furnish which contains deviations from specification requirements but which may substantially comply.  If there is any deviation in the pack, source, quality, etc., of an item bid, from that prescribed in the specifications, Bidder must rule out the appropriate line in the specifications and clearly indicate the correction.  Prices will be converted by the County to accommodate accepted deviations.
EXCEPTIONS:

Exceptions will be considered up to seven (7) days prior to bid opening.  Exceptions must be fully described, on the Bidder's letterhead, signed, and reference the bid number.  In the absence of such statement, the bid shall be considered as if submitted in strict compliance with all terms, conditions, and specifications; the Bidder shall be held liable.  No exceptions will be accepted with the bid.  If the bidder wishes to propose terms and conditions or alternative paperwork he must do so as an exception.
EXAMINATION BY BIDDER:
The Bidder shall, before submitting his bid, carefully examine the bid and specifications.   If his bid is accepted, he will be responsible for all errors in his bid resulting from his failure or neglect to comply with these instructions.

Unless otherwise provided in the SPECIAL CONDITIONS, when the specifications include information pertaining to preliminary investigations made by the County, such information represents only the opinion of the County of DuPage as to the location, character or quantity of the materials encountered.  That information is only included for the convenience of the Contractor.  The County of DuPage does not warrant the accuracy or the sufficiency of the information and assumes no responsibility therefore.
FACSIMILE/E-MAIL TRANSMITTALS:
Facsimile and/or e-mail transmitted bids will not be accepted by the County of DuPage.  In addition, the County of DuPage will not transmit facsimile or e-mail bid specifications to the Bidder.
INTERPRETATION OF CONTRACT DOCUMENTS:
If a potential Bidder is uncertain as to the meaning of any part of the specifications or this ITB, the bidder is expected to contact the Procurement Services Division no less than seven (7) days prior to bid opening date.

PREPARATION OF BIDS:
The Bidder shall return his bid on the attached bid forms.  It must be returned with all pages intact.  Please make and retain a copy of the signed bid for your records.  Unless otherwise stated, all blank spaces on the bid page or pages, applicable to the subject specification, shall be correctly filled in.  Either a unit price or a lump sum price, or both as the case may be, shall be stated for each and every item, either typed in or printed in ink, in figures, and if required in words.  Bidder shall acknowledge receipt of each addendum issued in the space provided on the bid form.

When a bid consists of a number of items, prices must be submitted for all items unless otherwise directed in the Special Conditions.  

Where unit prices are to be bid, and/or where bids are to be made on more than one item, the Bidder shall extend the unit price(s) bid in the places provided on the pricing pages for the approximate quantities, shall compute the total amount of the bid and shall indicate same on the proposal pricing page.  The Bidder must bid in accordance with the unit(s) of measure called for unless deviation procedure is followed.  All extensions and total sums are subject to verification by the County and the correct extensions and sums will be used in the comparison of bids.  If a discrepancy exists between the unit prices and totals, the unit prices shall prevail.  If a discrepancy exists between the total base bid and the true sum of the individual bid items, the true sum shall prevail.
Where unit prices are requested, the quantities stated are approximate only but will be used to determine bid award.  The quantities for all items on which bids are to be received on a unit price basis, will not be used in establishing final payment due the Contractor.  Bids will be compared on the basis of number of units stated in the Bid Pricing Section.  Contract payment for unit price items will be based on the actual number of units delivered.  
In certain cases, amounts are to be shown in both words and figures.  When discrepancies occur between the "Written in Words" and the "In Figures" amounts for the total lump sum bid amount, the "Written in Words" shall govern.  

Bidders are warned against making any erasures or alterations of any kind, and bids that contain omissions, erasures, conditions, or alterations may be rejected.  The bidder must fill in all blanks.  Use "N/A" or "None" where applicable.

If the Bidder is a corporation, the President shall execute the bid.  In the event that the bid is executed by other than the President, a certified copy of that section of the corporate bylaws or other authorization by the corporation, which permits the person to execute the offer for the corporation, shall be submitted.

If the Bidder is a partnership, all partners shall execute the bid, unless one partner has been authorized to sign for the partnership, in which case, evidence of such authority satisfactory to the Procurement Manager shall be submitted.

If the Bidder is a sole proprietor, the owner shall execute the bid.

A "Partnership" or "Sole Proprietor" operating under an Assumed Name shall be registered with the Illinois County in which located, as provided in the Illinois Compiled Statutes, 805/ILCS 405/1 et seq.
SUBMISSION OF BIDS:
The Bidder shall be responsible for delivery of bids to the Procurement Services Division before the date and hour set for the opening of bids.  Late bids will not be considered and will be returned unopened.

All bids must be received in sealed envelopes that have your name and address in the UPPER left corner and the attached label filled in and pasted on the LOWER left corner.

Bids mailed "EXPRESS MAIL" must have bid number and due date on the outside of the EXPRESS MAIL envelope.
You must allow sufficient time for processing through the County’s internal mailroom system.
CONTRACT AWARD INFORMATION:
The successful bidder will be asked to sign a contract agreement (sample attached).  

If the bidder wishes to propose terms and conditions or alternative paperwork he must do so as an exception (see EXCEPTIONS above).

Award notification will be sent to the vendor receiving the award via mail or fax.  Award status can be viewed at www.DemandStar.com.

Response summaries will be available over the Internet at www.DemandStar.com.  This summary information will include bids that were delivered by the required bid opening date and time.

The above bid status information can also be obtained by contacting the Bid Coordinator at (630) 407-6190.

END OF INSTRUCTIONS TO BIDDERS

GENERAL CONDITIONS

ADDENDUM AND SUPPLEMENT TO INVITATION TO BID:

If it becomes necessary or advisable to revise any part of this ITB or if additional data is necessary to enable the exact interpretation of provisions of this ITB, revisions will be provided in the form of an Addendum.  If revisions are made after any mandatory Pre‑Bid conference, the revisions will be provided only to those Contractors who will have attended the Pre‑Bid conference.

Addendum information is available over the Internet at www.DemandStar.com.  Adobe Acrobat( Reader may be required to view this document.  We strongly suggest that you check for any addenda a minimum forty-eight hours (48) in advance of the bid deadline.

APPLICABLE CODES AND ORDINANCES:

Contractor hereby certifies that all materials used conform to all articles and sections of all current applicable National Building Codes and other relevant construction-related codes.  Workmanship and materials shall conform to all local applicable codes and ordinances. 

CHANGES:
The County of DuPage reserves the right to make any desired change in the specifications after the same shall have been put under contract; but the change so made, with the price to be added or deducted from the contract price, therefore, shall be agreed upon in advance between County of DuPage and the successful Contractor.

Illinois law requires that changes in excess of $10,000 or extensions greater than thirty (30) days must comply with the Criminal Code.  The Procurement Services Division shall issue to the successful Contractor a written change order to the original contract; such change orders shall be binding upon both parties thereto and shall in no way invalidate or make void the terms of the original contract not modified by such change.  
COMMENCEMENT OF WORK:
The successful Contractor must not commence any billable work prior to the County's execution of the contract or until any required documents have been submitted.  Work done prior to these circumstances shall be at the Contractor's risk.

CONFIDENTIAL INFORMATION AND COUNTY PROPERTY:
It is agreed that any and all specifications, drawings, or data furnished by County of DuPage shall (1) remain the County of DuPage's sole and exclusive property; (2) be considered and treated by Contractor as County of DuPage confidential information, and not be copied, reproduced or duplicated in any manner or disclosed to any person or party, except as is necessary in the performance of this contract and (3) be returned upon request.

CONTRACTOR PERFORMANCE:
The Instructions to Bidders, Bid Form, General Conditions, Special Conditions, contract specifications and attached exhibits, together with the approved purchase order shall be incorporated in and become terms of the Contract.  All items shall be supplied in strict accordance with the specifications.  The Contractor's performance under the terms of the Contract shall be to the satisfaction of the County. Failure to comply with any statutory requirements shall be deemed a performance breach.
DATA COMPLIANT:

Any and all equipment, products, components or parts supplied by the Contractor will be Year 2000 Compliant.  “Year 2000 Compliant” means that the information technology will accurately process date and time from, into and between the 20th and 21st centuries, the years 1999 and 2000, and for all leap years.  “Process Date and Time Data” includes, but is not limited to, date calculations, logical functions, program branching, format conversion, edits and valuations, and the use of dates in comparisons, sorting, sequencing, merging, retrieving, searching and indexing.  Furthermore, Year 2000 Compliant information technology, when used in combination with other information technology, shall accurately process date and time data if the other technology properly exchanges date and time data with it.

DRUG FREE WORKPLACE:
The Contractor (whether an individual or company) agrees to provide a drug free workplace as provided for in 30 ILCS 580/1 et seq.
ENDORSEMENTS:

Contractor shall not use the name, seal or images of County of DuPage in any form of endorsement to any third-party without the County’s written permission.

F.O.B.:

All goods are to be shipped prepaid, F.O.B. delivered and installed.  The total price quoted by the Bidder must be the total cost delivered to the location(s) stated.  Bidder must not qualify his bid by stating a F.O.B. location other than such stated location(s).  Shipments sent C.O.D. without County of DuPage's written consent will not be accepted and will at Contractor's risk and expense, be returned to Contractor.  Unauthorized shipments are subject to rejection and return at Contractor's expense. 
FORCE MAJEURE:

The County of DuPage shall not hold Contractor liable for an extraordinary interruption of events, or damage of County property, by a natural cause that cannot be reasonably foreseen or prevented; i.e., droughts, floods, severe weather phenomena, et cetera.

HOLDING OF BIDS:
Bidder may withdraw the bid at any time prior to the time specified as the closing time for the receipt of bids.  However, no Bidder shall withdraw or cancel the bid for a period of ninety (90) calendar days after said closing time for the receipt of bids.  Unauthorized withdrawal may result in forfeiture of the bid bond, or if no bid bond is required, the withdrawing Bidder shall pay the sum of $1,000.00 as liquidated damages for the County’s loss in re-bidding.
INDEMNITY:

The Contractor shall, at all times, fully indemnify, hold harmless, and defend the County and its officers, agents, and employees from and against any and all claims and demands, actions, causes of action, and cost and fees of any character whatsoever made by anyone whomsoever on account of or in any way growing out of the performance of this contract by the Contractor and its employees, or because of any act or omission, neglect or misconduct of the Contractor, its employees and agents or its subcontractors including, but not limited to, any claims that may be made by the employees themselves for injuries to their person or property or otherwise, and any claims that may be made by the employees themselves or by the Illinois Department of Labor for the Contractor’s violation of the Illinois Prevailing Wage Act (820 ILCS 130/1 et seq.).

Such indemnity shall not be limited by reason of the enumeration of any insurance coverage or bond herein provided.

Nothing contained herein shall be construed as prohibiting the County, its officers, agents, or its employees, from defending through the selection and use of their own agents, attorneys and experts, any claims, actions or suits brought against them. The Contractor shall likewise be liable for the cost, fees and expenses incurred in the County’s or the Contractor’s defense of any such claims, actions, or suits.

The Contractor shall be responsible for any damages incurred as a result of its errors, omissions or negligent acts and for any losses or costs to repair or remedy construction as a result of its errors, omissions or negligent acts.

The County does not waive its defenses or immunities under the Local Government and Governmental Employees Tort Immunity Act, 745 ILCS 10/1 et seq. by reason of indemnification or insurance.
LAW GOVERNING:
The ITB and resulting contract shall be governed by the laws of Illinois.  Bidder agrees to comply with all applicable State and Federal laws.
LIENS, CLAIMS, AND ENCUMBRANCES:
Contractor warrants and represents that all the goods and materials ordered herein are free and clear of all liens, claims, or encumbrances of any kind.

LOBBYIST REGISTRATION:

Bidder shall comply with the provisions of Chapter 2, Article IX, Section 2-600, Lobbyist Registration of the Code of DuPage County, Illinois.

MSDS:

When applicable, Contractor shall furnish Material Safety Data Sheets for their products, in compliance with the Illinois Toxic Substance Disclosure to Employee Act and the “Right-to-Know” law, 820 ILCS 220/0.01 and 820 ILCS 225/0.1.  Material Safety Data Sheets, upon award of Contract, shall be submitted to the County Procurement Services Division.

MISCELLANEOUS REQUIREMENTS:
The County will not be responsible for any expenses incurred by the Contractor in preparing and submitting a Bid.  All Bids shall provide a straightforward, concise delineation of your capabilities to satisfy the requirements of this request.  Emphasis should be on completeness and clarity of content.

NON‑DISCRIMINATING:
The Contractor, its employees and subcontractors, agree not to commit unlawful discrimination and agree to comply with applicable provisions of the Illinois Human Rights Act, the U.S. Civil Rights Act and Section 504 of the Federal Rehabilitation Act, and rules applicable to each.

PATENTS:
Contractor undertakes and agrees to defend at Contractor's own expense, all suits, actions, or proceedings in which the County of DuPage, its Officers, agents or employees are made defendants for actual or alleged infringement of any U.S. or foreign letters patent resulting from the use or sale of the items purchased hereunder.  Contractor shall inform the County of DuPage whenever infringement will result from Contractor's adherence to specifications supplied by the County of DuPage or by an authorized County representative.  Contractor further agrees to pay and discharge any and all judgments or decrees, which may be rendered in any such suit, action or proceedings against the County of DuPage, its Officers, agents or employees therein.

PAYMENT:
Original invoices must be presented for payment in accordance with instructions contained on the Purchase Order including reference to Purchase Order number and submitted to the correct address for processing.  The County shall pay all invoices pursuant to 50 ILCS 505, “Local Government Prompt Payment Act”.  Invoices containing charges for work subject to the Illinois Prevailing Wage Act (820 ILCS 130/) are required to be accompanied by the applicable Certified Transcript of Payroll form(s) for acceptance.  Payment will not be made on invoices submitted later than six-months (180 days) after delivery of goods and any statute of limitations to the contrary is hereby waived.
PERFORMANCE AND PAYMENT BONDS:  

The awarded Contractor shall, within ten (10) working days of bid award, provide a Performance and Payment Bond a.) in the interest of the County of DuPage in the amount of one hundred percent (100%) of the contract amount to insure a timely and acceptable completion of this agreement and to insure payment for all materials, supplies and equipment charge and to insure compliance with the Illinois Prevailing Wage Act (820 ILCS 130/0.01 et seq.).  No work shall be started until receipt of a performance and payment bond.
PREVAILING WAGE:
Not less than the prevailing rate of wages as determined by the County of DuPage or the Illinois Department of Labor shall be paid to all laborers, workers and mechanics performing work under this contract.  State Statutes regarding Prevailing Wage and the current wage rates are available online at http://www.state.il.us/agency/idol/rates/rates. You must retain payroll records for 5 years and make those records available for inspection by the County or the Illinois Department of Labor. You must submit monthly certification of payroll records. Certified Transcript of Payroll forms may be downloaded from the Contractors Forms page of the DuPage County Procurement Services Division website at http://www.dupageco.org/purchasing/generic.cfm?doc_id=2414 or you may use your own format containing the same information with pre-approval by the Purchasing Manager (submit sample with bid).

A determination by the Illinois Department of Labor of debarment for violation of the Prevailing Wage Act shall result in the Contractor being automatically deemed non-responsible for the period of debarment without further proceedings by the County.

Du Page County Prevailing Wage for April 2009

Trade Name           RG TYP C Base   FRMAN *M-F>8 OSA OSH H/W   Pensn  Vac  Trng  

==================== == === = ====== ====== ===== === === ===== ===== ===== ===== 

ASBESTOS ABT-GEN        ALL   34.750 35.250 1.5   1.5 2.0 8.830 6.170 0.000 0.270 

ASBESTOS ABT-MEC        BLD   29.930  0.000 1.5   1.5 2.0 9.170 9.260 0.000 0.320 

BOILERMAKER             BLD   41.230 44.940 2.0   2.0 2.0 6.720 8.940 0.000 0.350 

BRICK MASON             BLD   38.030 41.830 1.5   1.5 2.0 8.000 9.970 0.000 0.550 

CARPENTER               ALL   39.770 41.770 1.5   1.5 2.0 9.460 7.790 0.000 0.490 

CEMENT MASON            ALL   38.000 40.000 2.0   1.5 2.0 7.250 11.70 0.000 0.380 

CERAMIC TILE FNSHER     BLD   32.150  0.000 2.0   1.5 2.0 6.150 7.370 0.000 0.380 

COMMUNICATION TECH      BLD   32.000 34.100 1.5   1.5 2.0 7.400 11.19 0.500 0.480 

ELECTRIC PWR EQMT OP    ALL   30.490 39.170 1.5   1.5 2.0 4.750 8.530 0.000 0.230 

ELECTRIC PWR GRNDMAN    ALL   23.630 39.170 1.5   1.5 2.0 4.750 6.620 0.000 0.180 

ELECTRIC PWR LINEMAN    ALL   36.270 39.170 1.5   1.5 2.0 4.750 10.16 0.000 0.270 

ELECTRIC PWR TRK DRV    ALL   24.400 39.170 1.5   1.5 2.0 4.750 6.830 0.000 0.180 

ELECTRICIAN             BLD   34.250 37.680 1.5   1.5 2.0 8.300 13.15 3.770 0.510 

ELEVATOR CONSTRUCTOR    BLD   44.930 50.550 2.0   2.0 2.0 9.525 8.210 2.700 0.000 

FENCE ERECTOR        NE ALL   30.700 32.200 1.5   1.5 2.0 7.950 8.430 0.000 0.500 

FENCE ERECTOR        W  ALL   40.200 42.210 2.0   2.0 2.0 8.140 15.16 0.000 0.230 

GLAZIER                 BLD   37.000 38.500 1.5   1.5 2.0 7.340 12.05 0.000 0.740 

HT/FROST INSULATOR      BLD   39.900 42.400 1.5   1.5 2.0 9.170 10.46 0.000 0.320 

IRON WORKER          E  ALL   40.250 42.250 2.0   2.0 2.0 9.950 14.74 0.000 0.300 

IRON WORKER          W  ALL   40.200 42.210 2.0   2.0 2.0 8.140 15.16 0.000 0.230 

LABORER                 ALL   34.750 35.500 1.5   1.5 2.0 8.830 6.170 0.000 0.270 

LATHER                  ALL   39.770 41.770 1.5   1.5 2.0 9.460 7.790 0.000 0.490 

MACHINIST               BLD   40.530 42.530 1.5   1.5 2.0 7.000 7.670 0.650 0.000 

MARBLE FINISHERS        ALL   28.650  0.000 1.5   1.5 2.0 7.920 9.970 0.000 0.550 

MARBLE MASON            BLD   38.030 41.830 1.5   1.5 2.0 8.000 9.970 0.000 0.550 

MATERIAL TESTER I       ALL   24.750  0.000 1.5   1.5 2.0 8.830 6.170 0.000 0.270 

MATERIALS TESTER II     ALL   29.750  0.000 1.5   1.5 2.0 8.830 6.170 0.000 0.270 

MILLWRIGHT              ALL   39.770 41.770 1.5   1.5 2.0 9.460 7.790 0.000 0.490 

OPERATING ENGINEER      BLD 1 43.800 47.800 2.0   2.0 2.0 9.600 6.550 1.900 1.000 

OPERATING ENGINEER      BLD 2 42.500 47.800 2.0   2.0 2.0 9.600 6.550 1.900 1.000 

OPERATING ENGINEER      BLD 3 39.950 47.800 2.0   2.0 2.0 9.600 6.550 1.900 1.000 

OPERATING ENGINEER      BLD 4 38.200 47.800 2.0   2.0 2.0 9.600 6.550 1.900 1.000 

OPERATING ENGINEER      HWY 1 42.000 46.000 1.5   1.5 2.0 9.600 6.550 1.900 1.000 

OPERATING ENGINEER      HWY 2 41.450 46.000 1.5   1.5 2.0 9.600 6.550 1.900 1.000 

OPERATING ENGINEER      HWY 3 39.400 46.000 1.5   1.5 2.0 9.600 6.550 1.900 1.000 

OPERATING ENGINEER      HWY 4 38.000 46.000 1.5   1.5 2.0 9.600 6.550 1.900 1.000 

OPERATING ENGINEER      HWY 5 36.800 46.000 1.5   1.5 2.0 9.600 6.550 1.900 1.000 

ORNAMNTL IRON WORKER E  ALL   39.050 41.300 2.0   2.0 2.0 7.950 13.19 0.000 0.500 

ORNAMNTL IRON WORKER W  ALL   40.200 42.210 2.0   2.0 2.0 8.140 15.16 0.000 0.230 

PAINTER                 ALL   37.830 39.830 1.5   1.5 1.5 6.750 6.750 0.000 0.550 

PAINTER SIGNS           BLD   30.820 34.600 1.5   1.5 1.5 2.600 2.470 0.000 0.000 

PILEDRIVER              ALL   39.770 41.770 1.5   1.5 2.0 9.460 7.790 0.000 0.490 

PIPEFITTER              BLD   42.050 45.050 1.5   1.5 2.0 7.660 8.550 0.000 1.370 

PLASTERER               BLD   32.000 33.500 1.5   1.5 2.0 6.450 6.770 0.000 0.570 

PLUMBER                 BLD   39.500 41.500 1.5   1.5 2.0 9.200 10.24 0.000 1.060 

ROOFER                  BLD   36.400 39.400 1.5   1.5 2.0 6.950 4.670 0.000 0.330 

SHEETMETAL WORKER       BLD   40.210 42.210 1.5   1.5 2.0 7.910 9.620 0.000 0.680 

SPRINKLER FITTER        BLD   40.500 42.500 1.5   1.5 2.0 8.500 6.850 0.000 0.500 

STEEL ERECTOR        E  ALL   40.250 42.250 2.0   2.0 2.0 9.950 14.74 0.000 0.300 

STEEL ERECTOR        W  ALL   40.200 42.210 2.0   2.0 2.0 8.140 15.16 0.000 0.230 

STONE MASON             BLD   38.030 41.830 1.5   1.5 2.0 8.000 9.970 0.000 0.550 

TERRAZZO FINISHER       BLD   33.810  0.000 1.5   1.5 2.0 6.150 9.850 0.000 0.310 

TERRAZZO MASON          BLD   37.390 40.390 1.5   1.5 2.0 6.150 11.11 0.000 0.350 

TILE MASON              BLD   38.630 42.630 2.0   1.5 2.0 6.150 9.010 0.000 0.500 

TRAFFIC SAFETY WRKR     HWY   24.300 25.900 1.5   1.5 2.0 3.780 1.875 0.000 0.000 

TRUCK DRIVER            ALL 1 32.550 33.100 1.5   1.5 2.0 6.500 4.350 0.000 0.150 

TRUCK DRIVER            ALL 2 32.700 33.100 1.5   1.5 2.0 6.500 4.350 0.000 0.150 

TRUCK DRIVER            ALL 3 32.900 33.100 1.5   1.5 2.0 6.500 4.350 0.000 0.150 

TRUCK DRIVER            ALL 4 33.100 33.100 1.5   1.5 2.0 6.500 4.350 0.000 0.150 

TUCKPOINTER             BLD   38.200 39.200 1.5   1.5 2.0 6.580 9.550 0.000 0.280 

Legend:  

	

	M-F>8 (Overtime is required for any hour greater than 8 worked each day, Monday through Friday. 

	OSA (Overtime is required for every hour worked on Saturday) 

	OSH (Overtime is required for every hour worked on Sunday and Holidays) 

	H/W (Health & Welfare Insurance) 

	Pensn (Pension) 

	Vac (Vacation) 

	Trng (Training) 


Explanations

DUPAGE COUNTY

IRON WORKERS AND FENCE ERECTOR (WEST) - West of Route 53.

The following list is considered as those days for which holiday rates

of wages for work performed apply: New Years Day, Memorial/Decoration

Day, Fourth of July, Labor Day, Veterans Day, Thanksgiving Day,

Christmas Day. Generally, any of these holidays which fall  on a

Sunday is celebrated on the following Monday.  This then makes work

performed on that Monday payable at the appropriate overtime rate for

holiday pay.   Common practice in a given local may alter certain days

of celebration such as the day after Thanksgiving for Veterans Day.

If in doubt, please check with IDOL.

EXPLANATION OF CLASSES

ASBESTOS - GENERAL - removal of asbestos material/mold and hazardous

materials from any place in a building, including mechanical systems

where those mechanical systems are to be removed.  This includes the

removal of asbestos materials/mold and hazardous materials from

ductwork or pipes in a building when the building is to be demolished

at the time or at some close future date.

ASBESTOS - MECHANICAL - removal of asbestos material from mechanical

systems, such as pipes, ducts, and boilers, where the mechanical

systems are to  remain.

TRAFFIC SAFETY - work associated with barricades, horses and drums

used to reduce lane usage on highway work, the installation and

removal of temporary  lane markings, and the installation and removal

of temporary road signs.

CERAMIC TILE FINISHER

The grouting, cleaning, and polishing of all classes of tile, whether

for interior or exterior purposes, all burned, glazed or unglazed

products; all composition materials, granite tiles, warning detectable

tiles, cement tiles, epoxy composite materials, pavers, glass,

mosaics, fiberglass, and all substitute materials, for tile made in

tile-like units; all mixtures in tile like form of cement, metals, and

other materials that are for and intended for use as a finished floor

surface, stair treads, promenade roofs, walks, walls, ceilings,

swimming pools, and all other places where tile is to form a finished

interior or exterior.  The mixing of all setting mortars including but

not limited to thin-set mortars, epoxies, wall mud, and any other

sand and cement mixtures or adhesives when used in the preparation,

installation, repair, or maintenance of tile and/or similar materials.

The handling and unloading of all sand, cement, lime, tile,

fixtures, equipment, adhesives, or any other materials to be used in

the preparation, installation, repair, or maintenance of tile and/or

similar materials.  Ceramic Tile Finishers shall fill all joints and

voids regardless of method on all tile work, particularly and

especially after installation of said tile work.  Application of any

and all protective coverings to all types of tile installations

including, but not be limited to, all soap compounds, paper products,

tapes, and all polyethylene coverings, plywood, masonite, cardboard,

and any new type of products that may be used to protect tile

installations, Blastrac equipment, and all floor scarifying equipment

used in preparing floors to receive tile.  The clean up and removal of

all waste and materials.  All demolition of existing tile floors and

walls to be re-tiled.

COMMUNICATIONS TECHNICIAN

Low voltage installation, maintenance and removal of telecommunication

facilities (voice, sound, data and video) including telephone and

data inside wire,  interconnect, terminal equipment, central offices,

PABX, fiber optic cable and equipment, micro waves, V-SAT, bypass,

CATV, WAN (wide area networks), LAN  (local area networks), and ISDN

(integrated system digital network), pulling of wire in raceways, but

not the installation of raceways.

MARBLE FINISHER

Loading and unloading trucks, distribution of all materials (all

stone, sand, etc.), stocking of floors with material, performing all

rigging for heavy work, the handling of all mateiral that may be

needed for the installation of such materials, building of

scaffolding, polishing if needed, patching, waxing of material if

damaged, pointing up, caulking, grouting and cleaning of marble,

holding water on diamond or Carborundum blade or saw for setters

cutting, use of tub saw or any other saw needed for preparation of

material, drilling of holes for wires that anchor material set by

setters, mixing up of molding plaster for installation of material,

mixing up thin set for the installation of material, mixing up of sand

to cement for the installatin of material and such other work as may

be required in helping a Marble Setter in the handling of all material

in the erection or installation of interior marble, slate,

travertine, art marble, serpentine, alberene stone, blue stone,

granite and other stones (meaning as to stone any foreign or domestic

materials as are specified and used in building interiors and

experiors and customarily known as stone in the trade), carrara,

sanionyx, vitrolite and similar opaque glass and the laying of all

marble tile, terrazzo tile, slate tile and precast tile, steps, risers

treads, base, or any other materials that may be used as substitutes

for any of the aforementioned materials and which are used on interior

and experior which sare installed in a similar manner.

MATERIAL TESTER I:  Hand coring and drilling for testing of materials;

field inspection of uncured concrete and asphalt.

MATERIAL TESTER II:  Field inspection of welds, structural steel,

fireproofing, masonry, soil, facade, reinforcing steel, formwork,

cured concrete, and concrete and asphalt batch plants; adjusting

proportions of bituminous mixtures.

TRUCK DRIVER - BUILDING, HEAVY AND HIGHWAY CONSTRUCTION

Class 1.  Two or three Axle Trucks.  A-frame Truck when used for

transportation purposes; Air Compressors and Welding Machines,

including those pulled by  cars, pick-up trucks and tractors;

Ambulances; Batch Gate Lockers; Batch Hopperman; Car and Truck

Washers; Carry-alls; Fork Lifts and Hoisters; Helpers;  Mechanics

Helpers and Greasers; Oil Distributors 2-man operation; Pavement

Breakers; Pole Trailer, up to 40 feet; Power Mower Tractors;

Self-propelled Chip  Spreader; Skipman; Slurry Trucks, 2-man

operation; Slurry Truck Conveyor Operation, 2 or 3 man; Teamsters

Unskilled dumpman; and Truck Drivers hauling  warning lights,

barricades, and portable toilets on the job site.

Class 2.  Four axle trucks; Dump Crets and Adgetors under 7 yards;

Dumpsters, Track Trucks, Euclids, Hug Bottom Dump Turnapulls or

Turnatrailers when pulling  other than self-loading equipment or

similar equipment under 16 cubic yards; Mixer Trucks under 7 yeards;

Ready-mix Plant Hopper Operator, and Winch Trucks,  2 Axles.

Class 3.  Five axle trucks; Dump Crets and Adgetors 7 yards and over;

Dumpsters, Track Trucks, Euclids, Hug Bottom Dump Turnatrailers or

turnapulls when  pulling other than self-loading equipment or similar

equipment over 16 cubic yards; Explosives and/or Fission Material

Trucks; Mixer Trucks 7 yards or over;  Mobile Cranes while in transit;

Oil Distributors, 1-man operation; Pole Trailer, over 40 feet; Pole

and Expandable Trailers hauling material over 50 feet long; Slurry

trucks, 1-man operation; Winch trucks, 3 axles or more;

Mechanic--Truck Welder and Truck Painter.

Class 4.  Six axle trucks; Dual-purpose vehicles, such as mounted

crane trucks with hoist and accessories; Foreman; Master Mechanic;

Self-loading equipment  like P.B. and trucks with scoops on the front.

OPERATING ENGINEERS - BUILDING

Class 1.  Mechanic; Asphalt Plant; Asphalt Spreader; Autograde;

Backhoes with Caisson attachment; Batch Plant; Benoto; Boiler and

Throttle Valve; Caisson Rigs;  Central Redi-Mix Plant; Combination

Back Hoe Front End-loader Machine; Compressor and Throttle Valve;

Concrete Breaker (Truck Mounted); Concrete Conveyor;  Concrete Paver;

Concrete Placer; Concrete Placing Boom; Concrete Pump (Truck Mounted);

Concrete Tower; Cranes, All; Cranes, Hammerhead; Cranes, (GCI and

similar Type); Creter Crane; Crusher, Stone, etc.; Derricks, All;

Derricks, Traveling; Formless Curb and Gutter Machine; Grader,

Elevating; Grouting Machines;  Highlift Shovels or Front Endloader

2-1/4 yd. and over; Hoists, Elevators, outside type rack and pinion

and similar machines; Hoists, one, two and three Drum;  Hoists, Two

Tugger One Floor; Hydraulic Backhoes; Hydraulic Boom Trucks; Hydro Vac

(and similar equipment); Locomotives, All; Motor Patrol; Pile Drivers

and Skid  Rig; Post Hole Digger; Pre-Stress Machine; Pump Cretes Dual

Ram; Pump Cretes; Squeeze Cretes-screw Type Pumps; Raised and Blind

Hole Drill; Roto Mill Grinder;  Scoops - Tractor Drawn; Slip-form

Paver; Straddle Buggies; Tournapull; Tractor with Boom and Side Boom;

Trenching Machines.

Class 2.  Boilers; Broom, All Power Propelled; Bulldozers; Concrete

Mixer (Two Bag and Over); Conveyor, Portable; Fortlist  Trucks;

Greaser Engineer; Highlift Shovels or Front Endloaders under 2-1/4

yd.; Hoists, Automatic; Hoists, inside Freight Elevators; Hoists,

Sewer Dragging  Machine; Hoists, Tugger Single Drum; Laser Screed;

Rock Drill (self-propelled); Rock Drill (truck mounted); Rollers, All;

Steam Generators; Tractors, All; Tractor  Drawn Vibratory Roller;

Winch Trucks with "A" Frame.

Class 3.  Air Compressor; Combination - Small Equipment Operator;

Generators; Heaters, Mechanical; Hoists, Inside Elevators - (Rheostat

Manual Controlled);  Hydraulic Power Units (Pile Driving, Extracting,

and Drilling); Pumps, over 3" (1 to 3 not to exceed a total  of 300

ft.); Pumps, Well Points; Welding Machines (2  through 5); Winches, 4

small Electric Drill Winches; Bobcat (up to and including 3/4 cu.

yd.).

Class 4.  Bobcats and/or other Skid Steer Loaders; Oilers; and Brick

Forklift.

OPERATING ENGINEERS - HEAVY AND HIGHWAY CONSTRUCTION

Class 1.  Craft Foreman; Asphalt Plant; Asphalt Heater and Planer

Combination; Asphalt Heater Scarfire; Asphalt Spreader;

Autograder/GOMACO or other similar  type machines; ABG Paver; Backhoes

with Caisson attachment; Ballast Regulator; Belt Loader; Caisson

Rigs; Car Dumper; Central Redi-Mix Plant; Combination  Backhoe Front

Endloader Machine, (1 cu. yd. Backhoe Bucket or over or with

attachments); Concrete Breaker (Truck Mounted): Concrete Conveyor;

Concrete  Paver over 27E cu. ft.; Concrete Placer; Concrete Tube

Float; Cranes, all attachments; Cranes, Hammerhead, Linden, Peco &

Machines of a like nature; Crete Crane;  Crusher, Stone, etc.;

Derricks, All; Derrick Boats; Derricks, Traveling; Dowell machine with

Air Compressor; Dredges; Field Mechanic-Welder; Formless Curb and

Gutter Machine; Gradall and Machines of a like nature; Grader,

Elevating; Grader, Motor Grader, Motor Patrol, Auto Patrol, Form

Grader, Pull Grader, Subgrader;  Guard Rail Post Driver Mounted;

Hoists, One, Two and Three Drum; Hydraulic Backhoes; Backhoes with

shear attachments; Mucking Machine; Pile Drivers and Skid  Rig;

Pre-Stress Machine; Pump Cretes Dual Ram; Rock Drill - Crawler or Skid

Rig; Rock Drill - Truck Mounted; Roto Mill Grinder; Slip-Form Paver;

Soil Test Drill Rig  (Truck Mounted); Straddle Buggies; Hydraulic

Telescoping Form (Tunnel); Tractor Drawn Belt Loader (with attached

pusher - two engineers); Tractor with Boom;  Tractaire with

Attachments; Trenching Machine; Truck Mounted Concrete Pump with Boom;

Raised or Blind Hole; Drills (Tunnel Shaft); Underground Boring

and/or  Mining Machines; Wheel Excavator; Widener (APSCO).

Class 2.  Batch Plant; Bituminous Mixer; Boiler and Throttle Valve;

Bulldozers; Car Loader Trailing Conveyors; Combination Backhoe Front

Endloader Machine (less  than 1 cu. yd. Backhoe Bucket or over or with

attachments); Compressor and Throttle Valve; Compressor, Common

Receiver (3); Concrete Breaker or Hydro  Hammer; Concrete Grinding

Machine; Concrete Mixer or Paver 7S Series to and including 27 cu.

ft.; Concrete Spreader; Concrete Curing Machine, Burlap Machine,

Belting Machine and Sealing Machine; Concrete Wheel Saw; Conveyor Muck

Cars (Haglund or Similar Type); Drills, All; Finishing Machine -

Concrete; Greaser  Engineer; Highlift Shovels or Front Endloader;

Hoist - Sewer Dragging Machine; Hydraulic Boom Trucks (All

Attachments); Hydro-Blaster; All Locomotives, Dinky;  Pump Cretes;

Squeeze Cretes-Screw Type Pumps, Gypsum Bulker and Pump; Roller,

Asphalt; Rotory Snow Plows; Rototiller, Seaman, etc., self-propelled;

Scoops -  Tractor Drawn; Self-Propelled Compactor; Spreader - Chip -

Stone, etc.; Scraper; Scraper - Prime Mover in Tandem (Regardless of

Size); Tank Car Heater;  Tractors, Push, Pulling Sheeps Foot, Disc,

Compactor, etc.; Tug Boats.

Class 3.  Boilers; Brooms, All Power Propelled; Cement Supply Tender;

Compressor, Common Receiver (2); Concrete Mixer (Two Bag and Over);

Conveyor, Portable;  Farm-Type Tractors Used for Mowing, Seeding,

etc.; Fireman on Boilers; Forklift Trucks; Grouting Machine; Hoists,

Automatic; Hoists, All Elevators; Hoists, Tugger  Single Drum; Jeep

Diggers;  Pipe Jacking Machines; Post-Hole Digger; Power Saw, Concrete

Power Driven; Pug Mills; Rollers, other than asphalt; Seed and Straw

Blower; Steam Generators; Stump Machine; Winch Trucks with "A" Frame;

Work Boats; Tamper - Form-Motor Driven.

Class 4.  Air Compressor; Combination - Small Equipment Operator;

Directional Boring Machine; Generators; Heaters, Mechanical; Hydraulic

Power Unit (Pile  Driving, Extracting, or Drilling); Hydro-Blaster;

Light Plants, All (1 through 5); Pumps, over 3" (1 to 3 not to exceed

a total of 300 ft.); Pumps, Well Points; Tractaire;  Welding Machines

(2 through 5); Winches, 4 Small Electric Drill Winches.

Class 5.  Bobcats (all); Brick Forklifts, Oilers.

TERRAZZO FINISHER

The handling of sand, cement, marble chips, and all other materials

that may be used by the Mosaic Terrazzo Mechanic, and the mixing,

grinding, grouting, cleaning and sealing of all Marble, Mosaic, and

Terrazzo work, floors, base, stairs, and wainscoting by hand or

machine, and in addition, assisting and aiding Marble, Masonic, and

Terrazzo Mechanics.

Other Classifications of Work:

For definitions of classifications not otherwise set out, the

Department generally has on file such definitions which are available.

If a task to be performed is not subject to one of the

classifications of pay set out, the Department will  upon being

contacted state which neighboring county has such a classification and

provide such rate, such rate being deemed to exist by reference in

this  document.  If no neighboring county rate applies to the task,

the Department shall undertake a special determination, such special

determination  being then deemed to have existed under this

determination.  If a project requires these, or any classification not

listed, please contact IDOL at 618/993-7271 for  wage rates or

clarifications.

LANDSCAPING

Landscaping work falls under the existing classifications for laborer,

operating engineer and truck driver.  The work performed by landscape

plantsman and  landscape laborer is covered by the existing

classification of laborer.  The work performed by landscape operators

(regardless of equipment used or its size) is  covered by the

classifications of operating engineer.  The work performed by

landscape truck drivers (regardless of size of truck driven) is

covered by the  classifications of truck driver.

PREVAILING WAGE PRICE ADJUSTMENT:

The contractor is required to pay the current prevailing wage, which may be adjusted during the term of the contract or renewal, with no adjustment in the contract price. In the event the parties agree to renew the contracted services for additional periods, the labor prices stated in the bid may be adjusted to the then-current prevailing wage, and such adjustment shall govern the contract price during the renewal period.  No adjustment will be made to the amount of mark-up. 
PROTEST:
Any protest concerning the award of a contract shall be decided by the Procurement Manager.  Protests shall be made in writing to the Procurement Services Division and shall be filed within three (3) business days of final approval and acceptance of the bid by the County Board.  A protest is considered filed when received by the Procurement Services Division.  The written protest shall include the name and address of the protestor, the ITB number, a statement of the specific reasons for the protest and supporting exhibits.  The Procurement Manager will respond to the written protest within seven (7) days.  The Procurement Manager’s decision relative to the protest shall be final.

Upon receipt of a protest the County may, but is not required to, delay its order under the awarded contract.
RESERVATION OF RIGHTS:

The County of DuPage reserves the right to reject any or all bids failing to meet the County's specifications or requirements and to waive technicalities.  If in the County of DuPage's opinion, the lowest bid is not the most responsible bid, considering value received for monies expended, the right is reserved to make awards as determined solely by the judgment of the County of DuPage.  In determining the lowest responsible bidder, the County shall take into consideration the qualities of the articles supplied, their conformity with the specifications, and their suitability to the requirements of the County and the delivery terms.  Intangible factors, such as the Bidder’s reputation and past performance, will also be weighed.

The Bidder’s failure to meet the mandatory requirements of the ITB will result in the disqualification of the bid from further consideration.
The County further reserves the right to reject all bids and obtain goods or services through intergovernmental or cooperative agreements, or to issue a new and revised ITB.
Submission of a bid confers no rights on the Contractor to a selection or to a subsequent contract.  All decisions on compliance, evaluation, terms and conditions shall be made solely at the County's discretion and shall be made in the best interest of the County.

TAX:
The County of DuPage does not pay Federal Excise Tax or Illinois Sales Tax.  The tax exemption number is E9997‑4551‑05.  A copy of the exemption letter is available upon written request.
TERMINATION, CANCELLATION AND DAMAGES:  
This contract may be terminated upon mutual agreement of both parties If the County terminates this Contract because of the Contractor’s breach, the County shall have the right to purchase items or services elsewhere and to charge the Contractor with any additional cost incurred, including but not limited to the cost of cover, incidental and consequential damages and the cost of re-bidding.  The County may offset these additional costs against any sums otherwise due to the Contractor under this bid or any unrelated contract.
If the County of DuPage fails to appropriate funds to enable continued payment of multi‑year Contracts the County may cancel, without termination charges provided Contractor received at least thirty (30) days prior written notice of termination.

TRANSFER OF OWNERSHIP OR ASSIGNMENT:

The terms and conditions of this contract shall be binding upon and shall enure to the benefit of the parties hereto and their respective successors and assigns.  Prior to any sales or assignments the County of DuPage must be notified and approve same in writing.  

VENUE:
By submitting a response, bidder agrees that venue for all disputes arising out of the solicitation process, including but not limited to judicial review of any protest decision, will be exclusively in the circuit court for the Eighteenth Judicial Circuit in DuPage County, Illinois and that Illinois law will control.

WARRANTY:

Complete warranty information detailing period and coverage must be submitted.  (One (1) year warranty parts and labor is REQUIRED.) Provide an unconditional warranty covering parts and labor needed to repair defective equipment or system. 
Warranty will commence on the date of final acceptance of each card reader location, camera, digital video recorder or duress installation. Warranty will continue after all equipment is installed through November 30th of the year installed to coincide with the end of the current maintenance contract.
END OF GENERAL CONDITIONS

SPECIAL CONDITIONS 

ACCURACY DISCLAIMER:
A.
The Contractor shall thoroughly acquaint himself with the existing areas and conditions (existing conditions noted on the drawings are for general information only and shall be verified by the Contractor).

B.
The Contractor must visit and survey the site prior to submission of bids.

C.
Make use of all information in all drawings.  Structural and Architectural drawings may not be up‑to‑date.  Verify all information at building site.

D.
Miscellaneous items of work and materials necessary to the complete installation of the system shall be provided whether or not mentioned in the Specifications or shown on the Drawings.

E.
The Contractor shall examine any and all peculiarities and limitations of the spaces available and shall exercise due caution to ensure that all parts of the work are performed quickly, and that easy accessibility is maintained for maintenance purposes.  Before proceeding with the work, the Contractor shall check and verify all dimensions and shall assume all responsibility for the fitting of his equipment and materials to other equipment and structure.

F.
The Contractor shall thoroughly acquaint himself with the sites for the proposed bid to fully understand the facilities, difficulties and restrictions attending to the execution of the bid.  The Contractor will be allowed no additional compensation for his failure to be so informed.

APPROPRIATIONS:

In the current fiscal year the County has budgeted for upgrades and additions not to exceed $55,000.00. In no event shall the County be deemed, by the issuance of this invitation to Bid or the resulting contract, to have incurred expenses in excess of the amount appropriated.
COMMENCEMENT OF WORK:
The successful Contractor must not commence any billable work prior to the County's execution of the contract or until any required documents have been submitted.  Work done prior to these circumstances shall be at the Contractor's risk.

DELIVERY REQUIREMENTS:
A. Prior to delivery Contractor must give twenty‑four (24) hour notice to Tom Williams at (630) 407-5252.

B. Bidders must coordinate work with Tom Williams to insure a minimum disruption of security protection during normal business hours.

DEMONSTRATION:
Pre‑demonstration of unit may be required to determine units' suitability for our needs.

HIPAA CONFIDENTIALITY AGREEMENT:

The DuPage Convalescent Center has a legal and ethical responsibility under the Health Insurance Portability and Accountability Act (“HIPAA”) to safeguard the privacy of all patients and to protect the confidentiality of their Protected Health Information.  In the course of working at the DuPage County Convalescent Center, the successful vendor and/or its employees may come into possession of Protected Health Information or other confidential patient information, even though patient services are not part of the successful Vendor’s assigned duties. Therefore, the successful vendor shall be required, before start of work to sign the Counties Confidentiality Agreement for Vendors who are not Business Associates, provided by the Convalescent Center.
	
[image: image1.png]



DuPage County

ROBERT J. SCHILLERSTROMCOUNTY BOARD CHAIRMAN
	COUNTY OF DU PAGE, ILLINOIS
CONVALESCENT CENTER
400 North County Farm Road
Wheaton, IL 60187-3978
(630) 665-6400


Confidentiality Agreement for Vendors
Who are not Business Associates
The DuPage Convalescent Center (DPCC) has a legal and ethical responsibility under the Health Insurance Portability and Accountability Act (“HIPAA”) to safeguard the privacy of all patients and to protect the confidentiality of their Protected Health Information (“PHI”).  In the course of working for DPCC,                                      (“Vendor”) and/or its employees may come into possession of PHI or other confidential patient information, even though patient services are not part of the Vendor’s assigned duties.

Vendor understands that such PHI must be maintained in the strictest confidence.  As a condition of Vendor’s work arrangement, Vendor agrees that it will not disclose any PHI or other confidential patient information whatsoever or permit any person to examine such information.

In addition to agreeing to non-disclosure of any patient information, Vendor will inform Jennifer Ulmer, Deputy Assistant Administrator, (DPCC Designee) of any occurrence when any confidential patient information is available to Vendor.  Vendor will give the information to DPCC Designee and provide information concerning the incident.  The specific information that Vendor provides about such an occurrence will include a description of where the incident occurred, when the incident occurred, who found the information, if any DPCC workforce personnel were involved with the incident, and any subsequent action taken.

Vendor understands that a violation of this agreement may result in corrective action, including but not limited to, termination of the work arrangement between Vendor and the DPCC.

Signature of Authorized Vendor Representative


Date

Name & Title of Authorized Vendor Representative

Signature of Authorized DPCC Representative


Date

Name & Title of Authorized DPCC Representative 

INSPECTIONS:
A.
Contractors are encouraged to inspect the currently installed County of DuPage equipment prior to bidding.  Please contact Tom Williams at 630-407-5252, Monday through Friday between the hours of 8:00 a.m. and 4:30 p.m., to schedule an appointment.

B.
The County reserves the right to visit and inspect the premises and operation of any Contractor.

C.
The Contractor shall be responsible for all goods rejected by County of DuPage and returned to Contractor.  The Contractor will initiate damage claims against carrier and/or manufacturers in the event of County of DuPage's non‑acceptance.  The Contractor shall replace or adjust the cost of all rejected items.

JOINT PURCHASING:
OTHER TAXING BODIES:  Based on County Board Resolution IR‑084‑76.

Would your firm be willing to extend your bid to other taxing bodies in DuPage County such as school districts, townships, cities and villages, etc.?  The approximate quantity usage is unknown.

YES ___________

NO ____________

State any other requirements that they would have to meet beyond that of our Bid invitation and specification.

NOTE:  The County of DuPage would not be involved in purchasing by any other taxing body other than to receive a copy of their purchase order that would reference the County of DuPage contract number.  The invoicing and payments would be entirely between the other taxing bodies and the Contractor.  If the County of DuPage accepts this bid, the procedure to handle joint purchases would be developed by the County of DuPage with the Contractor and distributed to the taxing bodies by the County of DuPage.
LITERATURE:
Contractor must supply with their bid latest printed specifications and advertising literature on the equipment they propose to furnish.

MANUALS:
Contractor shall supply one (1) parts book, one (1) service and repair manuals and one (1) operator's manual with unit at time of delivery.

MEETINGS:
PRE‑AWARD: Successful Contractor may be required to attend a pre‑award meeting.  The date and time for 

this meeting will be set with Contractor prior to award of contract.

OPERATIONS AND MAINTENANCE PLAN:

Contractor shall review, understand and verify their understanding of the DuPage County Facilities Management Asbestos Operation and Maintenance Plan for applicable work.  Contractor will perform work in accordance with the Plan or will inform the designated person if unable to do so.  In such case, the Asbestos Coordinator will give instructions as required prior to any work affected by asbestos on the premises.

PAYMENTS:

Monthly invoices for newly installed equipment shall list materials and labor unit costs, clearly stated by location, shall be required. Invoices shall be directed to the Security Department, attention: Tom Williams, 421 N. County Farm Road, Wheaton, IL 60187. Tom Williams is reachable at 630-407-5252.

PERMITS, FEES, AND NOTICES:
The Contractor shall secure and pay for all Building Permits and Governmental Fees, licenses, and inspection necessary for the proper execution and completion of the work which are legally required, file all notices, comply with all laws, rules, regulations and lawful orders bearing on the performance of the work.

PROPERTY FURNISHED TO CONTRACTOR BY COUNTY OF DU PAGE:

All property furnished to the Contractor by the County of DuPage or specifically paid for by the County of DuPage, for use in the performance of this contract, shall be and remain the property of the County of DuPage, shall be subject to removal upon the County of DuPage's instruction, shall be used only in filling orders from the County of DuPage, shall be held at the Contractor's risk, shall be kept insured by the Contractor at the Contractor's expense while in its custody or control in an amount equal to the replacement cost thereof, with loss payable to the County of DuPage, and upon recall by County of DuPage shall be packaged at Contractor's expense for shipment to County of DuPage in accordance with County of DuPage's instructions.  Copies of policies or certificates of such insurance will be furnished to County of DuPage on demand.

It is agreed that any and all specifications, drawings, or data furnished by County of DuPage shall (1) remain the County of DuPage's sole and exclusive property; (2) be considered and treated by Contractor as County of DuPage confidential information, and not be copied, reproduced or duplicated in any manner or disclosed to any person or party, except as is necessary in the performance of this order/contract/and (3) be returned upon request.

PROTEST:
Any protest concerning the award of a contract shall be decided by the Procurement Services Manager.  Protests shall be made in writing to the Procurement Services Division and shall be filed within ten (10) days of issuance of award notification.  A protest is considered filed when received by the Procurement Services Division.  The written protest shall include the name and address of the protestor, identification of the procurement, a statement of the specific reasons for the protest and supporting exhibits.  The Procurement Services Manager will respond to the written protest within seven (7) days.  The Procurement Services Manager’s decision relative to the protest shall be final.

QUALITY:

Items which are used, demonstrators, obsolete, seconds, or which have been discontinued are unacceptable.

QUANTITIES:

The County of DuPage reserves the right to increase or decrease the quantities shown herein at any time during the life of the contract to correspond to the actual needs of the County of DuPage. 

If the contract quantities are changed or if the contract expires or is cancelled, no allowance to the Contractor

will be made for any change in anticipated profits, nor shall changes be considered as waiving or invalidating 

any condition or provision of the contract.

SERVICE:
A.
Location of nearest service facility must be stated.

B.
The Contractor will furnish, deliver and install all items as specified in this bid.

SUBCONTRACTORS:  
If subcontractors are used, the Contractor shall require that the subcontractor comply with all Prevailing Wage Act requirements.
TESTING:
Prior to acceptance and payment, the Contractor shall test the newly installed security system equipment in the presence of Tom Williams and/or a representative of the County of DuPage, Facilities Management Division. All necessary programming must be operational to provide a complete functioning system. 

TRAINING:
A.
The Contractor will be responsible for all training of County of DuPage personnel in proper operation of newly installed equipment at our site.    

B.
All training shall be at no additional cost to the County.

VENDOR QUALIFICATIONS:
Vendor will provide a general history, description and status of their Company.

WORKING WITHIN SECURED AREAS:

A portion of the work will be performed within secured areas.

Security
Service Company shall, one (1) week prior to starting work, supply the completed Criminal History and Background information forms (sample attached) for all their employees and subcontractor employees who may be working at the jobsite, to ____________at (630) 407-______ , for advance security reasons.

Service Company will be required to perform all work in keeping with County security procedures while on the Facilities’ grounds and shall be responsible for all personnel (including subcontractors) employed by their firm to ensure that Facilities’ dress codes and overall policies are followed.

Notice Warning
Any person who takes into, or out of, or attempts to take into, or out of a correctional facility or the grounds belonging to or adjacent to a correctional facility, any item not specifically authorized by the correctional facility, shall be prosecuted under the provisions thereof.  All persons, including employee and visitors, entering upon these confines are subject to routine searches of their persons, vehicles, property or packages.

Contraband
Contraband means any dangerous drug, narcotic drug, intoxicating liquor of any kind, deadly weapon, dangerous instrument, explosive or any other article whose use of or possession would endanger the safety, security or preservation of order in a correctional facility or any person therein.  (Any article includes any substance that could cause abnormal behavior, i.e., marijuana, nonprescription medication, etc.)

A person, not otherwise authorized by law, commits promoting contraband:

By knowingly taking contraband into a correctional facility or the grounds of such a facility; or

By knowingly conveying contraband to any persons confined in a correctional facility; or

By knowingly making, obtaining, or possessing contraband while being confined in a correctional facility.

The Contractor will provide the County with a complete list of all persons duly authorized to work on this project.  Only those persons will be allowed to work within secured areas.  All Contractor's personnel authorized to work within secured areas may be subject to fingerprinting and a criminal security check performed by the County. The County may issue temporary identification cards, which will be kept by County's security personnel and issued and collected on a daily basis.

Law prohibits the import of contraband such as drugs, liquor, firearms, ammunition and other similar items into any areas of work.  County’s security personnel may conduct searches of Contractor’s personnel, equipment, tools, and supplies at any time.  Use of cameras and recording devices by Contractor's personnel is restricted. Such use must be approved on a case-by-case basis.

The County may require the Contractor to remove any worker who has been convicted of a felony, who is a family member of an inmate, or who violates any provision of this Article.

Work being performed within certain areas may require an escort provided by the County.  These areas shall not be entered into without County's escort. Work within these areas may be restricted to spaces that can be observed by the County's escort.

All tools and equipment taken into a secured area shall be listed in a manifest with copies provided to County's security personnel. All tools and equipment shall be accounted for at the close of each day.  All changes to the inventory shall be addressed by changing the manifest Contractor is responsible for proper storage of tools and equipment when in a secured area.  Report all broken tools and equipment to the County's security personnel

A designated area outside of the secured area will be arranged for parking of personal vehicles.  Delivery trucks will be admitted to receiving areas only by the request of the Contractor, and may be under the supervision of County's security personnel.  Immediately load or unload trucks and remove from secured areas.

Workers shall not talk to, signal, whistle, or in any way attract the attention of any inmate, and shall restrict their movements to the project area.  Nothing shall be taken from or given to an inmate.  Inmates are not to help workmen in any way. Workers shall promptly notify their supervisor or County's security personnel of all unusual happenings pertaining to the inmates.

Within secured areas, the County will designate washing and toilet facilities for Contractor’s use.

END OF SPECIAL CONDITIONS

[image: image2.png]
APPROVAL FOR BACKGROUND INVESTIGATION,

CRIMINAL HISTORY AND DRIVERS LICENSE CHECK

As an employee for a company under contract with DuPage County, I realize that a background investigation, criminal history, and driver’s license check will be done before I can work in the DuPage County Jail. I hereby authorize the DuPage County Sheriff's Office to search any law enforcement database to conduct it.

List ALL names you have ever used:

Name:__________________________________________________________________


(PRINT)
LAST,

FIRST
MIDDLE

Name:__________________________________________________________________


(PRINT)
LAST,

FIRST
MIDDLE

Address:




Apt.:

City:




State:
Zip:

Date of Birth:
/
/

Soc. Sec. #________-_______-_________

Drivers License Number:






Sex:_______
Race:_________

Vendor:______________________________________________________

Signature:____________________________________________________

Date:_____________________

Witness:_____________________________________________________

INSURANCE REQUIREMENTS

At all times during the term of the contract, the Contractor and its independent contractors shall maintain, at their sole expense, insurance coverage for the Contractor, its employees, officers and independent contractors, as follows:

	TYPE OF INSURANCE 
	MINIMUM ACCEPTABLE LIMITS OF LIABILITY

	1.   Workers Compensation
	Statutory

	 
	 

	2.   Employers Liability
	 

	      A. Each Accident
	1,000,000.00

	      B. Each Employee-disease
	1,000,000.00

	      C. Policy Aggregate-disease
	1,000,000.00

	 
	

	3.   Commercial General Liability
	

	      A. Per Occurrence
	2,000,000.00

	      B. General Aggregate
	

	        1. General Aggregate- Per project
	2,000,000.00

	        2. General Aggregate - Products/ 
	

	            Completed Operations
	2,000,000.00

	 
	

	4.   Personal and Advertising Injury
	2,000,000.00

	      Each Occurrence
	2,000,000.00

	 
	

	5.   Fire and Legal Liability (any one fire)
	100,000.00

	 
	

	6.   Medical Expense (any one person)
	10,000.00

	 
	

	7.   Umbrella Excess Liability (over primary)
	4,000,000.00*

	      Retention for Self-Insured Hazards (each occurrence) 
	4,000,000.00*

	 
	

	8.   Business Auto Liability
	1,000,000.00


NOTE:
A)
It is the responsibility of Contractor to provide a copy of this PROPOSAL to their insurance carrier.



B)
It may also be required that the Contractor's insurer and coverage be approved by County prior to execution of the Contract.



C)
No work shall be started until receipt of Certificate of Insurance.

The County of DuPage shall be named as additionally insured on all certificates of insurance.  Insurance certificates shall also reference project name and BID NUMBER.  Certificates should be faxed (and hard copy mailed) to:

DuPage County Procurement Services Division

Glenda Vasak

421 North County Farm Road

Wheaton, IL 60187-3978

TX: (630) 407-6190
FX: (630) 407-6201
The insurance carrier of the insured is required to notify the County of DuPage of termination of any or all of these coverages, prior to the completion of any contract, at least 30 days prior to expiration.

CHANGES IN INSURANCE COVERAGE:

The Contractor shall notify the County of changes in insurance coverage in writing within 30 days.

INSURANCE RATING:

All of the above-specified types of insurance shall be obtained from companies that have at least an A-VII rating in Best’s Guide or the equivalent.

SURVIVAL OF INDEMNIFICATION:

The indemnification described above shall not be limited by reason of the enumeration of any insurance coverage herein provided, and indemnification shall survive the termination of the Contract.

NOTICE OF LAWSUIT:

Within 60 days of service of process, the County shall notify the Contractor of any lawsuit involving the indemnification provided for above.  Failure to provide such notice shall not relieve the Contractor of its obligation to provide indemnification.  However, the County shall be responsible for any additional costs of defense incurred due to their failure to provide such notice within 60 days.

CHOICE OF LEGAL COUNSEL:
The Contractor shall provide coverage as provided in the contract and retains the right to choose legal counsel subject to the approval of the County and appointment by the State’s Attorney.
RIGHTS RETAINED:

Notwithstanding the foregoing, nothing contained herein shall be deemed to constitute a waiver of any defenses or immunities otherwise available to the County.

END OF INSURANCE REQUIREMENTS

BID #09-051
SPECIFICATIONS
SECURITY SYSTEM UPGRADES & ADDITIONS
This bid is to furnish, deliver and install new security system equipment where specified for DuPage County Human Resources, Security Division.  All equipment must be compatible and integrate with the existing system equipment.

ASSIGNMENT OF EQUIPMENT INSTALLATION JOBS:

Each individual equipment installation job will be identified by Tom Williams and the successful bidder will be advised to provide an estimate of time and material required to complete each job prior to performing any actual work.

Once the estimate is received and approved by Tom Williams, he will assign a release number to the job and send the successful bidder an e-mail notifying the vendor to proceed with the work. No work should begin without written (e-mail) authorization from Tom Williams and a release number.

SYSTEM DESCRIPTION:

Access Control: 

The current system requires the presentation of an encoded card to a card reader, allowing valid card holders, who are authorized for entry of a specific door at a specific time, access through that door. Access denial provides an automatic alert at the control-processing unit, stating cardholders name, identification number, date, time, door number and reason for denial. Doors with card access readers are capable of timed locking control.

       Alarm System:  

The current system provides for automatic notification of unauthorized access into doors, buildings, facilities via door contacts and motion detectors. The system also allows for the transmission of panic or duress alarms via push button alarm switches.

       CCTV Systems:  

The current system is a combination of fixed and PTZ cameras reporting to several monitoring stations and being recorded onto DVR’s.
SEQUENCING:
Coordinate work to compliment Security’s schedule. Prior to starting work, meet with Security’s representative to set a schedule, which will be least disruptive to Security’s and building occupants’ day-to-day operations and the integrity of the existing building security. 

NEW INSTALLATION REQUIREMENTS:

A.
All new card readers will be installed at ADA acceptable heights. Card readers should be capable of multiple receiver frequencies to maximize read ranges of up to 28”. Exact wall locations to be coordinated and approved by Security.

B.
All card readers to be installed on emergency circuits. All related emergency circuit electrical work to be included in bid pricing.

C.
All cabling installations to be Thinwall except for JTK Administration Building, 421 N. County Farm Road, where plenum rated cable will be allowed.

D.
Card readers to be wired in a manner to allow for remote control access.

E.
All cable to be pulled in JTK Administration Building, 421 N. County Farm Road, will be performed by Facilities Management employees. Successful Bidder shall supply all materials required.

F.
All Convalescent Center card reader installations require Illinois Department of Public Health plan approval for acceptable lock and door hardware installations and ADA access. The County will pay the State project review fees. The successful bidder shall submit all correspondence and plans intended for the State of Illinois Department of Public Health to Facilities Management for County approval prior to submittal.   

G.
Install, repair or replace equipment in accordance with NFPA 70/2002 Edition and other applicable codes viewable at www.wheaton.il.us/custom/citycode. Install equipment in accordance with equipment manufacturer’s written instructions.

H.
Install all electrical wiring in raceways except within consoles, desks, and counters. Conceal raceways


in unfinished spaces.

I.
Provide conductors of adequate length, bundle, lace and train the conductors to terminal points with no excess.

J.
Provide physical isolation between security access system and other nearby systems. Run in separate raceways, or where exposed to other systems within the same enclosure, provide a 12” minimum separation between conductors. Provide physical separation as recommended by system equipment manufacturers.

K.
Make splices, taps, and terminations in junction, pull, and outlet boxes, terminal cabinets and equipment enclosures.

L.
IDENTIFICATION SYSTEMS:

1.
Apply identification bands on each cable and conductor at each box, enclosure and cabinet. Conductors may be color-coded instead of banded.

2. Label each box, enclosure and cabinet, to identify components of the Security Access System.

3. Coordinate identification systems with shop drawings, to provide Facilities Management with

future reference documents.

M.
Make repairs/restoration in kind to finishes and building elements damaged by system installation.

N.
Ground equipment, conductors, and cable to eliminate shock hazard and to minimize to the greatest extent possible, ground loops, common mode returns, noise pick-up, cross talk, and other impairments.

O.
EXISTING EQUIPMENT INSTALLATION:

1.
The security access equipment currently connects into the existing central control and monitoring equipment located at the JTK Administration building, 421 N. County Farm Road.

2.
The existing equipment consists of computer software, CPU’s, monitors, printers, and a fiber optic ring connecting all the County buildings.

3.
All equipment listed in this bid specification must be field verified by bidder.

4.
Any electrical deficiencies in designated card reader expansion locations will be the responsibility of the Contractor to upgrade.

EQUIPMENT DESCRIPTION/REQUIREMENTS:

A.
EXISTING EQUIPMENT


1. 
Advance Processing Controllers: Software house apC8, apC8x, apCl


2.
Coupler Module: Software House, Mini Star Coupler.


3.
Personality Module: Software House, RM-4.


4.
Relay Module: Software House, ARM-1 Auxiliary Relay Module.


5.
Proximity Readers: Hughes Proximity Readers.

6.
Electric Strikes: Folger Adams Company for hollow metal frames and aluminum frames.

7.
Low Voltage Transformer: Underwriter Laboratories listed with 120 volts primary and 12 volts  

secondary.

8. 
CCTV color cameras  fixed, PTZ and speeddome, American Dynamics, Burle, Panasonic, Pelco, Sanyo, lenses, Rainbow, Vicon, AD, Burle. 



DVR’s, American Dynamics, Panasonic, Gyyr, Intergral Technologies

 
9.   
(see also “EXISTING EQUIPMENT” list)
B.
NEW EQUIPMENT

1. 
New equipment which may need to be installed shall, at a minimum, match existing security access equipment specifications of the equipment currently located in the County Complex system wherever economically feasible.


2.
Submission of specifications for equipment shall be required.

3.
Electric Strikes must be 24 volt DC fail secure, Folger-Adams or Von DuPrin in all   buildings except the Convalescent Center. The Convalescent Center electric strikes must be 24 volt DC Folger-Adams or Von DuPrin, and fail mode must be designated by Illinois Department of Public Health.

C.
SUBMITTALS


1.
Product Data: Provide electrical characteristics and connection requirements.

2.
Each card reader, camera, or duress installation will be documented at time of installation and activation with a work ticket forwarded to Security detailing date of completion. This will be used for payment and warranty backup.

MISCELLANEOUS INFORMATION AND REQUIREMENTS:

A.
PROJECT CONDITIONS

1.
It is the contractor’s responsibility to become familiar existing project and site conditions.

2.
Existing Conditions: It has been determined that the JTK Administration Building, 421 N. County Farm Road, contains asbestos. It is part of the fire suppression system applied to the building structure.

3.
Contractor shall review and understand the DuPage County Facilities Management Asbestos Operations and Maintenance Plan for applicable work. Contractor shall perform work in accordance with the Plan or shall inform the Designated Person if unable to do so. In such case, the Asbestos Coordinator will give instructions as required prior to any work affected by asbestos on the premises. 

B.
PROJECT FACILITIES

1. 
Facilities Management will make available for the Contractor’s use, at the project site, reasonable amounts of the building’s existing power, lighting, and sanitary facilities.

C.
CUTTING AND PATCHING

1.
Perform all necessary cutting required by the work. Repair and patch areas cut during performance of work to match surrounding areas.

D.
TEMPORARY CONTROLS

1.
Provide temporary barricades, warning signs, and lights to protect the public and construction personnel from construction hazards.

E.
CLEANING AND WASTE REMOVAL


1.
Maintain site in a clean and orderly condition.


2.
Dispose of construction waste daily.

3.
Limited amounts of construction debris, rubbish, packing materials, and other waste resulting 
from construction operation, may be disposed of at the Facilities Management’s waste collection location.

4.
Excessive amounts of construction waste, beyond the capacity of the Facilities Management’s collection site, shall be transported off site and disposed of legally.

5.
Handle hazardous, dangerous, or unsanitary waste materials separately from other waste by containerizing properly. Dispose of material off site according to applicable laws and regulations.

6. Prior to final acceptance, clean each system component to the satisfaction of Security.

F.
QUALITY ASSURANCE

1.
Perform work in accordance with the applicable standards and regulations of the National Electrical Code, NFPA 70/2002 Edition and appropriate standards of the National Fire Protection Association.

2.
Where required by code or statute, security equipment and materials shall be listed by Underwriter’s Laboratories, Inc.

G.
DEMONSTRATION AND TRAINING

1.
Provide one training session for the County’s operating personnel in the procedures and schedules involved with operation of the system.

H.
EXAMINATION

1.
Equipment lists have been provided showing the areas involved in this project. The data presented on the equipment lists is meant to be used as a guide and all

information should be field verified by the Contractor to accurately establish its bid.

2. Examine existing conditions for compliance with plans and specifications as to how they may effect the performance of the completed security access system.

3. Report unsatisfactory conditions to Security. Do not proceed until unsatisfactory 

conditions have been observed and addressed by Security.

I.
FIELD QUALITY CONTROL

1.
Manufacturer’s Field Services: If and where necessary provide the services of factory authorized service representatives to supervise field assembly, connection of components, pre-testing, testing and adjustment of system.

2.
Operational Test: When installation of system is complete, adjust the system and perform    complete operational testing. Determine the conformance of the system with the requirements of the Contract Documents and system design. Correct deficiencies observed during testing. Replace malfunctioning or damaged items with new and retest until satisfactory performance and conditions are achieved.

WARRANTY:

Complete warranty information detailing period and coverage must be submitted.  (One (1) year warranty parts and labor is REQUIRED.) Provide an unconditional warranty covering parts and labor needed to repair defective equipment or system. 
Warranty will commence on the date of final acceptance of each card reader location, camera, digital video recorder or duress installation. Warranty will continue after all equipment is installed through November 30th of the year installed to coincide with the end of the current maintenance contract.
ANTICIPATED NEW EQUIPMENT:

The County anticipates the acquisition of new and or replacement security equipment to enhance the existing access control / alarm / CCTV systems during this contract for an amount not to exceed $55,000.00.  

The County reserves the right to make adjustments to this list as required by design changes, funding or other unforeseen circumstances. Such enhancements may include but are not limited to the following:

	QUANTITY
	MANUFACTURER
	DESCRIPTION
	MODEL

	4
	Pelco
	Speeddome
	Spectra DD5 Series

	3
	Pelco
	Fixed Camera
	

	4
	Ademco
	Door Contacts
	

	2
	Integral
	DVR
	DVXe 16 Channel

	2
	Ademco
	Duress Alarm
	

	6
	Ademco
	Glass Break Alarms
	

	1
	Ademco
	Local Alarm
	


BREAKDOWN BY LOCATION:

421 Building - 
West Ground Windows



Add Alarms
509 Building - 
505 Security Desk 



Replace Driver
414 Building - 
Room 115



Add Door Contacts for a Local Alarm with Five (5) Minute Timer

400 Building - 
East & West Gardens



Add Speeddome (3)



Pharmacy Reception




Add Duress



Pharmacy G6




Add Door Contacts



Ground North Secretary Desk




Add DVR



Four (4) North




Add three (3) Fixed Cameras



Main Entrance (DR 1)




Add Speeddome


EXISTING EQUIPMENT

Below is a list of current existing equipment for your review. It is provided to illustrate the quality and compatibility of the equipment required.

	System Wide

	1
	Server
	
	

	8
	Workstations
	
	

	65
	APC's
	
	

	334
	Card Readers
	
	

	> 1000
	Alarm Points
	door contacts, motion, duress, window, portable, remote systems
	

	111 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	

	120 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	2
	APC
	Software House
	Lite

	5
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	1
	Alarm Panel
	Ademco
	M6660

	130 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	

	3
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	136 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	Lite

	2
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	1
	Alarm Panel
	Ademco
	M6660

	1
	Fiber Converter
	IFS
	D1315

	140 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	

	5
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	1
	Alarm Panel
	Ademco
	M6660

	400 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	7 
	APC
	Software House
	

	1
	APC
	Software House
	8X

	47
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	410 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	

	7
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	1
	Fiber Converter
	IFS
	D1315

	414 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	2
	APC
	Software House
	

	10
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	420 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	

	421 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	CPU  Workstation  Client
	Gateway
	GP6-400

	1
	Color Monitor
	KDS
	15"

	1
	CPU  Workstation  Client
	HP
	compaq dx2000mt

	1
	Color Monitor
	HP
	HP1702

	1
	CPU  Server
	HP
	tc 2110

	1
	Serial Port
	Lantronix
	ETS16P

	2
	Modem
	Black Box
	232-485

	2
	Modem
	Black Box
	Converter Plus

	1
	Dial up Modem
	Multi Tech
	MT 2834

	1
	UPS 
	Best Power
	FE

	12
	APC
	Software House
	

	1
	APC
	Software House
	8X

	3
	Fiber Converter
	IFS
	D1315

	8
	Portable Transmitter
	Visonic Ltd.
	MCT-231

	2
	Remote Receivers
	Visonic Ltd.
	MCR-308

	116
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	503 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	UPS
	Best Power
	ME

	6
	APC
	Software House
	8x

	37
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	505 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	CPU Workstation Client
	HP
	e-pc

	1
	Color Monitor
	Panasonic
	15"

	1
	Remote Ethernet Extender
	Black Box
	

	1
	CPU Workstation Client
	HP
	Vectra VE

	1
	Color Monitor
	KDS
	15"

	1
	Remote Ethernet Extender
	Black Box
	

	1
	UPS
	Best Power
	ME

	16
	APC
	Software House
	

	93
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	509 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	

	1
	Card Reader
	Hughes
	

	2
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	1525 N. Main St.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	8X

	5
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	1
	Alarm Panel
	Ademco
	M6660

	1901 N. Naper Blvd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	Lite

	1
	Card Reader
	Hughes
	

	
	Power Supplies / Strikes
	
	

	1
	Dial up Modem
	Multi Tech
	MT 2834

	102 E. Wesley

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	APC
	Software House
	Lite

	2
	Alarm Panel
	Ademco
	M6660

	1
	Dial up Modem
	Multi Tech
	MT 2834


	System Wide

	261
	Cameras
	
	

	34
	Monitors
	
	

	15
	DVX
	
	

	20
	Multiplexers / Switchers
	 
	

	130 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	DVR
	Andover Controls
	Xpress DVX

	1
	Color Monitor
	Gateway
	EV710

	2
	Color Monitor
	Pelco
	PMC14F

	3
	Color Camera
	 
	Fixed

	3
	Lenses
	
	Vari Focal

	1
	VCR
	Pelco
	Time Lapse

	1
	Switcher
	Louroe Electronics
	AVS-4A

	3
	Color Camera
	
	Fixed

	3
	Microphones
	
	

	400 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	Color Monitor
	AD
	14”

	1
	Color Monitor
	Pelco
	PMC14F

	1
	Switcher
	AD
	Touch Tracker 16

	1
	DVR
	 
	16 channel

	6
	Color Cameras
	
	Fixed

	6
	Lenses
	
	Vari Focal

	2
	Speed Dome Cameras
	
	

	414 N. County Farm Rd.


	Qty
	Description
	Manufacturer
	Model/Part #

	4
	Color Cameras
	Burle
	C9388-2

	2
	Color Monitors
	Burle
	TC210

	2
	Switchers
	
	

	4
	Environmental Camera Housing
	
	

	1
	DVR
	
	4 channel

	421 N. County Farm Rd.


	Qty
	Description
	Manufacturer
	Model/Part #

	1
	Color Monitor
	Burle
	14”

	1
	Controller
	AD
	System V

	2
	Color Monitor
	AD
	14"

	1
	Controller
	AD
	

	3
	DVR
	Integral Technologies
	

	1
	Multiplexer
	AD
	ChromaPlex II / 16S

	1
	Multiplexer
	AD
	ChromaPlex Pro / 16D

	15
	Color Camera
	AD
	

	15
	Lenses
	
	

	8
	Speed Dome Camera
	Pelco
	 

	1
	Monitor
	Viewsonic
	VA7026

	1
	Mux
	AD
	Chroma Plex Pro/4d

	1
	Video Receiver
	NVT
	NV452R

	479 N. County Farm Rd.


	Qty
	Description
	Manufacturer
	Model/Part #

	13
	Color Camera
	Burle
	TC360-390 Series

	6
	Lenses
	Rainbow
	Fixed Auto Iris Lens

	7
	Lenses
	Rainbow
	Zoom Lens

	13
	Environmental Camera Housing
	AD
	1335/1337

	7
	Pan / Tilt Camera Mount
	AD
	AD1240

	503 N. County Farm Rd.


	Qty
	Description
	Manufacturer
	Model/Part #

	28
	Color Camera
	
	fixed

	28
	lenses
	
	

	2
	Speed Dome
	
	

	2
	DVR
	Integral Technologies
	

	2
	Mux
	Integral Technologies
	xmux

	1
	Matrix Switcher
	Pelco
	CM9740-cc1

	1
	Matrix Bay
	Pelco
	CM9740-mxb

	1
	4 port switcher
	Belkin
	omni cube

	1
	Monitor
	Pro View
	17"

	1
	Converter
	Black Box
	232-485

	1
	UPS
	Trip-lite
	

	505 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	2
	CPU
	AD
	

	145
	Color Camera
	Sanyo
	3950

	145
	Lenses
	
	

	9
	Environmental Camera Housing
	Pelco
	

	145
	Camera Brackets
	
	

	13
	Color Monitor 
	Sanyo
	9"

	1
	Color Monitor 
	Panasonic
	19"

	1
	Color Monitor 
	Pelco
	PMC21A

	1
	Color Monitor 
	Burle
	15"

	1
	Color Monitor 
	Pelco
	PMC14F

	1
	Color Monitor 
	AD
	9"

	4
	Matrix Switcher / Controller
	AD
	

	1
	DVR
	
	

	1
	VCR
	Gyyr
	Time Lapse

	1
	VCR
	AD
	Time Lapse

	1
	Multiplexer
	AD
	

	2
	Multiplexer
	Pelco
	Genex

	1
	Controller
	AD
	

	1
	Controller
	AD
	System V

	1
	Color Camera
	AD
	

	1
	Lenses
	Rainbow
	Vari Focal

	10
	Pan / Tilt Camera Mount
	
	

	
	Switching Equipment
	
	

	
	Video Distribution Equipment
	
	

	
	Signal Processing Equipment
	
	

	
	Remote Positioning Equipment
	
	

	
	Power Supplies
	
	

	1
	VCR
	AD
	Time Lapse

	1
	Color Monitor 
	Pelco
	PMC21A

	4
	Color Camera
	Pelco
	Fized

	6
	Speed Dome Camera
	Pelco
	

	1
	Controller
	Pelco
	KDB4000

	509 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	15
	Color Camera
	Burle
	TC360-390 Series

	4
	Lenses
	Rainbow
	Fixed Auto Iris Lens

	11
	Lenses
	Rainbow
	Zoom Lens

	15
	Environmental Camera Housing
	AD
	1335/1337

	10
	Pan / Tilt Camera Mount
	AD
	AD1240

	1
	Color Camera
	Pelco
	

	1
	Lenses
	 
	Vari Focal

	1
	Speed Dome Camera
	Pelco
	

	1
	DVR
	
	16 channel


	1525 N. Main St.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	DVX
	First Line
	

	1
	Color Monitor
	Optiquest
	Q71

	2
	Color Monitor
	Pelco
	PMC14F

	1
	Switcher
	Pelco
	VS5008

	5
	Color Camera
	Pelco
	

	5
	Lenses
	Pelco
	

	1
	Environmental Camera Housing
	Pelco
	


	505 N. County Farm Rd.

	Audio/Visual and Sound Reinforcement Systems

	Qty
	Description
	Manufacturer
	Model/Part #

	2
	Intercom Amplifiers
	Communications Co. Inc.
	

	39
	Intercom Stations
	
	

	4
	VCR
	Mitsubishi
	U71

	3
	Amplifier
	TOA
	

	3
	Mixer
	Industrual Research, Inc.
	

	4
	Remote Controls
	York
	

	3
	Color Monitor
	JVC
	9"

	4
	Video Projectors
	Panasonic
	

	
	Misc. Associated Equipment
	
	

	
	Power Supplies
	
	

	Paging System

	Qty
	Description
	Manufacturer
	Model/Part #

	4
	Paging / Audio Amplifier
	Rane
	

	>400
	Speakers
	Ceiling Mount
	

	1
	AM/FM Tuner
	TOA
	

	32
	Graphic Equalizer
	Rane
	GE27

	21
	Audio Mixer
	Industrial Research, Inc.
	

	4
	Power Supply
	Rane
	

	1
	Amplifier
	PASO
	

	4
	Amplifier
	Rane
	

	Synchronized Clock System

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	Master Time Controller
	Cincinnati
	

	42
	Slave Clocks
	Cincinnati
	

	
	Power supplies
	
	

	503 N. County Farm Rd.

	Qty
	Description
	Manufacturer
	Model/Part #

	1
	Intercom amplifier
	
	20 channel

	20
	Intercom stations
	
	


END OF EXISTING EQUIPMENT LIST

BID FORM

PROCUREMENT SERVICES DIVISION 
BID #09-051
	SECURITY SYSTEMS UPGRADES & ADDITIONS


(PLEASE TYPE OR PRINT THE FOLLOWING INFORMATION)

	Full Name of Bidder
	

	Main Business Address
	

	
	

	City, State, Zip Code
	

	Telephone Number
	

	Fax Number
	

	Bid Contact Person
	

	Email Address
	


TO:  The DuPage County Procurement Services Division

The undersigned certifies that he is:

· the Owner/Sole Proprietor

· a Member of the Partnership

· an Officer of the Corporation

· a Member of the Joint Venture

herein after called the Bidder and that the members of the Partnership or Officers of the Corporation are as follows:



(President or Partner)







(Vice-President or Partner)



(Secretary or Partner)







(Treasurer or Partner)

Further,  the undersigned declares that the only person or parties interested in this bid as principals are those named herein; that this bid is made without collusion with any other person, firm or corporation; that he has fully examined the proposed forms of agreement and the contract specifications for the above designated purchase, all of which are on file in the office of the Procurement Manager, DuPage Center, 421 North County Farm Road, Wheaton, Illinois 60187, and all other documents referred to or mentioned in the contract documents, specifications and attached exhibits, including Addenda No. _______, __________, and ___________ issued thereto;

Further, the undersigned proposes and agrees, if this bid is accepted, to provide all necessary machinery, tools, apparatus and other means of construction, including transportation services necessary to furnish all the materials and equipment specified or referred to in the contract documents in the manner and time therein prescribed.

Further, the undersigned certifies and warrants that he is duly authorized to execute this certification/affidavit on behalf of the Bidder and in accordance with the Partnership Agreement or by-laws of the Corporation, and the laws of the State of Illinois and that this Certification is binding upon the Bidder and is true and accurate.  
Further, the undersigned certifies that the Bidder is not barred from bidding on this contract as a result of a violation of either 720 Illinois Compiled Statutes 5/33 E-3 or 5/33E-4, bid rigging or bid‑rotating or as a result of a violation of 820 ILCS 130/1 et seq., the Illinois Prevailing Wage Act.

The undersigned certifies that he has examined and carefully prepared this bid and has checked the same in detail before submitting this bid, and that the statements contained herein are true and correct.

If a Corporation, the undersigned further certifies that the recitals and resolutions attached hereto and made a part hereof were properly adopted by the Board of Directors of the Corporation at a meeting of said Board of Directors duly called and held and have not been repealed, nor modified and that the same remain in full force and effect.  (Bidder may be requested to provide a copy of the corporate resolution granting the individual executing the contract documents authority to do so.)
Further, the bidder certifies that he has provided equipment, supplies or services comparable to the items specified in this contract to the parties listed in the reference section below and authorizes the County to verify references of business and credit at its option.

Finally, the Bidder, if awarded the contract, agrees to do all other things required by the contract documents, and that he will take in full payment therefore the sums set forth in the bidding schedule. 
STARTING AND COMPLETION:
If awarded a contract under this proposal, the undersigned proposes to start work at the site within ten (10) calendar days after the receipt from the Owner of a formal notice of an award.  The undersigned further agrees to substantially complete all work covered by the proposal to the point of final acceptance by the Owner within Ninety (90) calendar days from, and including, the date of receipt from the Owner of a formal notice of an award.
The Contractor agrees to provide the equipment, service and supplies described above and in the contract specifications under the conditions outlined in attached documents.

BID AWARD CRITERIA:  
This bid will be awarded to the lowest responsive, responsible bidder meeting specifications based upon the total lump sum bid amount.
Where unit prices are requested, the quantities stated are approximate only but will be used to determine bid award (see PREPARATION OF BIDS section).
BID #09-051

SECURITY SYSTEMS UPGRADES & ADDITIONS

PRICING PAGE

GROUP 1 

ITEM 1 – LABOR RATE PRICING:

	TRADE


	TYPE
	ESTIMATED HOURS 
	HOURLY RATE
	
	EXTENSION

	COMMUNICATION TECHNICIAN
	M-F
	
	$
	/HOUR
	$

	
	M-F>8
	
	$
	/HOUR
	$

	
	OSA
	
	$
	/HOUR
	$

	
	OSH
	
	$
	/HOUR
	$

	TOTAL LABOR RATE SCENARIO
	$

	M-F
Monday through Friday, up to 8 hours per day.

M-F>8   Overtime is required for any hour greater than 8 worked each day, Monday through Friday.

OSA
Overtime is required for every hour worked on Saturdays

OSH
Overtime is required for every hour worked on Sundays and Holidays


ITEM 2 – SERVICE, MOBILIZATION & CARTAGE:

	# OF JOBS 
	DESCRIPTION
	CHARGE/JOB
	EXTENSION

	
	SERVICE, MOBILIZATION & CARTAGE
	$
	$


GROUP 2 

ITEM 1 – PARTS ONLY 
	QUANTITY
	DESCRIPTION
	UNIT PRICE
	EXTENSION

	1
	ADMECO LOCAL ALARM
	$
	$

	3
	PELCO FIXED CAMERA
	$
	$

	4
	PELCO SPEED DOME 
	$
	$

	2
	DURESS ALARM
	$
	$

	4
	DOOR CONTACTS
	$
	$

	2
	DVR
	$
	$

	6
	GLASS BREAK ALARMS
	$
	$

	TOTAL PARTS
	$


TOTAL LUMP SUM BID (GROUPS 1 & 2, ALL ITEMS):
$_______________________________

Total (in figures)



__________________________________________________ Dollars and _______________________ Cents.   




(Print or Type)

The Contractor agrees to provide the equipment, service and supplies described above and in the contract specifications under the conditions outlined in attached documents for the amount stated above (subject to unit quantity adjustments based upon actual usage) .

X












CORPORATE SEAL


(Signature and Title) 









(If available)

BID MUST BE SIGNED FOR CONSIDERATION

Subscribed and Sworn to before me this _______day of ___________________________ AD, 200 ___

___________________________________________ My Commission Expires:  ______________________

(Notary Public)

EMERGENCY CONTACT SERVICE INFORMATION

	SERVICE MGR NAME:


	

	BUSINESS PHONE:


	
	PAGER/CELLULAR:
	

	HOME/EMER PHONE:


	

	ALTERNATE CONTACT:


	

	BUSINESS PHONE:


	
	PAGER/CELLULAR:
	

	HOME/EMER PHONE:


	


REFERENCES

The bidder must list four (4) references, listing firm name, address, telephone number and contact person to whom they have provided similar equipment, material or services for a period of not less than six (6) months.  Additional references may be required.  If bidder is a new business, provide references that will enable the County to determine if bidder is responsible.  
	COMPANY NAME:


	

	ADDRESS:


	

	
	

	
	

	CONTACT PERSON:


	

	TELEPHONE NUMBER:


	


	COMPANY NAME:


	

	ADDRESS:


	

	
	

	
	

	CONTACT PERSON:


	

	TELEPHONE NUMBER:


	


	COMPANY NAME:


	

	ADDRESS:


	

	
	

	
	

	CONTACT PERSON:


	

	TELEPHONE NUMBER:


	


	COMPANY NAME:


	

	ADDRESS:


	

	
	

	
	

	CONTACT PERSON:


	

	TELEPHONE NUMBER:


	


	STATE THE NUMBER OF YEARS IN BUSINESS:
	

	STATE THE CURRENT NUMBER OF PERSONNEL ON STAFF:
	


SAMPLE

Complete as much of this as you can
CONTRACT AGREEMENT 

CONTRACT #      BETWEEN [CONTRACTOR]
AND THE COUNTY OF DU PAGE

THIS AGREEMENT is entered into this _____ day of _________, 20__, between the County of DuPage, Illinois a body corporate and politic, located at 421 North County Farm Road, Illinois 60187-3978 (hereinafter referred to as the COUNTY), and _______________________, doing business at _______,____________, ___________ (hereinafter referred to as the CONTRACTOR).

RECITALS

WHEREAS, the COUNTY requires the service of SECURITY SYSTEMS UPGRADES & ADDITIONS
provided for its Department of HUMAN RESOURCES, SECURITY DIVISION, located at the DuPage County Center, 421 North County Farm Road, Wheaton, Illinois 60187; per Bid # 09-051; and

WHEREAS, the CONTRACTOR has experience in the business of providing such services and is willing to provide said service for the County locations at the terms and rates specified in this Contract.

NOW, THEREFORE, in consideration of the premises and mutual covenants contained herein, the parties agree that:

1.0 CONTRACT DOCUMENTS

1.1 This Contract includes all of the following component parts, all of which are fully incorporated herein and made apart of the obligations undertaken by the parties:

Invitation To Bid including:
1.1.a Project Information

1.1.b Instructions to Bidders

1.1.c General Conditions

1.1.d Special Conditions

1.1.e Insurance/Bonding Requirements and Certificates

1.1.f Specifications, Contract Plans and Exhibits

1.1.g Addenda, interpretations and approved exceptions

1.1.h Signed Bid Form, including Proposal Pricing)

1.2 All documents are or will be on file in the office of the Procurement Services Division, DuPage Center, 421 North County Farm Road, Room 3-400, Wheaton, Illinois 60187.

1.3 In the event of a conflict between any of the above documents, the terms of the bid will control unless otherwise noted in this contract.

2.0 DURATION OF THIS CONTRACT

2.1 The term of this Contract shall be until work is completed (approximately 90 days).

2.2 The Contract term is subject to renewal according to the Contract Specifications.

3.0 BID PRICES

3.1 The Contractor shall provide the required services for the prices quoted in the Contract Specifications.

4.0 CONTRACT ENFORCEMENT - ATTORNEY’S FEES
4.1 If the County is required to take legal action to enforce performance of any of the terms, provisions, covenants and conditions of this Contract, and by reason thereof, the County is required to use the services of an attorney, then the County shall be entitled to reasonable attorney’s fees and all expenses and costs incurred by the County pertaining thereto and in enforcement of any remedy, including costs and fees relating to any appeal.

5.0 SEVERABILITY CLAUSE
5.1 If any section, paragraph, clause, phrase or portion of this Contract is for any reason determined by a court of competent jurisdiction to be invalid and unenforceable, such portion shall be deemed separate, distinct and an independent provision, and the court’s determination shall not affect the validity or enforceability of the remaining portions of this Contract.

6.0 GOVERNING LAW

6.1 This Contract shall be governed by the laws of the State of Illinois both as to interpretation and enforcement.

7.0 ENTIRE AGREEMENT
7.1 This Contract contains the entire agreement between the parties.

7.2 There are no covenants, promises, conditions, or understandings; either oral or written, other than those contained herein.

IN WITNESS WHEREOF, the parties set their hands and seals as of the date first written above.

COUNTY OF DU PAGE

By:  






TYRONE J. TIPITINO
FINANCIAL SERVICES ADMINISTRATOR



CONTRACTOR

By:  





AUTHORIZED SIGNATURE

TITLE

LATE BIDS CANNOT BE ACCEPTED!
	SEALED BID PROPOSAL
	

	INVITATION #:  
	09-051
	

	OPENING DATE:
	04/20/09
	

	OPENING TIME:
	2:00 P.M.
	

	DESCRIPTION:
	Security Systems Upgrades & Additions
	

	DATED MATERIAL-DELIVER IMMEDIATELY
	


PLEASE CUT OUT AND AFFIX THIS BID LABEL (ABOVE) TO THE OUTERMOST ENVELOPE OF YOUR PROPOSAL TO HELP ENSURE PROPER DELIVERY!

LATE BIDS CANNOT BE ACCEPTED!
P:\SHARED FILES\BIDS\FY 2009 BIDS\09-051\09-051 FD&I BID.doc
REVISED 01/22/2009
BID #09-051

Page 42 of 43

[image: image3.png]


[image: image4.png]OFFICE OF THE SHERIFF
CouNTY Of DUPAGE

JoHN E. ZARUBA 501 N. COUNTY FARM ROAD
SHERIFF WHEATON, ILLINOIS 60187

ADMINISTRATION (630) 682-7269
CIVIL DIVISION (630) 682-7250



_957703679.doc
[image: image1.png]






