[image: image1.png]


[image: image2.png]


Loudoun County, Virginia


INVITATION FOR BID

RENOVATION OF 803 SYCOLIN ROAD
ACCEPTANCE DATE:

Prior to 4:00 p.m., August 14, 2012 “Atomic” Time
IFB NUMBER:

QQ-01732
ACCEPTANCE PLACE: 
Department of Management and Financial Services



Division of Procurement, MSC #41C


One Harrison Street, SE, 4th Floor 



Leesburg, Virginia  20175
Only those firms prequalified through QQ-0-1369 are eligible to submit bids for this project.  Bids from non-prequalified firms will not be considered. Refer to Section 3.0 for additional minimum qualifications.
PLEASE NOTE:  State Corporation Commission (SCC) registration requirements effective July 1, 2010 require that your bid include the identification number issued by the State Corporation Commission as proof of registration or justification for non-registration, per the requirements in Sections 17 and 18.23.  Please complete the Proof of Authority to Transact Business in Virginia form on page 19 of this solicitation and submit it with your bid.  Failure to provide this information or providing inaccurate or purged information shall result in your bid being rejected.
A Pre‑Bid Conference will be held on Wednesday, July 18, 2012 at 1:00 p.m., on site located at 803 Sycolin Road, 3rd Floor, in Leesburg, Virginia for clarification of any questions on the drawings, specifications and site conditions. 

Two additional site inspection opportunities will be provided.  These are not pre-bid conferences.  Please note: any questions resulting from these site inspections shall be directed towards Christopher Bresley by email.  No questions are to be asked during this site inspection.  Refer to Section 18.4. 

· Monday, July 23, 2012 for 9:00AM to 1 PM

· Thursday, July 26, 2012 for 9:00 AM to 1 PM

Plans and specifications CDs, and bid forms may be picked up at the Division of Procurement at the address above between the hours of 9:00 a.m. and 5:00 p.m. weekdays or call (703) 777-0403. 
The terms and conditions contained in this Invitation for Bid and in the Owner-Contractor Agreement are not negotiable.

Requests for information related to this Invitation should be directed to:




Christopher Bresley
Contracting Officer



(703) 777-0394



E-mail address:  Christopher.Bresley@loudoun.gov    



This document can be downloaded from our web site:  



www.loudoun.gov/procurement  









Issue Date:  July 9, 2012
IF YOU NEED ANY REASONABLE ACCOMMODATION FOR ANY TYPE OF DISABILITY IN ORDER TO PARTICIPATE IN THIS PROCUREMENT, PLEASE CONTACT THIS DIVISION AS SOON AS POSSIBLE.

INVITATION FOR BID

RENOVATION OF 803 SYCOLIN ROAD
SECTION/TITLE









PAGE

1.0
PURPOSE
3
2.0
COMPETITION INTENDED
3
3.0
BIDDER MINIMUM QUALIFICATIONS………………………………………………………………….5
4.0
SPECIFICATIONS
3
5.0
DISCREPANCIES
3
6.0
BUSINESS PROFESSIONAL, AND OCCUPATIONAL LICENSE REQUIREMENT
3
7.0
PAYMENT OF TAXES
3
8.0
NOTICE OF REQUIRED DISABILITY LEGISLATION COMPLIANCE
3
9.0
ETHICS IN PUBLIC CONTRACTING
3
10.0
EMPLOYMENT DISCRIMINATION BY CONTRACTORS PROHIBITED
3
11.0
DRUG-FREE WORKPLACE
3
12.0
FAITH-BASED ORGANIZATIONS
3
13.0
EXEMPTION FROM TAXES
3
14.0
CONSTRUCTION CONTRACT PERFORMANCE AND PAYMENT BONDS
3
15.0
CONSTRUCTION CONTRACT BOND FORMS AND COPIES; ALTERNATIVE FORMS
3
16.0
CONSTRUCTION CONTRACT RETAINAGES
3
17.0
AUTHORITY TO TRANSACT BUSINESS IN VIRGINIA
3
18.0
INSTRUCTIONS TO BIDDERS
3

ATTACHMENT I:
OWNER – CONTRACTOR  AGREEMENT
ATTACHMENT II:
GENERAL CONDITIONS (Speartare CD)
ATTACHMENT III:
PLANS & SPECIFICATIONS (Separate CD)

Authorized By:

Christopher Bresley


Date:
July 9, 2012





Contracting Officer
RENOVATION OF 803 SYCOLIN ROAD
1.0
PURPOSE  

The Intent of this Invitation for Bid is to obtain the services of a qualified General Contractor to construct the Loudoun County Sheriff Headquarters. The project is located at 803 Sycolin Rd, Leesburg, Virginia, 20175. The project is a three story renovation with some site work. The work includes, but is not limited to, selective demolition, concrete, masonry, miscellaneous steel supports, carpentry and millwork, insulation, roofing spray fireproofing, storefront and windows, drywall partitions, floor and wall finishes, doors, frames and hardware, specialties, elevator, fire protection, plumbing, HVAC and electrical. The project is located in the Leesburg Election District.


The following work items are not to be included in your Base Bid.  The County will perform work for these items, through separate contracts but concurrently with the Work of this Contract.
a. Closed Circuit Television (CCTV)

b. Fire Alarm

c. Access Security Controls

d. Audio Visual

e. Systems Furniture

f. Telephone and Data

g. Shelving Systems

h. Purchase of an Emergency Generator


Drawings for these items are attached to the bid set of documents and noted as NIC. The General Contractor will schedule this work and cooperate with the various County Contractors to allow the work to be completed.  Per Section 4.11.5, of the General Conditions, the General Contractor shall consult with and obtain information from the County contractors performing the work identified above, in the same manner as the General Contractor’s principal subcontractors that is necessary in the preparation of the schedules, updates and revisions required herein.  The General Contractor shall provide each of the County contractors with copies of the Construction Schedule and any revisions or updates affecting the scheduling of their work.  The General Contractor shall hold appropriate progress meetings with the County contractors and shall coordinate their work consistent with and as required herein.
2.0
COMPETITION INTENDED


It is the County's intent that this Invitation for Bid (IFB) permits competition.  It shall be the bidder's responsibility to advise the Purchasing Agent in writing if any language, requirement, specification, etc., or any combination thereof, inadvertently restricts or limits the requirements stated in this IFB to a single source.  Such notification must be received by the Purchasing Agent not later than fifteen (15) days prior to the date set for bids to close.

3.0
BIDDER MINIMUM QUALIFICATIONS

In addition to the prequalification requirements stated on the cover of this IFB, bidders must demonstrate that they have the resources and capability to provide the materials and services as described herein.   All bidders must submit the documentation indicated below with their bid.  Failure to provide complete and/or satisfactory information (in the sole judgment of the County) as described below to demonstrate compliance with the minimum qualifications may be cause for bid to be deemed non-responsible and rejected.  

The following criteria shall be met in order to be eligible for this contract:

All bidders shall include, with their bids, a list of six (6) references for whom comparable work has been performed.  Bidder hereby releases listed references from all claims and liability for damages which may result from the information provided by the reference.  Bidders shall: 

3.1
Provide a list of a minimum of six (6) projects of similar scope and size completed within the last eight (8) years.  Similar scope and size is defined as multi-floor office building interior renovations between 20,000 to 60,000 square feet. Lists are to include names and addresses of projects, square footage, brief description of the project, and names, addresses, current phone numbers, and e-mail addresses of architects and owners.

3.2
Provide a minimum of two (2) 8-1/2” x 11” color photographs of each project listed as examples for General Contractor’s work.  Provide interior photographs that demonstrate craftsmanship and skills similar to the proposed project

4.0
SPECIFICATIONS

The work to be performed as a result of this IFB shall be in accordance with the plans and specifications prepared by Moseley Architects, Richmond, Virginia dated July 2012.
5.0
DISCREPANCIES


Should a bidder find discrepancies in the plans and/or specifications or be in doubt as to the meaning or intent of any part thereof, the bidder shall request clarification from the County in writing, not later than ten (10) working days prior to the bid opening. Any changes to the IFB that result from such a clarification request, will be communicated through a written addendum and posted on the Procurement home page at www.loudoun.gov/procurement.  Failure to request such a clarification is a waiver of any claim by the bidder for additional expenses because its interpretation was different than the County’s.
6.0
BUSINESS, PROFESSIONAL, AND OCCUPATIONAL LICENSE REQUIREMENT

All firms or individuals located or doing business in Loudoun County are required to be licensed in accordance with the County's "Business, Professional, and Occupational Licensing (BPOL) Tax" Ordinance during the initial term of the Contract or any renewal period.


Wholesale and retail merchants without a business location in Loudoun County are exempt from this requirement.  Questions concerning the BPOL Tax should be directed to the Office of Commissioner of Revenue, telephone (703) 777‑0260. 
7.0
PAYMENT OF TAXES

All Contractors located or owning property in Loudoun County during the initial term of the Contract or any renewal period shall assure that all real and personal property taxes are paid.


The County will verify payment of all real and personal property taxes by the Contractor prior to the award of any Contract or Contract renewal.
8.0
NOTICE OF REQUIRED DISABILITY LEGISLATION COMPLIANCE


Loudoun County government is required to comply with state and federal disability legislation: The Rehabilitation Act of 1973 Section 504, The Americans with Disabilities Act (ADA) for 1990 Title II and The Virginians with Disabilities Act of 1990.


Specifically, Loudoun County, may not, through its Contractual and/or financial arrangements, directly or indirectly avoid compliance with Title II of the Americans with Disabilities Act, Public Law 101-336, which prohibits discrimination by public entities on the basis of disability.  Subtitle A protects qualified individuals with disability from discrimination on the basis of disability in the services, programs, or activities of all State and local governments.  It extends the prohibition of discrimination in federally assisted programs established by the Rehabilitation Act of 1973 Section 504 to all activities of State and local governments, including those that do not receive Federal financial assistance, and incorporates specific prohibitions of discrimination on the basis of disability in Titles I, III, and V of the Americans with Disabilities Act.  The Virginians with Disabilities Act of 1990 follows the Rehabilitation Act of 1973 Section 504.
9.0
ETHICS IN PUBLIC CONTRACTING

The provisions contained in Sections 2.2‑4367 through 2.2‑4377 of the Virginia Public Procurement Act as set forth in the 1950 Code of Virginia, as amended, shall be applicable to all Contracts solicited or entered into by the County.  A copy of these provisions may be obtained from the Purchasing Agent upon request.


The above-stated provisions supplement, but do not supersede, other provisions of law including, but not limited to, the Virginia State and Local Government Conflict of Interests Act (§ 2.2-3100 et seq.), the Virginia Governmental Frauds Act (§ 18.2‑498.1 et seq.) and Articles 2 and 3 of Chapter 10 of Title 18.2.  The provisions apply notwithstanding the fact that the conduct described may not constitute a violation of the Virginia State and Local Government Conflict of Interests Act.   
10.0
EMPLOYMENT DISCRIMINATION BY CONTRACTORS PROHIBITED
Every Contract of over $10,000 shall include the following provisions:

A.
During the performance of this Contract, the Contractor agrees as follows:
1.
The Contractor will not discriminate against any employee or applicant for employment because of race, religion, color, sex, national origin, age,  disability, status as a service disabled veteran, or any other basis prohibited by state law relating to discrimination in employment, except where there is a bona fide occupational qualification reasonably necessary to the normal operation of the Contractor.  The Contractor agrees to post in conspicuous places, available to employees and applicants for employment, notices setting forth the provisions of this nondiscrimination clause.

2.
The Contractor, in all solicitations or advertisements for employees placed by or on behalf of the Contractor, shall state that such Contractor is an equal opportunity employer.

3.
Notices, advertisements and solicitations placed in accordance with federal law, rule or regulation shall be deemed sufficient to meet this requirement.

B.
The Contractor will include the provisions of the foregoing paragraphs, 1, 2, and 3 in every subcontract or purchase order of over $10,000, so that the provisions will be binding upon each subcontractor or vendor.
11.0
DRUG-FREE WORKPLACE


Every Contract of over $10,000 shall include the following provisions:

During the performance of this Contract, the Contractor agrees to (i) provide a drug-free workplace for the Contractor’s employees; (ii) post in conspicuous places, available to employees and applicants for employment, a statement notifying employees that the unlawful manufacture, sale, distribution, dispensation, possession, or use of a controlled substance or marijuana is prohibited in the Contractor’s workplace and specifying the actions that will be taken against employees for violations of such prohibition; (iii) state in all solicitations or advertisements for employees placed by or behalf of the Contractor that the Contractor maintains a drug-free workplace; and (iv) include the provisions of the foregoing clauses in every subcontract or purchase order of over $10,000, so that the provisions will be binding upon each subcontractor or vendor.

For the purposes of this section, “drug-free workplace” means a site for the performance of work done in connection with a specific Contract awarded to a Contractor in accordance with this chapter, the employees of whom are prohibited from engaging in the unlawful manufacture, sale, distribution, dispensation, possession, or use of a controlled substance or marijuana during the performance of the Contract.
12.0
FAITH-BASED ORGANIZATIONS

Loudoun County does not discriminate against faith-based organizations.

13.0
EXEMPTION FROM TAXES

Pursuant to Va. Code § 58.1-609.1, the County is exempt from Virginia State Sales or Use Taxes and Federal Excise Tax, therefore the Contractor shall not charge the County for Virginia State Sales or Use Taxes or Federal Excise Tax on the finished goods or products provided under the Contract.   However, this exemption does not apply to the Contractor, and the Contractor shall be responsible for the payment of any sales, use, or excise tax it incurs in providing the goods required by the Contract, including, but not limited to, taxes on materials purchased by a Contractor for incorporation in or use on a construction project.  Nothing in this section shall prohibit the Contractor from including its own sales tax expense in connection with the Contract in its Contract price.
14.0
CONSTRUCTION CONTRACT PERFORMANCE AND PAYMENT BONDS


The following bonds or security shall be delivered to the County and shall become binding on the parties upon the execution of the Contract:


A
A performance bond satisfactory to the County, executed by a surety company authorized to do business in Virginia with a Best’s Key Rating of Level A or better and in a financial size of Class VII or higher, or otherwise secured in a manner satisfactory to the County, for the faithful performance of the Contract in strict conformity with the plans, specifications and conditions of the Contract.  The bond shall be in an amount equal to one hundred percent (100%) of the price specified in the Contract; and


B
A payment bond satisfactory to the County, executed by a surety company authorized to do business in Virginia with a Best’s Key Rating of Level A or better and in a financial size of Class VII or higher, or otherwise secured in a manner satisfactory to the County, for the protection of all persons supplying labor and material to the Contractor or its subcontractors for the performance of the work provided for in the Contract.  Labor and materials shall include public utility services and reasonable rentals of equipment, but only for the periods when the equipment rented is actually used at the site.  The bond shall be in an amount equal to one hundred percent (100%) of the price specified in the Contract.


C.
The amount of the performance and payment bonds shall increase without the necessity of any action by the County, to the same extent the Contract Price increases due to changes.  


D.
All sureties providing bonds shall give written notice to the County at least thirty (30) days prior to the expiration or termination of the bond(s).


E.
If at any time, any surety or sureties become insolvent or are determined by the Owner to be unable to adequately secure the interests of the County, the Contractor shall within thirty (30) days after such notice from County to do so, substitute an acceptable bond(s) in such form and sum and signed by such other sureties as may be satisfactory to County.  The premium on such bond(s) shall be paid by the Contractor at no additional cost to the County provided reasonable justification can be provided by the County for its determination.

F.
A prime Contractor shall not be precluded from requiring each subcontractor to furnish a payment bond with surety thereon in an amount equal to one hundred percent (100%) of the Contract with such subcontractor.
15.0
CONSTRUCTION CONTRACT BOND FORMS AND COPIES; ALTERNATIVE FORMS


In lieu of a payment or performance bond, the Contractor may furnish a certified check or cash escrow in the face amount required for the bond.  If approved by the County Attorney, a Contractor may furnish a personal bond, property bond, or bank or savings and loan association's letter of credit on certain designated funds in the face amount required for the payment or performance bond.  Approval shall be granted only upon a determination that the alternative form of security proffered affords the same protection to the County equivalent to the corporate surety bond.

16.0
CONSTRUCTION CONTRACT RETAINAGES


The Contractor shall be paid ninety‑five percent (95%) of the earned sum when payment is due, with not more than five percent (5%) being retained to assure faithful performance of the Contract.  All amounts withheld may be included in the final payment.  Any subcontract which provides for similar progress payments shall be subject to the same limitations.

17.0
AUTHORITY TO TRANSACT BUSINESS IN VIRGINIA
A Contractor organized as a stock or nonstock corporation, limited liability company, business trust, or limited partnership or registered as a registered limited liability partnership shall be authorized to transact business in the Commonwealth as a domestic or foreign business entity if so required by Title 13.1 or Title 50 of the Code of Virginia or as otherwise required by law.  Any business entity described herein that enters into a Contract with the County pursuant to the Virginia Public Procurement Act 2.2-4300 et seq. shall not allow its existence to lapse or its certificate of authority or registration to transact business in the Commonwealth, if so required under Title 13.1 or Title 50 of the Code of Virginia, to be revoked or cancelled at any time during the term of the Contract.  The County may void any Contract with a business entity if the business entity fails to remain in compliance with the provisions of this section.

18.0
INSTRUCTIONS TO BIDDERS

18.1
Submission of Bids

Before submitting a bid, read the ENTIRE solicitation including the Contract Terms and Conditions.  Failure to read any part of this solicitation will not relieve a bidder of the Contractual obligations.  Pricing must be submitted on Invitation for Bid pricing form only.  Include other information, as requested or required.  The face of the sealed container shall indicate the IFB number, time and date of opening, and the title of the IFB.  Bids must be received by the Division of Procurement BEFORE the hour specified on the opening date.  Bids may be either mailed or hand delivered to One Harrison Street, S.E., 4th Floor, MSC #41C, Leesburg, Virginia 20175.  Faxed and e-mailed bids will not be accepted. 

18.2
Questions and Inquiries
Questions and inquiries, both verbal and written, will be accepted from any and all bidders. However, when requested, complex verbal questions shall be submitted in writing.  The Division of Procurement is the sole point of contact for this solicitation unless otherwise instructed herein.  Unauthorized contact with other Loudoun County staff regarding the IFB may result in the disqualification of the bidder. Inquiries pertaining to the Invitation for Bid must give the IFB number, title and acceptance date.  Material questions will be answered in writing with an Addendum provided, however, that all questions are received by 5:00 p.m. Friday, August 3, 2012.  It is the responsibility of all bidders to ensure that they have received all Addendums and to include signed copies with their bid.  Addendums can be downloaded from www.loudoun.gov/procurement. 

18.3
Exceptions/Additions

No exceptions or additions to the Specifications/Scope of Work or Contract Terms and Conditions shall be permitted.  Any questions or concerns regarding any part of the IFB shall be submitted to the Division of Procurement prior to the date specified in the Questions and Inquiries section above.  Bids containing any exceptions to the Specifications/Scope of Work or Contract Terms and Conditions or submitting additional Terms and Conditions shall be deemed non-responsive and rejected.  Exceptions or additions proposed after bid submission by the successful bidder shall not be accepted.
18.4
Inspection of Site
All bidders must make an on‑site inspection of the location where the work will be performed to become completely familiar with the existing conditions. Failure to comply with this requirement will not relieve the successful bidder of its obligation to carry out the scope of the resulting contract. One inspection opportunity will be provided at the Pre-Bid Conference.  Two additional inspection opportunities will be provided; one on July 23, 2012 from 9:00 AM to 1:00 PM. and the other on July 26, 2012 from 9:00 AM to 1:00 PM. Please note: any questions resulting from these site inspections shall be directed towards Christopher Bresley by email. No questions are to be asked during these site inspections.  
Site inspections of 803 Sycolin Road will not be available at any other time.

18.5
Firm Pricing for County Acceptance

Bid price must be firm for County acceptance for a minimum of ninety (90) days from bid opening date. 
18.6
Proprietary Information

Trade secrets or proprietary information submitted by a bidder in connection with this solicitation shall not be subject to disclosure under the Virginia Freedom of Information Act; however, pursuant to Section 2.2-4342 of the Code of Virginia, the bidder must invoke the protections of this section prior to or upon submission of the data or other materials, and must clearly identify the data or other materials to be protected and state the reasons why protection is necessary.  Failure to abide by this procedure may result in disclosure of the bidder’s information.  Bidders shall not mark sections of their bid as proprietary if they are to be part of the award of the Contract and are of a "Material" nature. 
18.7
Authority to Bind Firm in Contract
Bids MUST give full firm name and address of bidder.  Failure to manually sign bid may disqualify it.  Person signing bid should show TITLE or AUTHORITY TO BIND THE FIRM IN A CONTRACT.  Firm name and authorized signature must appear on bid in the space provided on the pricing page.  Those authorized to sign are as follows:



If a sole proprietorship, the owner may sign.



If a general partnership, any general partner may sign.



If a limited partnership, a general partner must sign.



If a limited liability company, a “member” may sign or “manager” must sign   if so specified by the articles of organization 

If a regular corporation, the CEO, President or Vice-President must sign.  


Others may be granted authority to sign but the County requires that a corporate document authorizing him/her to sign be submitted with bid.

18.8
Preparation and Submission of Bids


A.
All bids must be submitted to the Division of Procurement in a sealed container.  The face of the sealed container shall indicate the IFB number, time and date of opening, and the title of the IFB.  


B.
All bids shall be signed in ink by the individual or authorized principals of the firm.



C.
All attachments to the Invitation for Bid requiring execution by the firm are to be returned with the bids.



D.
Bids must be received by the Division of Procurement prior to 4:00 p.m., local Atomic time on date identified as the Acceptance Date on the cover of this IFB.  An atomic clock is located in the Division of Procurement and can also be verified by visiting http://www.time.gov/timezone.cgi?Eastern/d/-5/java. Requests for extensions of this time and date will not be granted, unless deemed to be in the County's best interest.  Bidders mailing their bids shall allow for sufficient mail time to ensure receipt of their bids by the Division of Procurement by the time and date fixed for acceptance of the bids.  Bids or unsolicited amendments to bids received by the County after the acceptance date and time will not be considered.  Bids will be publicly accepted and logged in at the time and date specified above.

E.
Each firm shall submit one (1) original of their bid to the County's Division of Procurement as indicated on the cover sheet of this Invitation for Bid.


18.9
Withdrawal of Construction Contract Bid Due to Error

A bidder for a construction Contract may withdraw its bid from consideration if the price bid was substantially lower than the other bids due solely to a mistake therein, provided the bid was submitted in good faith, and the mistake was a clerical mistake as opposed to a judgment mistake, and was actually due to an unintentional arithmetic error or an unintentional omission of a quantity of work, labor or material made directly in the compilation of a bid, which unintentional arithmetic error or unintentional omission can be clearly shown by objective evidence drawn from inspection of original work papers, documents and materials used in the preparation of the bid sought to be withdrawn.  The bidder shall give notice in writing of its claim of right to withdraw his bid within two business days after the conclusion of the bid opening procedure and shall submit original work papers with such notice.

18.10
Subcontractors


Please refer to Attachment II, County of Loudoun General Conditions, Article 5: Subcontractors. 
18.11
Late Bids
LATE bids will be returned to bidder UNOPENED, if IFB number, opening date and bidder's return address is shown on the container.

18.12
Rights of County
The County reserves the right to reject all or any part of any bid, waive informalities, and award the contract to the lowest responsive and responsible bidder to best serve the interest of the County.  Informality shall mean a minor defect or variation of a bid from the exact requirements of the Invitation to Bid which does not affect the price, quality, quantity, or delivery schedule for the goods, services or construction being procured.
18.13
Prohibition as Subcontractors Under Competitive Sealed Bidding
No bidder who is permitted to withdraw a bid shall, for compensation, supply any material or labor to or perform any subcontract or other work agreement for the person or firm to whom the Contract is awarded or otherwise benefit, directly or indirectly, from the performance of the project for which the withdrawn bid was submitted.

18.14
Vendor Preference in Tie Bids
The Division of Procurement and all other departments of the County making purchases of goods, services and construction shall give preference to goods, services and construction sold by County and State vendors, in that order, in all cases of tie bids, quality and service being equal.

18.15
Anti-Trust Violations

Tie bids may cause rejection of bids by the Division of Procurement and/or prompt an investigation for Anti Trust violations.
18.16
Basis for Award

Contract award will be made to the lowest responsive and responsible bidder based upon the lump sum.
Whenever the lowest responsive and responsible bidder is a resident of a state other than Virginia and such state under its laws allows a resident Contractor of that state a percentage preference, a like preference shall be allowed to the lowest responsive and responsible bidder who is a resident of Virginia and is the next lowest bidder.  If the lowest bidder is a resident Contractor of a state with an absolute preference, the bid preference shall not be considered.

18.17
Negotiation with the Lowest Responsible Bidder
Unless all bids are cancelled or rejected, the County reserves the right granted by § 2.2-4318 of the Code of Virginia to negotiate with the lowest responsive, responsible bidder to obtain a Contract price within the funds available whenever such low bid exceeds the available funds.  Negotiations with the low bidder may include both modifications of the bid price and the specifications/scope of work to be performed. 
18.18
Notice of Award
A Notice of Award will be posted on the County's web site (www.loudoun.gov/procurement) and on the bulletin board located in the Division of Procurement, 4th floor, One Harrison St, SE, Leesburg, 20175. 

18.19
Protest

Bidders may refer to Sections 2.2-4357 through 2.2-4364 of the Code of Virginia to determine their remedies concerning this competitive process.  Protests shall be submitted to the Director, Management and Financial Services.
18.20
Construction Contract Bid Security
Bid security is required for this project.  Bid security shall be a bond provided by a surety company selected by the bidder and authorized to do business in Virginia, or the equivalent in cash, or otherwise supplied in a form satisfactory to the County.  Bid security shall be in an amount equal to at least five percent (5%) of the amount of the bid.   Non-compliance with this provision requires that the bid be rejected unless it is determined that the bid fails to comply in a non-substantial manner the security requirements.
18.21
Construction Contract Bond Forms and Copies; Alternative Forms
In lieu of a bid, payment or performance bond, a bidder may furnish a certified check or cash escrow in the face amount required for the bond.  If approved by the County Attorney, a bidder may furnish a personal bond, property bond, or bank or savings and loan association's letter of credit on certain designated funds in the face amount required for the bid, payment or performance bond.  Approval shall be granted only upon a determination that the alternative form of security proffered affords the same protection to the County equivalent to the corporate surety bond.

18.22
Debarment

By submitting a bid, the bidder is certifying that bidder is not currently debarred by the County, or in a procurement involving federal funds, by the Federal Government.  A copy of the County's debarment procedure in accordance with Section 2.2-4321 of the Code of Virginia is available upon request.

18.23
Proof of Authority to Transact Business in Virginia

A bidder organized or authorized to transact business in the Commonwealth pursuant to Title 13.1 or Title 50 of the Code of Virginia shall include in its bid or proposal the identification number issued to it by the State Corporation Commission. Any bidder that is not required to be authorized to transact business in the Commonwealth as a foreign business entity under Title 13.1 or Title 50 of the Code of Virginia or as otherwise required by law shall include in its bid or proposal a statement describing why the bidder is not required to be so authorized.  Any bidder described herein that fails to provide the required information shall not receive an award unless a waiver of this requirement and the administrative policies and procedures established to implement this section is granted by the Purchasing Agent or his designee.  The SCC may be reached at (804) 371-9733 or at http://www.scc.virginia.gov/default.aspx.

18.24
W-9 Form Required
Each bidder shall submit a completed W-9 form with their bid.  In the event of Contract award, this information is required in order to issue purchase orders and payments to your firm.  A copy of this form can be downloaded from http://www.irs.gov/pub/irs-pdf/fw9.pdf.

18.25
Insurance Coverage
Bidders shall include with their bid a copy of their current Certificate of Insurance that illustrates the current level of coverage the bidder carries.  The Certificate can be a current file copy and does not need to include any “additional insured” language for the County.

18.26
Acknowledgement of Contract
By submitting a bid, the bidder acknowledges that it understands and agrees to the Contract Terms and Conditions contained herein.

QQ- 01732

Loudoun County, Virginia


Division of Procurement
One Harrison Street, 4th Floor, MSC #41C          
Leesburg, Virginia 20175

PRICING PAGE

RENOVATION OF 803 SYCOLIN ROAD
The firm of 










 hereby offers to achieve substantial completion of the  Renovation of 803 Sycolin Road in accordance with this Invitation for Bid within one hundred and seventy six (176) calendar days after the date established in the Notice to Proceed.
Base Bid

Renovation of 803 Sycolin Road


Base Bid

$_________________

Allowance for Interior Signs






+
$20,000
Unit Price Items: (include Unit Price and Extended Price)
1. Replacement of Large

70 ea

______/ea
       
+ $_______________
    
Blinds (4’-10” W x 5’-8” H)
2. Replacement of Medium
40 ea

______/ea
         
+ $_______________

Blinds (4’-10” W x 1’-10” H)
3. Replacement of Small

20 ea

______/ea
        
+ $_______________

Blinds (4’-4” W x 5’-8” H)







Lump Sum
 = $____________________

Note1

Base bid shall not include:  Closed Circuit Television (CCTV); Fire Alarm; Access Security Controls; Audio Visual; Systems Furniture; Telephone and Data; Shelving Systems; Purchase of an Emergency Generator


The County will perform work for these items concurrently with the Work of this Contract. Drawings for these items are attached to the bid set of documents and noted as NIC. The General Contractor will schedule this work and cooperate with the various County Contractors to allow the work to be completed. Per Section 4.11.5 of the general Conditions, the General Contractor shall consult with and obtain information from the County contractors performing the work identified above, in the same manner as the General Contractor’s principal subcontractors that is necessary in the preparation of the schedules, updates and revisions required herein.  The General Contractor shall provide each of the County contractors with copies of the Construction Schedule and any revisions or updates affecting the scheduling of their work.  The General Contractor shall hold appropriate progress meetings with the County contractors and shall coordinate their work consistent with and as required herein.
Note 2

Unit Price Items: Bidders shall give unit price and extended price for each of the items listed above.  The Unit Price Items, quantities, and extended prices are included in the lump sum and used for bid evaluation purposes only; if the actual quantities, as measured by field survey, are above/below those shown above, then the unit price will be used for addition/credit to the Contract amount. The activity schedule and schedule of values shall include each Unit Price Item as a separate and distinct allowance item.

Attention bidders:  Do not take any exceptions or make any qualifications to your bid.

A. Return the following with your bid.  If bidder fails to provide with their bid, items shall be provided within twenty-four (24) hours of bid opening.

ITEM:








INCLUDED:  (X)

1.
W-9 Form (18.24):








2.
Certificate of Insurance (18.25):






3.
Addenda, if any (Informality) (18.2 & 18.12):


______

B. Failure to provide the following items with your bid shall be cause for rejection of bid as non-responsive and/or non-responsible.  It is the responsibility of the bidder to ensure that it has received all addenda and to include signed copies with their bid (18.2).

ITEM:








INCLUDED: (X)



1.
Addenda, if any (18.2):






2.
Payment Terms:





______ net 30 or ____ other
3.
Proof of Authority to Transact Business


in Virginia Form (Page 19):







4.
Bid Bond (18.20):





______

5.
Minimum Qualification Documentation (3.0):


______

Person to contact regarding this bid:










Title:




Phone:



Fax:




E-mail Address:






Name of person authorized to bind the Firm (18.7):







Signature: 








Date:



Address:












By signing and submitting a bid, your firm acknowledges and agrees that it has read and understands the IFB documents and agrees to the Contract Terms and Conditions as contained herein


Loudoun County, Virginia

www.loudoun.gov/procurement 

Department of Management and Financial Services

Division of Procurement

1 Harrison Street, S.E., 4th Floor, MSC#41C, Leesburg, VA 20175

PROOF OF AUTHORITY TO TRANSACT BUSINESS IN VIRGINIA

THIS FORM MUST BE SUBMITTED WITH YOUR BID/PROPOSAL. FAILURE TO INCLUDE THIS FORM SHALL RESULT IN REJECTION OF YOUR BID/PROPOSAL

Pursuant to Virginia Code §2.2-4311.2, a bidder/offeror organized or authorized to transact business in the Commonwealth pursuant to Title 13.1 or Title 50 of the Code of Virginia shall include in its bid/ proposal the identification number issued to it by the State Corporation Commission (“SCC”).  Any bidder/offeror that is not required to be authorized to transact business in the Commonwealth as a foreign business entity under Title 13.1 or Title 50 of the Code of Virginia or as otherwise required by law shall include in its bid or proposal a statement describing why the offeror is not required to be so authorized.  Any bidder/offeror described herein that fails to provide the required information shall not receive an award unless a waiver of this requirement and the administrative policies and procedures established to implement this section is granted by the Purchasing Agent or his designee.
If this bid/proposal for goods or services is accepted by the County of Loudoun, Virginia, the undersigned agrees that the requirements of the Code of Virginia Section 2.2-4311.2 have been met. 

Please complete the following by checking the appropriate line that applies and providing the requested information.  PLEASE NOTE: The SCC number is NOT your federal ID number or business license number.
A._____ Bidder/offeror is a Virginia business entity organized and authorized to transact business in Virginia by the SCC and such bidder’s/offeror’s Identification Number issued to it by the SCC is ______________________.

B._____ Bidder/offeror is an out-of-state (foreign) business entity that is authorized to transact business in Virginia by the SCC and such bidder’s/offeror’s Identification Number issued to it by the SCC is _____________________.

C._____ Bidder/offeror does not have an Identification Number issued to it by the SCC and such bidder/offeror is not required to be authorized to transact business in Virginia by the SCC for the following reason(s):

Please attach additional sheets of paper if you need to explain why such bidder/offeror is not required to be authorized to transact business in Virginia.

________________________________________________________________

Legal Name of Company (as listed on W-9)

________________________________________________________________

Legal Name of Bidder/Offeror 

_______________________________

Date

________________________________________________________________

Authorized Signature

________________________________________________________________

Print or Type Name and Title

HOW DID YOU HEAR ABOUT THIS INVITATION FOR BID?

QQ-01732
Please take the time to mark the appropriate line and return with your bid.

	 FORMCHECKBOX 
 Associated Builders & Contractors
	 FORMCHECKBOX 
 Loudoun Times Mirror

	 FORMCHECKBOX 
 Bid Net
	 FORMCHECKBOX 
 Our Web Site 

	 FORMCHECKBOX 
 Builder's Exchange of Virginia
	 FORMCHECKBOX 
 NIGP

	 FORMCHECKBOX 

 Email notification from Loudoun County

 FORMCHECKBOX 
 Dodge Reports
	 FORMCHECKBOX 
 The Plan Room

	
	 FORMCHECKBOX 
 Reed Construction Data

	 FORMCHECKBOX 

	 FORMCHECKBOX 
 Tempos Del Mundo

	 FORMCHECKBOX 
 India This Week
	 FORMCHECKBOX 
 Valley Construction News

	 FORMCHECKBOX 
 LS Caldwell & Associates
	 FORMCHECKBOX 
 Virginia Business Opportunities

	 FORMCHECKBOX 
 Loudoun Co Small Business Development Center
	 FORMCHECKBOX 
 VA Dept. of Minority Business Enterprises

	 FORMCHECKBOX 
 Loudoun Co Chamber of Commerce
	 FORMCHECKBOX 
 RAPID


 FORMCHECKBOX 
Other












SERVICE RESPONSE CARD

QQ-01732



Date of Service:



How did we do?

Please let us know how we did in serving you.  We’d like to know if we are serving you at an acceptable level.

How would you rate the way your request for this document was handled?

Excellent  FORMCHECKBOX 

Good  FORMCHECKBOX 

Average FORMCHECKBOX 

Fair  FORMCHECKBOX 

Poor  FORMCHECKBOX 

Did you have contact with Procurement staff?  FORMCHECKBOX 

How would you rate the manner in which you were treated by the Procurement staff?

Excellent  FORMCHECKBOX 

Good FORMCHECKBOX 

Average FORMCHECKBOX 

Fair  FORMCHECKBOX 

Poor  FORMCHECKBOX 

How would you rate the overall response to your request?

Excellent  FORMCHECKBOX 

Good  FORMCHECKBOX 

Average  FORMCHECKBOX 

Fair  FORMCHECKBOX 

Poor  FORMCHECKBOX 

COMMENTS:












Thank you for your response!

We can better assess our service to you through feedback from you.

Your Name:












Address:












Phone:



(day)





 evening

Please return completed form to: Patty Cogle ( Procurement (
QQ-01732
(Proposed)
OWNER‑CONTRACTOR AGREEMENT


THIS AGREEMENT for the Renovation of 803 Sycolin Road, herein after referred to as the “Project”, executed in three (3) originals, effective this __
 day of 
, 2012, is by and between COUNTY OF LOUDOUN, VIRGINIA (herein referred to as the "Owner"), and 


 (herein referred to as the "Contractor").  


In consideration of the promises made herein and other good and valuable considerations, the following terms and conditions are hereby agreed to between the Owner and Contractor.  

This Agreement consists of and incorporates by reference the following attachments:

Attachment 1

The Owner’s Invitation for Bid No. QQ-01732 dated July 9, 2012, including any addenda.
Attachment 2

The Contract Plans, Specifications and General Conditions, including any addenda.
Attachment 3

The Contractor’s bid dated _______.
In the event that Attachment 3 contradicts or limits this Agreement or Attachments 1 and 2, this Agreement and Attachments 1 and 2 shall prevail.  


Article 1


ARCHITECT/ENGINEER
1.1
The Architect/Engineer (hereinafter referred to as the "A/E and as defined in the General Conditions) shall be Moseley Architects, whose address is 3200 Norfolk Street, Richmond, Virginia, 23230). Provided, however, that the Owner may, without liability to the Contractor, unilaterally amend this Article from time to time by designating a different person or organization to act as its A/E and so advising the Contractor in writing, at which time the person or organization so designated shall be the A/E for purposes of this Contract.


Article 2


TIME OF COMMENCEMENT AND COMPLETION
2.1
The Contractor shall commence the Work upon the date established in the Notice to Proceed (NTP).

2.2 Time is of the essence in this Agreement.

2.3 The Contractor shall achieve Substantial Completion for the project one hundred and seventy six (176) calendar days after the NTP. This time period shall be designated the Contract Time.  

2.4
The Contractor shall also complete the following activities of Work within the interim Milestone dates indicated, as applicable:

ACTIVITY:


                                        DATE:

Substantial Completion of 3rd Floor

No later than 146 calendar days after NTP

Final Completion of 3rd Floor

No later than 160 calendar days after NTP

Substantial Completion of project/

No later than 176 calendar days after NTP

Certificate of Occupancy

Completion of punch list work 1st and 2nd Floors

No later than 190 calendar days after NTP

Final Completion of Project/

No later than 197 calendar days after NTP

Certificate of Occupancy
2.5
The liquidated damages incurred by the Owner due to the Contractor's failure to complete the Work within the Contract Time, including any extensions thereof, and each Milestone designated in Article 2.4 above, within the applicable interim Milestone date, shall be as hereinafter stated.  

Milestone


Liquidated Damages

Final Completion of Project/
$900.00/For Each Consecutive Calendar Day

Certificate of Occupancy

2.6
The amount of liquidated damages set forth in Articles 2.5 above shall be assessed cumulatively.  This provision for liquidated damages does not bar Owner's right to enforce other rights and remedies against Contractor, which are otherwise legally enforceable, including but not limited to, specific performance or injunctive relief. 

2.7
The Contractor hereby waives any defense as to the validity of any liquidated damages stated in this Agreement as they may appear on grounds that such liquidated damages are void as penalties or are not reasonably related to actual damages.


Article 3


CONTRACT SUM
3.1
Provided that the Contractor shall strictly and completely perform all of its obligations under the Contract Documents, and subject only to additions and deductions by Modification or as otherwise provided in the Contract Documents, the Owner shall pay to the Contractor, in current funds and at the times and in the installments hereinafter specified, the sum of 


Dollars

($

) (herein referred to as the "Contract Sum").


Article 4


PROGRESS PAYMENTS
4.1
The Contractor shall provide a Payment Schedule as referred to in section 9.6.3 of the General Conditions.

4.2
The Contractor hereby agrees that on or about the first day of the month for every month during the performance of the Work he will deliver to the A/E a Pay Request Application in accordance with the provisions of Article 9 of the General Conditions. This date may be changed upon mutual agreement, stated in writing, between the Owner and Contractor.  Payment under this Contract shall be made as provided in the General Conditions.


Article 5


OTHER REQUIREMENTS
5.1
The Contractor shall submit the Performance Bond, Labor and Material Payment Bond, Guarantee Bond (as described in section 9.8.5.2 of the General Conditions) and Certification of Insurance as required by the Contract Documents.

5.2 To the extent required by the Commonwealth of Virginia (see e.g. 54.1-1100 et seq. of the Code of Virginia) or the County of Loudoun, the Contractor shall be duly licensed to perform the services required to be delivered pursuant to this Contract.  

5.3
A Contractor organized as a stock or nonstock corporation, limited liability company, business trust, or limited partnership or registered as a registered limited liability partnership shall be authorized to transact business in the Commonwealth as a domestic or foreign business entity if so required by Title 13.1 or Title 50 of the Code of Virginia or as otherwise required by law.  Any business entity described herein that enters into a Contract with the County pursuant to the Virginia Public Procurement Act 2.2-4300 et seq. shall not allow its existence to lapse or its certificate of authority or registration to transact business in the Commonwealth, if so required under Title 13.1 or Title 50 of the Code of Virginia, to be revoked or cancelled at any time during the term of the Contract.  The County may void any Contract with a business entity if the business entity fails to remain in compliance with the provisions of this section.
Article 6

IMMIGRATION REFORM AND CONTROL ACT OF 1986

6.1
By entering this Contract, the Contractor certifies that it does not and will not during the performance of this Contract violate the provisions of the Federal Immigration Reform and Control Act of 1986, which prohibits employment of illegal aliens.

Article 7
ENTIRE AGREEMENT AND SEVERABILITY
7.1 
This Contract represents the entire and integrated agreement between the parties hereto and supersedes all prior negotiations, representations, or agreements, either written or oral.  The Contract may be amended or changed only by a Modification.  Nothing contained in the Contract Documents shall create any Contractual relationship between the Owner, or any agent, consultant, or independent Contractor employed by the Owner and any subcontractor, sub‑subcontractor, supplier or vendor of the Contractor, but the Owner shall be entitled to performance of all obligations intended for his benefit, and to enforcement thereof. 

7.2 
In the event that any provision of this Contract shall be adjudged or decreed to be invalid, such ruling shall not invalidate the entire agreement but shall pertain only to the provision in question and the remaining provisions shall continue to be valid, binding, and in full force and effect.

Article 8

APPLICABLE LAWS/FORM

8.1
This Contract shall be governed in all respects by the laws of the Commonwealth of Virginia.  Any judicial action shall be filed in the Commonwealth of Virginia, County of Loudoun.  Contractor expressly waives any objection to venue or jurisdiction of the Loudoun County Circuit Court, Loudoun County, Virginia.  Contractor expressly consents to waiver of service of process in an action pending in the Loudoun County Circuit Court pursuant to Virginia Code Section 8.01-286.1.
Article 9

COUNTERPARTS

9.1
This Contract and any amendments or renewals hereto may be executed in a number of counterparts, and each counterpart signature, when taken with the other counterpart signatures, is treated as if executed upon one original of this Contract or any amendment or renewal.  A signature by any party to this Contract provided by facsimile or electronic mail is binding upon that party as if it were the original.
Witness the following signatures:

COUNTY OF LOUDOUN, VIRGINIA

CONTRACTOR
Division of Procurement



One Harrison Street, S.E., MSC #41C





Leesburg, VA  20175




Phone:
(703) 777-0394


Phone:



Fax:

(703) 771-5097


Fax:



By:






By:






Name:
 Christopher Bresley



Name:






Title:
 Contracting Officer



Title:






Date:






Date:






APPROVED AS TO FORM:

By:







Assistant County Attorney

Loudoun County, Virginia


Division of Procurement

1 Harrison St, SE 4th Floor MSC 41C

Leesburg, Virginia 20175

July 25, 2012
NOTICE TO OFFERORS

ADDENDUM NO. 1
QQ-01732
The following changes and/or additions shall be made to the original Invitation for Bid No. QQ-01732, Renovation of 803 Sycolin Road.  Please acknowledge receipt of this addendum by signing and returning with your bid.   

1.
Page 1 of the IFB, below the Acceptance Place, delete “QQ-0-1369” and replace with “QQ-01369”
2.
Reminder:  Prequalification by the County through RFP QQ-01369 is a requirement.

3.
Reminder:  the General Conditions in Paragraph 4.10.1 contains the following requirement:  
“The Contractor shall employ a competent full time Superintendent with 15 years of relative experience and a minimum of one full time assistant to ensure supervisory attendance at the Project site during the progress of the Work “.  
4.
Attachment #2 – Additional Specifications and Plan Revisions to this Addendum contains the following:


a.
Specification 275119 – Networked Sound – Masking Equipment


b.
AD1 A1 – Lighting Revisions at First Floor Reflected Ceiling Plan


c.
AD1 A2 – Revisions to Lighting, Ceiling and Partition Heights at 



First Floor Reflected Ceiling Plan

d.
AD1 A3 – Revise Reflected Ceiling Plan to Indicate Existing Ceilings to Remain

e.
AD1 A4 – Add Keynotes, Revise Third Floor Demolition Drawing

f.
AD1 A5 – Revisions to Elevation 6/A8.2

g.
AD1 M1 – Partial Second Floor Demolition Plan

h.
AD1 M2 – Partial First Floor Plans

i.
AD1 M3 – Partial Second Floor Plans

j.
AD1 M4 – Partial Third Floor Plans

k.
AD1 E1 – Reports 111 & Corridor 113 – Revisions to Lighting

5.
IFB Paragraph 18.4 – Inspection of Site.  Add the following sentences to the end of the paragraph:  “The two occupied areas of the first floor have ceiling tiles removed for Contractor inspection during the two walk through days of July 23, 2012 and July 26, 2012. To gain access to these areas, ring the buzzer at General Service’s entrance door and ask for John McCarthy or Chris Carone. You will be escorted through these spaces.”

6.
The following information is provided on the firms that installed equipment to be relocated as a part of this contract.


a.
Laboratory Fume Hood and Latent Print Fuming Chambers ;

Manufacturer –Thermo  Fisher Scientific/Fisher Hamilton

Supplier & Installer– NYCOM (Richmond, Va. location)

b.
Laboratory Metal Cabinetry and Resin Countertops;

Supplier – Morgan LDS,  Sterling ,Va.

Contact- Ron Warner   (703) 264-1769     ext.
7.
The following modifications and clarifications are hereby made a part of the Bidding Documents and supersede or otherwise modify the provisions of the published Project Manual and Drawings, dated July 3 2012.

Refer to the Drawings and Specification Sections, attached to this Addendum, (Attachment #2) which are hereby made a part of this Addendum.
a. MODIFICATIONS TO THE PROJECT MANUAL:



TABLE OF CONTENTS



DELETE reference to the following spec section which does not exist:



“263600

Transfer Switches”



SECTION 011000 – SUMMARY



Paragraph 1.6 B:  ADD the following:

“7.  Site work:  A separate contract will be awarded to provide site paving, fencing, gates, topping, and re-striping.”



SECTION 092900 – GYPSUM BOARD



DELETE Paragraph 2.3 A and SUBSTITUTE the following:

A. Light Weight Gypsum Board:  ASTM C 1396/C 1396M, with engineered high-strength, light weight gypsum core in 5/8 inch thickness may be used in lieu of standard weight Type X 5/8 inch gypsum board for non-fire-rated applications only.  (This new 5/8 inch thickness product is not a Type X board and is not tested for fire-rated assemblies.)

1. Core:  5/8 inch, not Type X.

2. Long Edges:  Tapered.

3. Products:  Subject to compliance with requirements, available products that may be incorporated into the Work include, but are not limited to, the following: 

a) National Gypsum Company; “Gold Bond High Strength Fire-Shield LITE 30.”

b) USG Corporation;  “UltraLight Panels Firecode 30”

SECTION 099100 – PAINTING

DELETE Subparagraph 3.3 A 3.

SECTION 099419 – MULTICOLOR INTERIOR FINISHING

Paragraph 1.2 A:  DELETE “(“SC” – Special Coating, on the drawings)” and SUBSTITUTE “(“MIF” – Multi-Color Interior Finishing, on the Drawings)”



SECTION 102113 – SOLID POLYMER TOILET COMPARTMENTS



ADD Paragraph 1.4B: 

“B.  Fire-Test-Response Characteristics:  Provide solid polymer panels tested in accordance with NFPA 286 and shown to meet the following criteria:

1) During the 40 kW exposure, flames shall not spread to the ceiling. 

2) During the 160 kW exposure: 

a) Flame shall not spread to the outer extremity of the sample on any wall or ceiling. 

b) Flashover, as defined in NFPA 286, shall not occur. 

3) The peak rate of heat release throughout the NFPA 286 test shall not exceed 800 kW. 

4) The total smoke released throughout the NFPA 286 test shall not exceed 1,000 m2.” 

SECTION 123553 – LABORATORY CASEWORK, FUME HOOD, ACCESSORIES AND EQUIPMENT




ADD the following sub-paragraph 2.3 A 13:

“13.  Morgan LDS, Sterling, VA.  Contact:  Ron Warner (703) 264-1769 – supplier of existing casework to be relocated”

Paragraph 2.8 A 2:  DELETE the words “Drug Storage, Records” at the end of the sentence.  The Contractor is required to move the Evidence Storage Lockers from this location only. 





SECTION 230900 – BUILDING AUTOMATION SYSTEM




ADD the following sentence to paragraph 2.2 B:

“Upgrade controls system to provide capability of sending all building alarms recoded at the head end via email to designated persons as provided by Owner.  Building alarms include any existing alarms and alarms provided as part of this project." 





SECTION 275119 – NETWORKED SOUND MASKING EQUIPMENT

ADD Specification Section 275119, Noted as Addendum 1, and attached to the end of this Addendum (Attachment #2).
b. MODIFICATIONS TO THE DRAWINGS:

COVER

DELETE the drawing listed under “Security Cameras – ASG” and Substitute the following drawing list:




“CCTV2.01
803 SYCOLIN ROAD FIRST FLOOR




 CCTV2.02
803 SYCOLIN ROAD SECOND FLOOR




 CCTV2.03
803 SYCOLIN ROAD THIRD FLOOR”

DRAWING A1.3
ADD Keynotes 3and 4.  Keynote 4  is pointing to corridor in front of existing restrooms.  Refer to drawing AD1-A4 attached to the end of this Addendum. 

DRAWING A3.0

Finish Schedule - Rooms 118,  208,  and 310:  DELETE “ETR”  finish on North, East, South, and West walls, and Ceiling, and SUBSTITUTE the finish “EX / PT”  in these spaces.  ADD Finish Schedule Note “12” in the “Notes” column.

Finish Schedule - Rooms 119, 120, 202, 204, 311, 312:  DELETE “ETR” finish on North, East, South, and West walls, and Ceiling and SUBSTITUTE the finish “EX/MIF” for the walls and “EX / PT” for the ceilings.  ADD Finish Schedule Notes “13” and “14” in the “Notes” column.  

Finish Schedule – Rooms 203 and 205:  DELETE “PT” finish on North, East, South, and West walls, and SUBSTITUTE the finish “MIF”  in these spaces.  ADD Finish Schedule Note “13” in the “Notes” column.

Finish Schedule – Room 202:  DELETE Finish Schedule Note “9”.  

ADD Notes 12, 13, 14 to the “Finish Schedule Notes” to read:




“12.  Paint shall be Semi-Gloss.




13.  Ceiling Paint shall be Semi-Gloss.




14. Existing Ceramic Tile on Walls shall remain. “ 

REVISE Finish Schedule General Note “J” to read:

“AT FIRST FLOOR, SECOND FLOOR, AND THIRD FLOOR RESTROOMS (311, 312, 119, 120, 202, 204), PROTECT AND MAINTAIN CONDITION OF EXISTING FINISHES TO REMAIN.  FINAL CLEAN THESE ROOMS AT END OF PROJECT.”

DRAWING A8.2

REVISE Evidence Locker Elevation 6.  Refer to drawing AD1-A5 attached to the end of this Addendum.

DRAWING A9.1, A9.2, A9.3

DELETE Note “E” of  “Reflected Ceiling Plan General Notes” and SUBSTITUTE Note “E” as follows:

“E.  EXISTING CEILINGS TO REMAIN WHERE INDICATED SHADED ON THE DRAWINGS.  REPAIR AND/OR  REPLACE ANY DAMAGE TO THE CEILING FINISHES SCHEDULED TO REMAIN.  EXISTING GYP BD. CEILINGS SHALL RECEIVE NEW PAINT, UNO.”  

Reflected Ceiling Plan Legend:  REVISE Description for Shaded Existing Ceiling to remain to read:

“Existing Ceiling to Remian”

DRAWING A9.1

REVISE the lighting in Corridors 111, 113, 114, and ADD one hour rate ceiling construction at the new ceiling areas in 111 and 113.  REVISE the full height partition between 110 and 111 to end at the ceiling.  Refer to drawing AD1A1 and AD1 A2 attached to the end of this Addendum. 

DRAWING A9.3

ADD shading to core area ceilings to remain.  Refer to drawing AD1-A3 attached to the end of this Addendum. 

DRAWING M1.1

REMOVE portions of the existing return duct. Refer to drawing AD1-M1 attached to the end of this Addendum. 

DRAWING M2.1

ADD transfer ducts.  Refer to drawing AD1-M2 attached to the end of this Addendum. 

DRAWING M2.2

ADD transfer ducts.  Refer to drawing AD1-M3 attached to the end of this Addendum. 

DRAWING M2.3

ADD transfer ducts.  Refer to drawing AD1-M4 attached to the end of this Addendum. 
DRAWING E2.1.1

REVISE lighting and associated circuitry.  Refer to drawing AD1-E1 attached to the end of this Addendum. 

Prepared By:
 
Christopher Bresley, CPPB/s/  
Date:  7/25/2012
__

  
Contracting Officer

Acknowledged By:





Date:
_____________
Attachments to Addendum #1; QQ-01732:

Attachment #1:
Comments for the County Project Manager provided at the Pre-Bid Meeting
Attachment #2
Additional Specifications & Plan Revisions
BEGINNING OF QUESTION AND ANSWERS
Q1:
What is the construction Budget?

A1:
The construction budget is estimated to be in the range of $3,000,000 to $4,000,000.

Q2:
What is the approximate square footage of the area to be renovated?

A2:
Approximately 65,000 square feet.  However, refer to contract documents for a more accurate number.
Q3:
Our initial review indicates the Division 27 specifications are missing.  Could you please provide them?

A4:
Reference Attachment #2 to this Addendum.

Q5:  
Does the Owner know if the floors were shot with a laser to confirm flatness, and have there been problems with the floors not being flat?

A5:
The Owner does not know if the floors were shot with a laser, but hasn’t noticed any problems, and there have not been reports of floor flatness problems from various Tenant Improvement build-outs.  

Q6:
What are the addresses of the other buildings where equipment that will be re-located is currently found?

A6:  
The addresses are found in Specification 123553, 2.8. 


Q7:
Is there parking at these other buildings for the Contractor to get the equipment, and will there be special security procedures that the Contractor will have to follow to gain access to the equipment?


A7:
Yes there is parking, and there are no special security measures for the Contractor, but the Contractor will need to coordinate the pick-up schedule with the Owner.
Q8:
Is the Contractor required to re-calibrate the Forensics equipment after it is moved as part of the re-installation?  

A8:  
Yes.    
END OF QUESTIONS AND ANSWERS


Loudoun County, Virginia


Division of Procurement

1 Harrison St, SE 4th Floor MSC 41C

Leesburg, Virginia 20175

August 1, 2012
NOTICE TO OFFERORS

ADDENDUM NO. 2
QQ-01732
The following changes and/or additions shall be made to the original Invitation for Bid No. QQ-01732, Renovation of 803 Sycolin Road.  Please acknowledge receipt of this addendum by signing and returning with your bid.   

1.
Reminder:  Prequalification by the County through RFP QQ-01369 is a requirement.  Bids from non-prequalified firms will not be considered.

2.
Attachment #1 – Plan Revisions to this Addendum contains the following which is to be incorporated into the contract documents:


a.
AD2 A1 – Revisions to WA1

b.
AD2-E1 – Third Floor Fire Alarm Rough-in, Southeast Quadrant

c.
AD2-E2 – Third Floor Fire Alarm Rough-in, Southwest Quadrant

c.
AD2-E3 – Third Floor Fire Alarm Rough-in, Northwest Quadrant

c.
AD2-E4 – Third Floor Fire Alarm Rough-in, Northeast Quadrant

3.
The following modifications and clarifications are hereby made a part of The Bidding Documents and supersede or otherwise modify the provisions of the published Project Manual and Drawings, dated July 3 2012.

a. MODIFICATIONS TO THE PROJECT MANUAL:




SECTION 099100 - PAINTING

DELETE Paragraph 3.8 D (Gloss Acrylic Floor enamel) and SUBSTITUTE the following:

D.
Concrete Floor with Gloss Water-Base Epoxy Floor Enamel:  2 Coats over primer on cured surface.  Concrete must cure a minimum of 30 days before painting and have pH of 10.0 or lower.  Prepare per SSPC-SP13, shot blast or prepare floor by other means acceptable to paint manufacturer (accepted in writing) prior to painting.

1.
Primer Coat:  Epoxy primer, brush or roller applied over prepared concrete.  Provide 1.5 - 2.0 mils DFT per coat or as recommended by manufacturer.

Glidden:  Tru-Glaze-WB 4428 Water Borne Epoxy thinned as per data sheet recommendation

Ben Moore:
P41 Fast Dry Epoxy Floor Sealer/Finish

PPG/Porter:  98-1 Series AQUAPON WB Water Base Epoxy 2.0 to 3.0 mils DFT per coat
S-W:
B70W410/B70V400 Armorseal Floor-Plex 7100 WB Epoxy Primer

2.
Two Finish Coats:  Two-component waterborne catalyzed polyamide epoxy floor enamel or comparable performance enamel.  Provide 1.5 - 2.0 mils DFT per coat or as recommended by manufacturer.

Glidden:  Tru-Glaze-WB 4428 Water Borne Epoxy 2.0 mils to 4.0 mils DFT per coat
Ben Moore:  P42 Waterborne Polyamide High Gloss Epoxy Enamel 2.0 to 3.0 mils DFT per coat
PPG/Porter  98-1 Series AQUAPON WB Water Base Epoxy 2.0 to 3.0 mils DFT per coat
S-W:
B70-400/B70V400 Armorseal Floor-Plex 7100

SECTION 111910 – CUSTOM / SECURITY HOLLOW METAL WORK






Paragraph 2.1 A:  ADD the following:





“5.  Trussbilt, Vadnais Heights, MN”

b. MODIFICATIONS TO THE DRAWINGS:

DRAWING A2.1, A2.2, A2.3

DELETE Note “F” of  “Floor Plan General Notes” and SUBSTITUTE Note “F” as follows:

“E.  REPAIR SPRAY FIREPROOFING AT 3RD FLOOR ROOF FRAMING WHERE DAMAGED BY PREVIOUS CONSTRUCTION AND DEMOLITION.  SPRAY FIREPROOFING SHALL MATCH EXISTING RATED ASSEMBLY.  PROVIDE 30 SF OF SPRAY FIREPROOFING FOR BIDDING.” 

DRAWING A8.2

REVISE “EXTERIOR WALL ASSEMBLIES”.  Refer to drawing AD2-A1 attached to the end of this Addendum.

 
DRAWING E0.1

Light Fixture Schedule, REVISE fixture type EF to be type ED2.

Light Fixture Schedule, REVISE Fixture S10 to be LUMENPULSE  LUCRO-24-72/48-40K-CL-BK + IPSBOX100D-277 or approved equal.  Count 2.  Fixture wattage 50.

Light Fixture Schedule, REVISE Fixture S15 to be LUMENPULSE LUCRO-24-72/72/36-40K-CL-BK + IPSBOX100D-277 or approved equal.  Fixture wattage 75.

DRAWING E2.1.2

Room 127 (lower right corner of plan) ADD Keynote #3 and (3) conduits dropped down in wall between 126 & 127 stubbed to outside below turfed grade.

Exterior north wall outside Office 136, provide a photocell equal to Intermatic K4136M with NEMA 3R box and swivel fitting.  Provide (2)#12, (1)#12G in ¾” conduit concealed above ceiling to Elec Room 117 and interface with existing exterior lighting controller.  

DRAWING E2.3.3

Fire alarm boxes are not shown on the drawing issued for the third floor.  Refer to attached drawings AD2-E1, E2, E3, & E4 for locations of devices (boxes & conduit by this contract for NIC devices & wiring as indicated on E0.1 Fire Alarm Legend).

DRAWING E5.0

Renovated Power Riser Diagram – REVISE feeder from EMDS to Existing MDS to have 350KCM G in lieu of 400 KCM G.

Prepared By:
 
Christopher Bresley, CPPB/s/  
Date:  8/1/2012
__

  
Contracting Officer

Acknowledged By:





Date:
_____________
Attachments to Addendum #2; QQ-01732:

Attachment #1
Plan Revisions
BEGINNING OF QUESTION AND ANSWERS
Q1:
Please indicate the location of Weather Barriers per specs 72500.  
We are unable to find it on the drawings.

A1:
Refer to revised drawing AD2 A1, in Attachment 1 to this addendum.

Q2:
There is note F on A2.1 “Repair spray fireproofing @ 3rd floor roof framing where damaged”, Please indicate a specification section and the extent of this work (square footage).

A2:
Refer to item 3b above

Q3:
Tru-Power is the service group for servicing all of the counties UPS units.   We also watch new construction jobs for all projects throughout the state and came across Loudoun County Sheriff’s Headquarters.  We noticed there are no UPS units on this project and were wondering what if any direction you were considering for this project as we would like the opportunity to bid it.  Or are you intending to move an existing UPS from another location?

A3:
UPS requirements will be addressed in Addendum #3.

END OF QUESTIONS AND ANSWERS


Loudoun County, Virginia


Division of Procurement

1 Harrison St, SE 4th Floor MSC 41C

Leesburg, Virginia 20175

August 7, 2012
NOTICE TO OFFERORS

ADDENDUM NO. 3
QQ-01732
The following changes and/or additions shall be made to the original Invitation for Bid No. QQ-01732, Renovation of 803 Sycolin Road.  Please acknowledge receipt of this addendum by signing and returning with your bid.   

1. Reminder:  Prequalification by the County through RFP QQ-01369 is a requirement.  Bids from non-prequalified firms will not be considered.
2. Correction to Addendum No. 2: Addendum No. 2 Supplemental Drawing AD2 A1 is revising Contract Document drawing A5.1, not A8.2.  
3. The following modifications and clarifications are hereby made a part of The Bidding Documents and supersede or otherwise modify the provisions of the published Project Manual and Drawings, dated July 3 2012.

c. MODIFICATIONS TO THE PROJECT MANUAL:

SECTION 011000 – SUMMARY

DELETE Paragraph 1.7 B and its subparagraphs, and SUBSTITUTE the following:

B.  Use of Site:  Limit use of premises to areas within the building and the parking lot area directly adjacent to the building. on the east, west, and south sides.  Do not disturb portions of the Project site beyond these areas in which the Work is indicated.  Refer to the supplemental drawing AD3 A1 for a diagram of the required construction fence layout.  

2. Driveways and Entrances:  Keep driveways and entrances serving premises clear and available to Owner, Owner's employees, and emergency vehicles at all times.  Do not use these areas for parking or storage of materials.

a. Schedule deliveries to minimize use of driveways and entrances.

b. Schedule deliveries to minimize space and time requirements for storage of materials and equipment on-site.

c. Maintain a 20’ clear driveway around the building on all four sides.  Driveway may be accessed through gates at the Contractor’s option.  Provide minimum of two vehicle gates to provide access around the building.  
d.  Contractor’s vehicles, employee parking, construction trailers, laydown space, and storage shall be contained inside the fence.

e. Coordinate the fence location with the Owner’s separate site Contractor to determine procedure to temporarily move construction fence when permanent site security fence is installed and conflicts with construction fence.  Contractor shall move construction fence at no additional cost to the Owner. 

f. ADD attached drawing AD3 A1 to the end of the specification section.

SECTION 098413 – ACOUSTICAL WALL PANELS


ADD the following to the end of Paragraph 3.2 A:

3. Install the following quantities of panels:  

a. Room 127:  North wall- 5 panels; South Wall – 3 panels; East Wall – 3 panels

b. Room 373:  North wall – 3 panels; East Wall 5 panels; West Wall – 3 panels

c. Mount top of panels 8’-10” Above Finish Floor.  

SECTION 111900 – DETENTION EQUIPMENT

ADD the following sub-paragraph 1.3 B.  Available Detention Equipment Contractors (DEC):

6.
JailCraft, Inc.


133 Mullar Lane


Stevensville, MD 21666

7.
Sweeper Metal Fabricators Corp


1240 E. Broadway


Drumright, OK 74030

8.
DESI, Inc.



Concordville, PA”
SECTION 260519 - LOW-VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES

DELETE paragraph 3.2.C and subparagraphs, and INSERT the following:

B. Branch Circuits Concealed in Ceilings, Walls, and Partitions:  Type THHN-THWN, single conductors in raceway. 

1. Provide raceway for homerun from first device or fixture on circuit.  MC cable may be used for downstream circuitry after first connection to load.  

2. Do not “daisy chain” MC cable from load to load such that disconnection of part of a load from a circuit would interrupt downstream parts of the load.

3. All circuitry serving loads in INTERVIEW / HOLDING suite spaces 122 through 129 shall be provided with all conduit in raceway, no MC cabling.

DELETE paragraph 3.2.F and subparagraphs, and INSERT the following:

C. Whips from Junction Box Concealed in Ceilings to Lighting Fixtures:  

1. For concealed light fixture connection whips, it is permissible to use either single conductors in flexible metallic conduit, or listed type MC metal clad cable maximum 6 feet in length.

SECTION 263353 – STATIC UNINTERRUPTIBLE POWER SUPPLY

ADD attached specification Section 263353 to the project manual and table of contents.

d. MODIFICATIONS TO THE DRAWINGS:

DRAWING E2.1.2

Room 162 near 165 (lower left corner of plan):  Relocate Keynote #3 and associated conduits 50’ north to drop in the wall to stub out of the building to the left of Lobby 101.

Exterior outside 150, 154, and 157 add power outlets and circuitry as indicated on attached supplemental drawing AD3-E1.

DIT Security Room 141, provide 120V connection to sound masking equipment and dedicated homerun to 1L1-13.


DRAWING E2.2.2

DIT Security Room 201, provide 120V connection to sound masking equipment and dedicated homerun to 2L3-33.


DRAWING E2.3.2

DIT Security Room 302, provide 120V connection to sound masking equipment and dedicated homerun to 3L3-35.


Prepared By:
 
s/Christopher Bresley, CPPB  
Date:  8/7/2012
__

  
Contracting Officer

Acknowledged By:





Date:
_____________
Attachments to Addendum #3; QQ-01732:

Attachment
BEGINNING OF QUESTION AND ANSWERS
Q1:
Since this building is all framed in Metal studs and drop ceilings, the most cost efficient wiring method would be MC cable, and the MC could be specified as MC TUFF, this wiring method is the most used for this type

of building applications.     Can we use the MC wiring method instead of all pipe?
A1:
Refer to revisions to Spec Section 260519 for expanded use of MC cable now allowed.
Q2:
On the sound Masking drawings AC1.0 ,2.0, 3.0 there is a note #8 about 120 volt power that may be needed, there is none shown on any electrical drawings.
A2.
Refer to text of this Addendum for power supplies.
Q3:
We were asked to supply a quote for the Acoustical Wall Panel section of this project, section 098413.  I see on the Finish Schedule that Polygraph Rooms 127 & 373 require acoustical treatment on (3) walls and the size of the panels is to be 30"(w) x 48"(h).  I do not see drawings that give the layout of the panels or any mention of how many are required in the rooms.

A3:
Refer to Addendum 3 revisions above to clarify the quantity of panels.  
 

Q4:
In review of the specifications for the Loudon County Sheriff's Headquarters interior fit-up project, I see several references in the division 1 specifications to commissioning but a specification section defining the commissioning requirements has not been provided in the specification manual.  Are the commissioning requirements defined elsewhere or will a "general commissioning requirements" specification be provided.  
A4:
General Building Commissioning is not a requirement of this project.  However, specific technical specification sections may have requirements for individual systems/components.
Q5:
The lighting fixture schedule shows a type “EF” quantity of 110. There are no type “EF” fixtures shown on the drawings however there are 110 type “ED2” which are not listed on the schedule. Are these one in the same.

A5:
Refer to revisions indicated in Addendum No. 2.

Q6:
Wall Tile Specification section 093000 – D. 6.  states “Tile and color pattern selected from manufactures full range”.

Due to this tile being placed in different price groups, ie: Groups 1A, 1, 2, and 3. Please provide the maximum price group the color will be chosen from or the maximum percentage of the highest group to be used?

A6:
Tile may be selected by the Owner from any price group, as specified.
END OF QUESTIONS AND ANSWERS

PAGE  
IFB QQ-01732
Page 23

