Hays CISD

21003 IH 35

Kyle, Texas 78640

512-268-2141 (6063)/Fax 512-268-0880

RFP #27-050709MS Vehicle Wash Water Recycle System

Opens: May 17, 2007 @ 2:00 p.m.

Download full specifications at http://www.hayscisd.net/finance/Bids.htm

«CompanyName» ATTN: «FirstName» «LastName»

«PreferredStreetAddress» Phone: «OfficePhoneNumber»

«PreferredCity», «PreferredState» «PreferredZip» Fax: «OfficeFaxPhoneNumber»

Dear Prospective Vendor:

The purpose of this letter is to invite you to submit a bid for the above-referenced items for Hays CISD. The specifications are at the above web site. Respondents must enter information for each item in the space provided on the specification sheet. Annotate any item you are unable to offer.

Bids must be clearly marked with the above referenced BID number, opening date, and time. Responses must be received in the HCISD Purchasing Office, 21003 IH 35, Kyle, TX 78640 by the above referenced date and time. FAXED RESPONSES WILL NOT BE ACCEPTED. LATE RESPONSES WILL NOT BE CONSIDERED. Failure to respond to two requests for bids may result in removal from our vendor list for the commodity(ies) in this BID. Respondent must complete the attached disclaimer statement giving full name and address, and disclaimer must bear the manually executed signature and title of the authorized agent.

No offer may be withdrawn by the vendor for a period of sixty (60) days subsequent to the opening of Bids without consent of the Board of Trustees, Hays CISD District. The Board of Trustees reserves the right to reject any and/or all bids, award contracts for individual items as may appear advantageous, and waive all formalities in the BID process.

Awards will be made to the lowest responsible Vendor considering price and quality of material and service. All items must be quoted F.O.B. Destination, Hays CISD, Kyle, Texas, freight prepaid, and INSIDE delivery should be made within 30 days after receipt of purchase order, unless otherwise noted in the response and approved by the HCISD Purchasing Office.

Thank you for your prompt attention to this matter.

Sincerely,

N

Martha L. Smith

Director of Purchasing

Offerer’s Disclaimer Statement

The undersigned Offerer, by signing and executing this RFP, certifies and represents to Hays CISD that Offerer has not offered, conferred or agreed to confer any pecuniary benefit, as defined by section 36.01(5) of the Texas Penal Code, or any other thing of value, as consideration for the receipt of information or any special treatment or advantage relating to this RFP; the Offerer also certifies and represents that Offerer has not offered, conferred or agreed to confer any pecuniary benefit or other thing of value as consideration for the recipient’s decision, opinion, recommendation, vote or other exercise of discretion concerning this RFP; the Offerer certifies and represents that Offerer has neither coerced nor attempted to influence the exercise of discretion by any officer, trustee, agent or employee of the Hays CISD concerning this RFP on the basis of any consideration not authorized by law; the Offerer also certifies and represents that Offerer has not received any information not available to other Offerers so further certifies and represents that Offerer has not violated any state, federal or local law, regulation or ordinance relating to bribery, improper influence, collusion or the like and that Offerer will not in the future offer, confer, or agree to confer any pecuniary benefit or other thing of value of any officer, trustee, agent or employee of the Hays CISD in return for the person having exercised the person’s official discretion, power or duty with respect to this RFP; the Offerer certifies and represents that it has not now and will not in the future offer, confer, or agree to confer a pecuniary benefit or other thing of value to any officer, trustee, agent or employee of the Hays CISD in connection with information regarding this RFP, the submission of this RFP, the award of this RFP or the performance, delivery or sale pursuant to this RFP.

I, the undersigned agent for the firm named below, certify that the information concerning notification of felony convictions has been reviewed by me and the following information furnished is true to the best of my knowledge.

COMPANY VENDOR NAME (PRINTED):

ADDRESS:

CITY, STATE, ZIP: PHONE:

AUTHORIZED COMPANY OFFICIAL’S NAME (PRINTED):

SIGNATURE OF COMPANY OFFICIAL:

TITLE: DATE:

My firm is a publicly held corporation; therefore, this reporting requirement is not applicable. OR

My firm is not owned nor operated by anyone who has been convicted of a felony. OR

My firm is owned or operated by the following individual(s) who has/have been convicted of a felony:

Name of Felon(s):

Details of Conviction(s):

Are you a certified Historically Underutilized Business (HUB)?

Yes   No

If yes, with whom are you certified?

Enter 5-digit certification number

CONFLICT OF INTEREST: Neither HCISD trustees nor employees shall accept gifts or entertainment from vendors to the District. The District shall not do business with any of its trustees or employees.

MUST BE RETURNED WITH RFP

Hays CISD

21003 IH 35

Kyle, Texas 78640

512-268-2141 (6063)/Fax 512-268-2147

FELONY CONVICTION NOTIFICATION

State of Texas Legislative Senate Bill No. 1, Section 44.034, Notification of Criminal History, Subsection (a), states “a person or business entity that enters into a contract with a school district must give advance notice to the district if the person or an owner or operator of the business entity has been convicted of a felony. The notice must include a general description of the conduct resulting in the conviction of a felony.”

Subsection (b) states “a school district may terminate a contract with a person or business entity if the district determines that the person or business entity failed to give notice as required by Subsection (a) or misrepresented the conduct resulting in the conviction. The district must compensate the person or business entity for services performed before the termination of the contract.”

THIS NOTICE IS NOT REQUIRED OF A PUBLICLY-HELD CORPORATION

Please check corresponding box:

Hispanic American   Male   Female

Black American   Male   Female

Asian Pacific American   Male   Female

Native American (Indian)   Male   Female

Woman(ofanyethnicity)

COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

1. SCOPE

1.1. Hays Consolidated Independent School District (HCISD) requests proposals for a Vehicle Wash Water Recycle System

1.2. HCISD will accept proposals either by mail or hand carried until 2:00 p.m., May 17, 2007. Proposals received after the opening date and time will not be accepted and will be returned unopened to vendor. One (1) original and one (1) copy of the response are required for evaluation purposes. Offers may be hand carried or mailed in a sealed envelope/package clearly marked with the offering company's name, return address, the RFP number and opening date and time, and addressed to: Hays Consolidated Independent School District, PURCHASING DEPARTMENT, Martha Smith, 21003 IH 35, Kyle, TX 78640.

2. INDEMNIFICATION: The contractor shall save and keep harmless and indemnify HCISD against any and all liability, claims and costs of whatsoever kind and nature for injury to or death of any person or persons and for loss or damage to any property occurring in connection with or in any incident to or arising out of occupancy, use, service, operations or performance of work in connection with this contract, resulting in whole or in part from the negligent acts or omissions of the Vendor.

3. TERMINATION

3.1. FOR DEFAULT: The performance of work under the contract may be terminated by HCISD in accordance with this clause, in whole or in part, in writing, whenever HCISD shall have determined that the Vendor has failed to meet the performance requirements of the contract. HCISD has the right to terminate for default if the Vendor fails to make delivery of the goods or perform the work, or if the Vendor fails to perform the work within the time specified in the contract, or if the Vendor fails to perform any other provisions of the contract.

3.2. FOR CONVENIENCE: HCISD may terminate the contract at its convenience with thirty (30) day advance written notice to the Vendor. In the event of such a termination by HCISD, HCISD shall be liable for the payment of all approved work performed prior to the termination.

3.3. In the event of termination, HCISD reserves the right to re-award this contract to the next low responsive bidder.

1 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

4. GENERAL TERMS AND CONDITIONS

4.1. Inquiries and requests for information affecting the Bid must be in writing and shall be directed to Martha Smith, Director of Purchasing, via email (smithma@hayscisd.net), mail (21003 IH 35, Kyle, TX 78640), or fax (512-268-0880). To provide HCISD sufficient time to adequately prepare responses to vendor inquiries, all questions must be submitted at least five (5) working days prior to the RFP opening date. Contact with HCISD personnel other than Martha Smith or her designee regarding this solicitation may be reason for elimination from the selection process. Any prospective respondent detecting a conflict or ambiguity in the RFP should notify the Director of Purchasing, in writing, setting forth the grounds of the alleged conflict or ambiguity and requesting the issuance of a clarifying addendum. If HCISD believes that clarification is necessary or proper, a clarifying addendum will be distributed to all prospective vendors. HCISD will not be bound by any oral or other informal explanation of the requirements of the RFP documents.

4.2. Provide detailed explanations of any variances or exceptions the respondent has with any requirement or term specified in this RFP and thoroughly explain any alternate service offered.

4.3. Delivery dates – Bidders must specify the projected delivery date as part of the RFP response. Delivery of supplies must be in compliance with the RFP specifications.

4.4. HCISD is not responsible for any costs incurred by the Vendor for the preparation or distribution of the RFP.

4.5. Respondents or other authorized representatives are expected to fully inform themselves as to all conditions, requirements, and specifications before submitting offers. Failure to do so will be at the respondent's own risk.

4.6. PROPRIETARY INFORMATION: Proprietary information if any submitted to HCISD in response to this RFP should be identified as such. Any information identified as proprietary will be handled in accordance with the provisions of the Texas Open Records Public Information Act as it applies to such information.

4.7. HCISD reserves the right to negotiate all elements, which comprise the Respondent's offer to ensure the best possible consideration, be afforded to all concerned and to reject any and all offers and to re-solicit for offers in such an event.

4.8. Assignment: Contractor shall not assign or sub-contract this agreement, its obligations or rights hereunder to any party, company, partnership, incorporation or person without the prior written specific consent of HCISD.

2 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

4.9. Evaluation Criteria: The responses will be evaluated on the following criteria and will be based upon the combination of criteria that offer the greatest value. The order of the following criteria in no way indicates the order of importance of the criteria.

Ability of the vendor to meet all of the specifications.

Vendor References

Experience with the bidder and quality of the bidder’s goods or services

Support Capabilities of the Vendor

Completeness & Responsiveness to the Bid

Fees and Associated Costs

4.10. Invoices: In order to receive payment for goods or services furnished to HCISD, invoices for each purchase order must be submitted to the HCISD Business Office, Attn: Accounts Payable, at 21003 IH 35, Kyle, TX 78640.

4.10.1. All invoices must clearly indicate the following information:

originating purchase order number

complete description of goods or services furnished, including unit prices, extended prices and quantities delivered

project name

date of issuance

delivery destination

all applicable prompt payment discount terms

4.10.2. HCISD may require individual invoices per campus to facilitate ease in the payment process.

4.11. The Contractor shall not bill more than one purchase order on a single invoice. The purpose of this requirement is to reduce the administrative burden associated with verifying charges and remitting invoices. Failure to comply with these requirements may result in delayed payments.

4.12. Payment terms: HCISD will make payment on a Net 30-day basis. The payment term shall begin on the date the deliverables are inspected, delivered and accepted by HCISD, or on the date a correct invoice is received by HCISD, whichever is later. Bidders are welcome to quote a discount for early payment; however, prompt payment discounts will not be considered as an evaluation criterion. Prompt payment discounts shall be considered earned if payment is postmarked or personally delivered within the prescribed term.

4.13. Hays CISD is not liable for orders accepted without a purchase order.

3 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

5. VENDOR INFORMATION (attach additional information as needed)

5.1. Vendor Identification and Contact Information

Company Name:

Address:

Phone:

Fax:

Contact Person:

Title:

Email:

5.2. Company Profile:

______ Year Incorporated/Organized/Started

______ Corporation

______ Partnership

______ Sole Proprietorship

______ Other: _________________________________

______ HUB/MBE/WBE (#_______________________)

______ Total Number of Employees

6. REFERENCES:

List references (minimum of three) where you have similar contracts in place. Special attention should be given to references from similar institutions as HCISD. List company name, contact person, address, phone number, fax number, email address, and completion date for each reference.

6.1. Company:

Contact:

4 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

Address:

Phone:

Fax:

Email:

Dates of Contract: _

6.2. Company:

Contact:

Address:

Phone:

Fax:

Email:

Dates of Contract:

6.3. Company:

Contact:

Address:

Phone:

Fax:

Email:

Dates of Contract:

5 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

7. SYSTEM DESCRIPTION

7.1. GENERAL

7.1.1. The following specification is provided with regard to design and supply of a wash water recycle system for use in treating and reusing wash water generated from the washing of school buses. The system shall have the capability of removing suspended solids and tract petroleum hydrocarbons.

7.1.2. Include detailed literature regarding the system you are proposing.

7.1.3. The wash water will be treated using the following methods, at a minimum:

• Clarification to remove settle able solids (existing at HCISD)

• Oil-water separation to remove free oil & hydrocarbons (existing at HCISD)

• Filtration, to remove filterable solids

• Oil removal media, to remove lightly emulsified oils and dissolved hydrocarbons.

• Advanced oxidation using ozone and peroxide to prevent odors and provide disinfection.

7.1.4. The treated water will be pressurized and returned directly to the wash pad for reuse. The system will be capable of providing a sustained flow rate of 20 GPM (gallons per minute) of recycled water to the wash pad. Based on a washing operation of 8 hours per day, the system must be able to provide a minimum of 9,600 gallons of recycled water per day.

7.2. WATER STORAGE/EQUALIZATION TANK

7.2.1. This tank will allow for continuous operation of the wash water recycle system and will include the following functions:

7.2.1.1. Emergency transfer pump shut down on low-low water level.

7.2.1.2. Fresh water makeup on low water level.

7.2.1.3. Alarm and treated water discharge on high water level.

7.2.1.4. Emergency secondary sump pump shut down on high-high water level.

7.2.2. The tank should be of sufficient size to allow for the operation of four level controls and to provide equalization/surge capacity. A minimum capacity of 500 gallons is required.

6 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

7.3. TRANSFER PUMP

7.3.1. A transfer pump shall be provided to transfer clarified water through the treatment units and to the wash pad for reuse. The pump shall be capable of producing a sustained flow rate of 20 GPM at an operating pressure of 30 psi.

7.4. FILTRATION

7.4.1. Filters will be provided to remove any residual solids remaining from the clarification process. Filters must remove solids so that pressure washing equipment will not be adversely affected by the presence of solids in the wash water. The filter will be constructed of corrosion-resistant materials and contain a sufficient surface area to allow extended operation in between backwashes.

7.5. OIL REMOVAL

7.5.1. Oil removal systems will be provided to remove dissolved and lightly-emulsified petroleum hydrocarbons from the wash water. Sufficient media will be provided to allow at least 3 months of operation before media replacement is required.

7.6. CARTRIDGE FILTER

7.6.1. A cartridge filter must be provided to remove ultra-fine residual solids so that pressure washing equipment will not be adversely affected by the presence of solids in the wash water. The cartridge filter will remove all solids greater than 10 microns in particle size. The cartridge filter will be rated for a maximum flow rate of at least 20 GPM and will be constructed of corrosion-resistant materials.

7.7. ODOR PREVENTION & OXIDATIVE TREATMENT

7.7.1. The following system or a system providing a similar service will be acceptable. A hydrogen peroxide injection system will be provided to prevent odors and provide oxidative treatment. Hydrogen peroxide will be injected into the treated wash water at a slow controlled rate. The 50% hydrogen peroxide solution will be pumped directly from a supplier’s carboy (55-gallon plastic drum) and injected under pressure into the recycled water line. The peroxide metering pump will operate automatically and will be interlocked with the system transfer pump to prevent chemical addition when the transfer pump is not operating.

7.8. OZONATION

7 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

7.8.1. The following system or a system providing a similar service will be acceptable. An ozone generation/injection system shall be provided to prevent odors and provide oxidative treatment. Ozone will be injected into the treated wash water at a slow controlled rate. The ozone will be generated on-site at a minimum rate of 2.0 grams per hour and injected under pressure into the recycled water line. The ozone metering pump will operate automatically and will be interlocked with the system transfer pump to prevent ozone addition when the transfer pump is not operating.

7.9. BOOSTER PUMP

7.9.1. A buster pump shall be provided to increase the pressure of the treated water prior to reuse at the wash pad. The pump shall be capable of increasing the operating pressure to 60 psi at a sustained flow rate of 20 GPM.

7.10. WASHING HOSE

7.10.1. A washing hose (minimum length = 50 feet) shall be provided to allow hose washing of buses as an alternative or in addition to pressure washing.

7.11. DELIVERY

7.11.1. Pricing is to include all freight and delivery charges. Indicate in your response the delivery time in days after receipt of order (ARO).

7.12. INSTALLATION

7.12.1. Hays CISD will be responsible for all installation of system, electrical, plumbing, etc. Awarded vendor shall supply HCISD with all wiring, plumbing, drawings, manuals and start up instructions.

8. PRICING: Respondents shall submit pricing, delivery schedules, and warranty information, as applicable, in Table 1 below. Prices shall be inclusive of delivery, assembly, and all other applicable fees. If calculation errors produce an inaccurate total price for any item in the Vendor’s response (e.g., multiplying the unit price by an incorrect quantity), the unit price shall prevail.

| TABLE 1 –PRICES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | QTY |  | DESCRIPTION | UNIT PRICE |  | TOTAL PRICE |
| 1. |  | 1 |  |  | Vehicle Wash Water Recycle System Brand/Model Offered: ___________________________ |  |
| 2. | 1 |  | Type and length of warranty: |  |  |  |

8 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

| 3. | 1 | Delivery ARO: |
| --- | --- | --- |

12. CERTIFICATION

By my signature below, I certify that this offer meets or exceeds the specifications of this RFP.

AUTHORIZED SIGNATURE DATE _

PRINTED NAME TITLE

9 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

SUSPENSION AND DEBARMENT CERTIFICATION

Federal Law (A-102 Common Rule and OMB Circular A-110) prohibits non-federal entities from contracting with or making sub awards under covered transactions to parties that are suspended or debarred or whose principals are suspended or debarred. Covered transactions include procurement contracts for goods or services equal to or in excess of $100,000 and all non-procurement transactions (e.g., sub awards to sub recipients).

Contractors receiving individual awards of $100,000 or more and all sub recipients must certify that their organization and its principals are not suspended or debarred by a federal agency.

I, the undersigned agent for the firm named below, certify that neither this firm nor its principals are suspended or debarred by a federal agency.

VENDOR’S NAME:

Signature of Company Official:

Date Signed:

10 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

Central Texas Purchasing Alliance

Adoption Clause

USE OF CONTRACT(S) BY MEMBERS COMPRISING THE CENTRAL TEXAS PURCHASING ALLIANCE (CTPA).

A. If authorized by the Vendor(s), resultant contract(s) may be adopted by the member districts of the CTPA as indicated below. Authorized members may purchase goods and/or services in accordance with contract pricing and purchasing terms established by the Contract Lead District.

B. A list of members that may utilize the Vendor’s contract is listed on the CTPA website, http://209.184.141.5/ctpa/members.htm.

C. Any district member wishing to utilize such contract(s), will contact the Vendor to verify that the contract is available to them and will place its own order(s) directly with the successful Vendor. The Successful Vendor may contact the member districts to inform them about the contract award. There shall be no obligation on the part of any participating district to utilize the contract(s).

D. A negative reply by the Vendor will not adversely affect consideration of the Vendor’s Solicitation response.

E. Each participating district has the option of executing a separate contract with the successful Vendor, which may contain general terms and conditions unique to that contracting district. If, when preparing such contract, the general terms and conditions of a district are unacceptable to the successful Vendor, the successful Vendor may withdraw its extension of their offer to that district.

F. The Contract Lead District shall not be held liable for any costs or damages incurred by another district as a result of any award extended to that district by the Successful Vendor.

BY SIGNATURE BELOW, THE VENDOR HEREBY AUTHORIZES THE MEMBER DISTRICTS AS INDICATED BELOW TO ADOPT ANY CONTRACT RESULTING FROM THE VENDOR’S RESPONSE TO THIS SOLICITATION:

YES

NO

YES, with the exception of the following districts:

Vendor Name:

Printed Name of Authorized Company Official:

Signature of Company Official:

Date:

11 COMPANY _________________________ RFP #27-050709MS VEHICLE WASH WATER RECYCLE SYSTEM OPENING 5-17-07 @ 2:00 P.M.

The forms at the following link (http://www.ethics.state.tx.us/whatsnew/conflict_forms.htm) must be completed annually and sent to the Business Office of HCISD. For purposes of the forms, the officers are listed below.

Dr. Kirk London

Superintendent of Schools

Board of Trustees

Mr. Robert DuPont

President

Dr. Henry Altmiller

Vice President

Mr. Joe Muñoz

Secretary

Ms. Melissa Espinoza

Mr. Mark Jones

Mr. Ralph Pfluger

Ms. Patti Wood

12

| CompanyName | FirstName | LastName | PreferredStreetAddress | PreferredCity | PreferredState | PreferredZip | OfficePhoneNumber | OfficeFaxPhoneNumber |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Carbtrol Corporation | Kevin S. | Malone | 955 Connecticut Ave, Ste 5202 | Bridgeport | CT | 6607 | 800-242-1150 | 203-337-4347 |
| CATEC Water Recovery & Ozone Systems | Dean | Taylor | 2361 Whitfield Park Ave. | Sarasota | FL | 34243 | 941-751-5656 | 941-758-0815 |
| Hotsy Carlson Equipment | Ray | Brown | 4714 Nuckols Crossing Rd. | Austin | TX | 78744 | 512-442-2267 | 512-442-3190 |
| Hydro Engineering | Ren | Peek | 865 West 2600 South | Salt Lake City | UT | 84119 | 800-247-8424 | 801-972-3265 |
| Washing Equipment of Texas, Inc. | Larry | Marlow | 4121 McKinney Falls Pkwy | Austin | TX | 78744 | 512-389-2822 | 512-389-2008 |