BALTIMORE COUNTY, MARYLAND

REQUEST FOR BID NO. B-567

ENZYME IMMUNOASSAY REAGENT KITS AND

RELATED SUPPLIES FOR DRUGS OF ABUSE TEST, TERM AGREEMENT
GENERAL CONDITIONS

1.
SCOPE.

1.1
It is the intention of these specifications that the vendor hereunder shall furnish and Baltimore County shall purchase enzyme immunoassay reagent kits and related supplies covered by this contract which the County may require during the period of time specified.  The quantities shown are approximate and are for the purpose of bid evaluation.  

1.2
The County reserves the right to order supplies that may be required during the said period, and it also reserves the right not to order supplies bid upon by the vendor, if it is found that such supplies are not required by the County during the period covered by this contract.

2.
TERM OF CONTRACT.

2.1
The term of this contract shall be for one (1) year beginning on or about September 15, 2012.  Baltimore County reserves the right to renew this contract for up to four (4) additional one-year renewal options under the same terms and conditions.  Baltimore County will automatically renew this contract on each option year unless notice is given to the vendor/contractor that the contract is not renewed.

2.2
If price adjustments are requested pursuant to the terms of the contract, the vendor/contractor must notify the Baltimore County Purchasing Division ninety (90) days prior to the current terms expiration date.

3.
PRICES.  Prices quoted must remain firm for the period covered by this contract, unless price escalation is herein specified.  Prices quoted shall include delivery costs and charges.

4.
METHOD OF AWARD.  Award will be made on a total lump sum basis.  In accordance with Sec. 10-2-406 of the Baltimore County Code, 2003, as amended, past performance of bidders in furnishing goods and services to Baltimore County will be considered in determining the award.

5.
UNIT OF MEASURE.  The unit of measure for prices quoted must agree with the unit of measure provided on the bid form.  
6.
COOPERATIVE PURCHASE.

6.1
The County reserves the right to extend all of the terms, conditions, specifications, and unit or other prices of any contract resulting from this bid to any and all public bodies, subdivisions, school districts, community colleges, colleges, and universities including non-public schools.  This is conditioned upon mutual agreement of all parties pursuant to special requirements which may be appended thereto.  The supplier/contractor agrees to notify the issuing body of those entities that wish to use any contract resulting from this bid and will also provide usage information, which may be requested.

6.2
The County assumes no authority, liability or obligation, on behalf of any other public or non-public entity that may use any contract resulting from this bid.  All purchases and payment transactions will be made directly between the contractor and the requesting entity.  Any exceptions to this requirement must be specifically noted in the bid/proposal response.

7.
MULTI-AGENCY PROCUREMENT.  Baltimore County reserves the right to extend the terms and conditions of this contract to any and all other County agencies requiring these commodities and/or services.  A sub-order release will be issued against the original purchase order, confirming the contracted pricing and giving quantity and delivery requirements.

8.
ESCALATION.

8.1
All prices offered herein shall be firm against any increase for one (1) year from the effective date of the contract.  Prior to commencement of subsequent renewal terms, the County may entertain a request for escalation in accordance with the current Consumer Price Index at the time of the request or up to a maximum 5% increase on the current pricing, whichever is lower.  

8.2
For purposes of this section, “Consumer Price Index” shall mean the Consumer Price Index-All Urban Consumers-United States Average-All Items (CPI-U), as published by the United States Department of Labor, Bureau of Labor Statistics.  

8.3
Baltimore County reserves the right to accept or reject the request for a price increase within fourteen (14) days.  If the price increase is approved, the price will remain firm for one (1) year from the date of the increase.

9.
DELIVERIES.

9.1
Deliveries shall be made promptly.  If deliveries are not made within forty-five (45) days after receipt of order, the Buyer reserves the right to procure the supplies/services elsewhere on the open market, in which event, the extra cost of procuring the supplies/services may be charged against the vendor and deducted from any monies due or which may become due him.

9.2
If the vendor is unable to supply requested supplies/services within the designated time, due to factory delay, strike or any unforeseen circumstances, the vendor must notify the Buyer of the delay and the anticipated delivery date.  Failure to comply with this requirement will result in a poor performance rating which is considered in subsequent awards.

9.3
Failure to meet delivery date and to provide supplies/services as specified may result in written termination of this contract.

10.
Electronic Version Submittal.
In accordance with the General Instructions for Solicitations, #1.9, Instructions, Forms and Specifications, responses to Requests for Bids and Requests for Proposals shall be accompanied by an electronic version (CD) of the bid proposal in PDF format.  The CD must be labeled with the bid number, the bid title, and the bidders’ name submitting the response.  All bids must be submitted in a sealed envelope or carton as appropriate.  This does not apply to Requests for Quotations.

11.
MATERIAL SAFETY DATA SHEET.  The successful bidder must submit Material Safety Data Sheets (MSDS).  Prior to final awarding of the bid, the Safety Office must approve the awardee’s MSDS. 

12.
MINORITY AND WOMEN BUSINESS ENTERPRISE REQUIREMENTS:  The resulting minority and women business participation requirement for this contract is 0%.

13.
INQUIRIES.  Any inquiries relative to this bid should be directed to Dayle T. Deemer, the Buyer, at (410) 887-2495 or ddeemer@baltimorecountymd.gov. 
BALTIMORE COUNTY, MARYLAND

REQUEST FOR BID NO. B-567

ENZYME IMMUNOASSAY REAGENT KITS AND

RELATED SUPPLIES FOR DRUGS OF ABUSE TEST, TERM AGREEMENT
SPECIFICATIONS

1.
SCOPE OF WORK.

1.1
It is the intention of this solicitation that the vendor hereunder shall furnish and Baltimore County shall purchase enzyme immunoassay reagents and related supplies covered by this contract that the County may require during the period of time specified.  The supplies are for use by the Baltimore County Department of Corrections for the detection of drugs of abuse in inmates.  The quantities shown are approximate and are for the purpose of bid evaluation.  

1.2
Baltimore County will purchase the enzyme immunoassay reagent kits as described below and the equipment to include a data management system (computer) is to be provided by the vendor at no additional costs.  Details, specifications and requirements of the equipment and the reagent kits are noted below.  Pricing should be shown as a per kit price as indicated on the pricing page and the cost per test should be indicated beneath the description of each type of reagent.

1.3
The County reserves the right the order supplies that may be required during the said period and also reserves the right not to order supplies bid upon the vendor, if it is found that such supplies are not required by the County during the period covered by this contract.

2.
EQUIPMENT.

2.1
Vendor must provide the Department of Corrections laboratory with equipment to allow the laboratory to perform enzyme immunoassay urinalysis assays using the vendor’s reagents.  Size and type of equipment will be determined by mutual agreement and be based on the types and quantities of tests to be performed.  Laboratory Data Reporting system (computer) and software is to be included.

2.2
The estimated workload for one (1) calendar year is approximately 6,500 reportable drugs of abuse tests, including validity tests.  The estimated annual workload for each analyte is included in this solicitation.  From the information available, the most frequently ordered tests are shown on the attached pricing page.

2.3
The testing equipment provided (automated chemistry analyzer) should be capable of testing human urine for drugs of abuse chemistry assays. 

2.4
Analyzers (equipment) must have the ability to perform automatic calibration and automatic Quality Control Tests, from the material stored on the STAT table or other refrigerated compartment located on board the equipment.

2.5
Testing Capabilities must include tests for the following adulterants:  Creatinine, Nitrites, Oxidants.

2.6
Analyzer must have through-put of 130 tests per hour that can hold up to fifty-one (51) samples or more per run.

2.7
Time to first result – twelve (12) minutes or less.

2.8
Vendor will conduct and document qualitative method validations for all assays to be performed on the equipment after equipment installation and/or replacement.  Vendor will be required to provide Department of Corrections with a copy of such documentation.

2.9
The Contractor must be a licensed distributor for all equipment; supplies and materials provided and must be so licensed at the time of bid submission.  No unauthorized parties may submit bids for the needs specified in this Request for Bid. 

2.10
The Contractor certifies that it is a manufacturer authorized dealer/representative for all goods and services it proposes to furnish under any resulting contract.  If requested by the County, the bidder shall provide supporting evidence from the manufacturer.

2.11
Analyzers must be new and from an authorized instrument distributor or direct manufacturer.  Refurbished analyzers are not acceptable.

2.12
Analyzer is to be installed by trained personnel and installed as per manufacturer’s documented protocol and validation process.  

2.13
Technology needs to be defensible in all levels of the criminal justice system.

3.
TECHNICAL SPECIFICATIONS.

3.1
Standards

3.1.1
All FDA regulations on reagent kits in effect on the date of the Request for Bid shall apply.  When changes are made to the FDA regulations, the Contractor shall update the products to remain in compliance with these regulations.

3.1.2
Reagents must be Food and Drug Administration (FDA) cleared/approved.  The bidder must provide evidence of FDA approval for the reagent kits at time of bid submission.

3.1.3
Reagent kits must be approved as a clinical enzyme immunoassay by the Food and Drug Administration.

3.1.4
Products should be produced in an ISO-9001 certified manufacturing facility.

3.1.5
Reagent kits must be manufactured in the USA.

3.2
Reagents/Kits

3.2.1
For the purpose of this solicitation, a kit is defined as all of the reagents, calibrators, controls, pipettes, tubes, diluents, consumables or other special materials  instrumentation, expendables, shipping and handling and insurance  needed for training, sample preparation, testing, equipment operation and maintenance, reporting and data management required for the semi-quantitative detection of drugs of abuse, drug metabolites or products within the sample used to assess sample integrity or validity.  The samples tested for drugs of abuse will be human urine.

3.2.2
For the purpose of this solicitation, a specific drug, drug metabolite or product used to assess sample integrity will be referred to as an analyte.  The collection of calibrators, controls, diluents and reagents required to test one analyte will be referred to as a reagent kit.

3.2.3.
   Reagent kits should be bar-coded to facilitate identification and tracking.

3.2.4
Reagents must require minimal or no preparation.

3.2.5
Reagents must be stable (ex. stable for 30 days at 4 degrees C once opened or prepared).

3.2.6
Reagent kits must have a minimum of a twelve (12) week expiration dating when received by Baltimore County.

3.2.7
Each shipment of kits shall have only one (1) lot number.

3.2.8
Several calibrators should be available for each analyte to afford multiple cutoffs and semi-quantitative analysis.

3.2.9
The procedure for performing the test must be included in the reagent kit as a package insert from the manufacturer to include safety, preparation and storage instructions.

3.2.10
All lots of reagents will be assayed in the laboratory to verify compliance to the accompanying parameters.  Lots which fail to comply must be replaced with an acceptable lot within twenty-four (24) hours of notification.

3.2.11
Material Safety Data Sheets and descriptive literature shall be provided for each chemical and/or compound offered by the successful vendor upon notification of award.

4.
TRAINING AND SUPPORT.

4.1
Analyzer Service and Support Requirements:

4.1.1
Service is to be provided by trained and certified manufacturer’s personnel using manufacturer’s parts for all service, including preventive maintenance.

4.1.2
Service is to be provided by manufacturer’s authorized local service representative.  No third party services providers will be accepted.

4.1.3
Technical Service Response time (24 hour response time).  Response time for onsite repair of equipment shall be twenty-four (24) hours.  On site repair of equipment shall be completed within five (5) business days of the initial service call.  If unable to complete repair onsite within five (5) business days, prompt arrangements shall be made for a replacement of equivalent analyzer.

4.1.4
Two preventive maintenance service calls per year.
4.1.5
On call technical support via phone 24/7.

4.1.6
All software upgrades and user updates provided by the manufacturer are to be included at no additional cost to the County.

4.1.7
User’s guide is to be provided upon delivery of equipment.

4.2
TRAINING

4.2.1
Intensive offsite training for Department of Correction personnel on the proper use of all of the analyzer equipment, including any data management systems must be provided by the manufacturer or authorized distributor after initial installation of analyzer equipment.  

4.2.2
Vendor is to provide two (2) training slots for any training that occurs offsite.  Meals, lodging, airfare (if required) is to be provided by the vendor without additional cost to the County.

4.2.3
On-site training to be provided by the contractor on an as-needed basis as determined by the agency.

