## M2M
Product Line | Sub Category | Brand | Part Number | Description | MSRP | Government
Discontinued (Replacement, if available)
AC Power | Rugged UPS | Newmar | AC-UPS-24-700 | UPS, Rugged, AC, 24V, 700VA, 700W | 1595 | 1276
AC Power | Rugged UPS | Newmar | AC-UPS-48-1200 | UPS, Rugged, AC, 48V, 1200VA, 1200W | 2128 | 1702.4
AC Power | Rugged UPS | Newmar | AC-UPS-48-2000 | UPS, Rugged, AC, 48V, 2000VA, 1600W | 2769 | 2215.2
AC Power | Rugged UPS | Newmar | AC-UPS-BP-120-30 | UPS, Rugged, Accessory, Manual Bypass Switch | 532 | 425.6
| Rugged UPS | Newmar | 431-6128-0 | UPS Rugged Cable Assembly | 127 | 101.6
Desktop Power | Desktop - DC | DuraComm | LPX-10 | Power Supply, Desktop, 13.8V/10A | 124 | 99.2
Desktop Power | Desktop - DC | DuraComm | LPX-14 | Power Supply, Desktop, 13.8V/14A | 138 | 110.4
Accessories | DC Systems - Mobile | Newmar |  | Power Supply, Heavy Duty, 24V, CD | 1089 | 871.2
Desktop Power | Desktop - DC | DuraComm | LPX-14N | Power Supply, Desktop, 13.8V/14A | 153 | 122.4
Accessories | DC Systems - Mobile | Newmar |  | 12-12-35I DC Converter EOL | 1906 | 1524.8
Desktop Power | Desktop - DC | DuraComm | LPX-18 | Power Supply, Desktop, 13.8V/18A | 150 | 120
Desktop Power | Desktop - DC | DuraComm | LPX-18N | Power Supply, Desktop, 13.8V/18A | 153 | 122.4
Desktop Power | Desktop - DC | DuraComm | LPX-18BC | Power Supply, Desktop, 13.6V/13.5 | 186 | 148.8
Desktop Power | Desktop - DC | DuraComm | LPX-25 | Power Supply, Desktop, 13.8V/25A | 223 | 178.4
Accessories | DC Systems - Mobile | Newmar | 12-2000A | 12-2000A PS INVERTER | 2170 | 1736
Desktop Power | Desktop - DC | DuraComm | LPX-3-48 | Power Supply, Desktop, 55.2V/3A | 153 | 122.4
Accessories | DC Systems - Mobile | Newmar |  | DC Converter, Mobile, Step-up | 2331 | 1864.8
Desktop Power | Desktop - DC | DuraComm | EH-30 | Power Supply, Desktop, Environmentally Hardened, 13.4V/30A | 342 | 273.6
Desktop Power | Desktop - DC | DuraComm | LPB-12 | Power Supply, Desktop, Internal Battery, 13.8V/7A | 275 | 220
Desktop Power | Desktop - DC | DuraComm | LPB-12M | Power Supply, Desktop, Internal Battery, w/Meter, 13.85V/12A | 299 | 239.2
Desktop Power | Desktop - DC | DuraComm | LPB-12H | Power Supply, Desktop, Internal Battery, High Capacity, 13.85V/12A | 479 | 383.2
Accessories |  | Newmar |  | 1500TQ-12 INVERTER/CHARGER EOL | 0 | 0
Desktop Power | Desktop - DC | DuraComm | LPB-12H-EU | Power Supply, Desktop, Internal Battery, High Capacity, 13.85V/12A | 552 | 441.6
Desktop Power | Desktop - DC | DuraComm | LPB-15 | Power Supply, Desktop, Internal Battery, 13.85V/12A | 410 | 328
Desktop Power | Desktop - DC | DuraComm | LPB-24 | Power Supply, Desktop, Internal Battery, 24V/7A | 494 | 395.2
Desktop Power | Desktop - DC | DuraComm | LPH-KEN-81 | Hood, Low-Profile, Kenwood | 37 | 29.6
Desktop Power | Desktop - DC | DuraComm | LPH-MOT/L | Hood, Low-Profile, Motorola | 37 | 29.6
Desktop Power | Desktop - DC | DuraComm | LPH-HYT/L | Hood, Low-Profile, Hytera | 37 | 29.6
Accessories | DC Systems - Mobile | Newmar | 22-10 Wire | 22-10 Wire, per foot | 5 | 4
Accessories | DC Systems - Mobile | Newmar | 22-15 Wire | 22-15 Wire, per foot | 5 | 4
Desktop Power | Desktop - DC | DuraComm | LPH-ICOM/221S | Hood, Low-Profile, ICOM | 37 | 29.6
Desktop Power | Desktop - DC | DuraComm | LPH-KEN/L | Hood, Low-Profile, Kenwood | 37 | 29.6
Accessories |  | Newmar |  | 2400TQ-24 INV/CHARGER OBSOLETE | 6379 | 5103.2
Accessories |  | Newmar | 24-1000A | 24-1000A PS INVERTER | 1107 | 885.6
Desktop Power | Desktop - DC | DuraComm | LPH-KEN/M | Hood, Low-Profile, Kenwood | 37 | 29.6
Desktop Power | Desktop - DC | DuraComm | LPH-MOT/CDM | Hood, Low-Profile, Motorola | 37 | 29.6
Accessories | DC Systems | Newmar | 24-12-30RM | DC-DC Converter, Rackmount, 24V, 2U | 1497 | 1197.6
Desktop Power | Desktop - DC | DuraComm | LPH-MOT/S | Hood, Low-Profile, Motorola | 37 | 29.6
Desktop Power | Desktop - DC | DuraComm | LPH-MOT-PM/VTX | Hood, Low-Profile, Motorola | 37 | 29.6
Desktop Power | Desktop - DC | DuraComm | LPH-KEN/S | Hood, Low-Profile, Kenwood | 37 | 29.6
Desktop Power | Desktop - DC | DuraComm | LPHP-1048 | Power Supply, Desktop, Adjustable Power, 48V/10A | 520 | 416
Desktop Power | Desktop - DC | DuraComm | LPHP-2024 | Power Supply, Desktop, Adjustable Power, 24V/20A | 520 | 416
Accessories |  | Newmar | 32-12-10 DC | 32-12-10 DC Converter | 567 | 453.6
Accessories |  | Newmar | 32-12-15 DC | 32-12-15 DC Converter | 632 | 505.6
Accessories |  | Newmar | 32-12-25 DC | 32-12-25 DC Converter | 888 | 710.4
Accessories |  | Newmar | 32-12-35 DC | 32-12-35 DC Converter | 1189 | 951.2
Accessories |  | Newmar | 32-12-50 DC | 32-12-50 DC Converter | 1369 | 1095.2
Accessories |  | Newmar |  | 3600TQ-24 INV/CHARGER OBSOLETE | 8316 | 6652.8
Accessories |  | Newmar |  | 36-12-18ISP DC Converter EOL | 1602 | 1281.6
Accessories |  | Newmar |  | 36-12-6ISP DC Converter EOL | 1061 | 848.8
Desktop Power | Desktop - DC | DuraComm | LPHP-4012 | Power Supply, Desktop, Adjustable Power, 12V/40A | 520 | 416
Desktop Power | Desktop - DC | DuraComm | LPHP-4012-BC | Power Supply, Desktop, Adjustable Power, Battery Charger, 12V/40A | 625 | 500
Desktop Power | Desktop - DC | DuraComm | LPHP-4024 | Power Supply, Desktop, Adjustable Power | 780 | 624
Desktop Power | Desktop - DC | DuraComm | RM-KIT | Power Supply, Desktop, Accessory, Rackmount Kit | 72 | 57.6
Accessories | DC Systems | Newmar | 48-12-30RM | DC-DC Converter, Rackmount, Step-down, Isolated, 48V/12V, 30A | 3041 | 2432.8
Desktop Power | Desktop - DC | DuraComm | RM-SHELF | Power Supply, Desktop, Accessory, Rackmount Shelf | 37 | 29.6
DC Power | DC Converters - DC | DuraComm | DCDC-130-12 | DC-DC Converter, Rackmount, 1kW, 130V-12V, 2U | 1092 | 873.6
DC Power | DC Converters - DC | DuraComm | DCDC-130-24 | DC-DC Converter, Rackmount, 1kW, 130V-24V, 2U | 1092 | 873.6
DC Power | DC Converters - DC | DuraComm | DCDC-130-48 | DC-DC Converter, Rackmount, 1kW, 130V-48V, 2U | 1092 | 873.6
DC Power | DC Converters - DC | DuraComm | DCDC-200-24-48 | DC-DC Converter, Rackmount, 200W, 24V-48V, 2U | 260 | 208
DC Power | DC Converters - DC | DuraComm | DCDC-200-48-12 | DC-DC Converter, Rackmount, 200W, 48V-12V, 2U | 260 | 208
Accessories | DC Systems | Newmar | 48-24-15RM | 48-24-15RM DC Converter | 3041 | 2432.8
Accessories | DC Systems | Newmar |  | 48-24-18I DC Converter EOL | 2308 | 1846.4
Accessories | DC Systems | Newmar | 48-24-DHS | 48-24-DHS MODULE,48V TO 24V,1500W | 2016 | 1612.8
DC Power | DC Converters - DC | DuraComm | DCDC-200-48-24 | DC-DC Converter, Rackmount, 200W, 48V-24V, 2U | 260 | 208
DC Power | DC Converters - DC | DuraComm | DCDC-500-24-48 | DC-DC Converter, Rackmount, 500W, 24V-48V, 2U | 427 | 341.6
Accessories |  | Newmar |  | 72-12-18ISP DC Converter EOL | 1688 | 1350.4
DC Power | DC Converters - DC | DuraComm | DCDC-500-48-12 | DC-DC Converter, Rackmount, 500W, 48V-12V, 2U | 427 | 341.6
DC Power | DC Converters - DC | DuraComm | DCDC-500-48-24 | DC-DC Converter, Rackmount, 500W, 48V-24V, 2U | 427 | 341.6
DC Power | DC Converters - DC | DuraComm | DCDC-24-12 | DC-DC Converter, Rackmount, 1kW, 24V-12V, 2U | 1175 | 940
DC Power | DC Converters - DC | DuraComm | DCDC-24-48 | DC-DC Converter, Rackmount, 1kW, 24V-48V, 2U | 1175 | 940
|  | Newmar | ABC | ABC-12-6 Battery Charger | 538 | 430.4
DC Power | DC Converters - DC | DuraComm | DCDC-48-12 | DC-DC Converter, Rackmount, 1kW, 48V-12V, 2U | 1249 | 999.2
DC Power | DC Converters - DC | DuraComm | DCDC-48-24 | DC-DC Converter, Rackmount, 1kW, 48V-24V, 2U | 1249 | 999.2
| DC Converters | Newmar | 36-12-6ISP | DC-DC Converter, Mobile, 36V-12V, 6A | 989.56 | 791.65
| DC Converters | Newmar | 36-12-18ISp | DC-DC Converter, Mobile, 36V-12V, 18A | 1494.06 | 1195
| DC Converters | Newmar | 36-12-35ISP | DC-DC Converter, Mobile, 36V-12V, 35A | 2562.56 | 2050.05
| DC Converters | Newmar | 36-24-3ISP | DC-DC Converter, Mobile, 36V-24V, 3A | 1038.75 | 831
| DC Converters | Newmar | 36-24-9ISP | DC-DC Converter, Mobile, 36V-24V, 9A | 1569.57 | 1255.66
DC Power | DC Power Plant | Newmar | BSW1/0-7 | DC Power Plant, Commnader II Series, Battery String Wiring | 123 | 98.4
DC Power | DC Power Plant | Newmar | BSW2-7 | DC Power Plant, Centurion Series, Battery String Wiring | 124 | 99.2
DC Power | DC Power Plant | Newmar | BSW8-7 | DC Power Plant, Sentinel Series, Battery String Wiring | 226 | 180.8
DC Power | DC Power Plant | Newmar | C2CB-10 | Circuit Breaker, Centurion II, 6A | 56 | 44.8
DC Power | DC Power Plant | Newmar | C2CB-15 | Circuit Breaker, Centurion II, 15A | 56 | 44.8
DC Power | DC Power Plant | Newmar | C2CB-20 | Circuit Breaker, Centurion II,20A | 56 | 44.8
DC Power | DC Power Plant | Newmar | C2CB-30 | Circuit Breaker, Centurion II,30A | 56 | 44.8
DC Power | DC Power Plant | Newmar | C2CB-6 | Circuit Breaker, Centurion II,10A | 56 | 44.8
DC Power | DC Power Plant | Newmar | C2RS-24 | DC Power Plant, Centurion II Series, +24V | 4124 | 3299.2
DC Power | DC Power Plant | Newmar | C2RS48 | DC Power Plant, Centurion II Series, -48V | 4583 | 3666.4
DC Power | DC Power Plant | Newmar | C2TS-7 | DC Power Plant, Centurion II, Accessory, Temp Sensor | 69 | 55.2
DC Power | DC Power Plant | Newmar | C3C-12-40 | DC Power Plant, Centurion III Series, DC Converter 12V | 1964 | 1571.2
DC Power | DC Power Plant | Newmar | C3C-24-25 | DC Power Plant, Centurion III Series, DC Converter 24V | 1964 | 1571.2
DC Power | DC Power Plant | Newmar | C3RS-48-124 | DC Power Plant, Centurion III Series, 12/24/48 | 4659 | 3727.2
DC Power | DC Power Plant | Newmar | TEMPSENS-CMDRII-3M | DC Power Plant, Commander II Series, Accessory, Temp Sensor, 3M | 65 | 52
DC Power | DC Power Plant | Newmar | TEMPSENS-CMDRII-7M | DC Power Plant, Commander II Series, Accessory, Temp Sensor, 7M | 74 | 59.2
DC Power | DC Power Plant | Newmar | CM12-40 | DC Power Plant, Commander II Series, DC-DC Converter, 12V | 1628 | 1302.4
DC Power | DC Power Plant | Newmar | CM24-40 | DC Power Plant, Commander II Series, DC-DC Converter, 24V | 1628 | 1302.4
DC Power | DC Power Plant | Newmar | CMDR-6U | DC Power Plant, Commander II Series, Accessory, 23" Adapter, 6U, Black, Pair | 94 | 75.2
DC Power | DC Power Plant | Newmar | CMDR-7U | DC Power Plant, Commander II Series, Accessory, 23" Adapter, 7U, Black, Pair | 94 | 75.2
DC Power | DC Power Plant | Newmar | CMDR-10 | Circuit Breaker, Commander II Series, 10A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-16 | Circuit Breaker, Commander II Series, 16A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-20 | Circuit Breaker, Commander II Series, 20A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-25 | Circuit Breaker, Commander II Series, 25A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-32 | Circuit Breaker, Commander II Series, 32A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-40 | Circuit Breaker, Commander II Series, 40A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-50 | Circuit Breaker, Commander II Series, 50A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-6 | Circuit Breaker, Commander II Series, 6A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-63 | Circuit Breaker, Commander II Series, 63A | 56 | 44.8
DC Power | DC Power Plant | Newmar | CMDR-80 | Circuit Breaker, Commander II Series, 80A | 74 | 59.2
Chargers | Accessories | Newmar | BUZZER | Accessory, Phone-Com | 17 | 13.6
DC Power | DC Power Plant | Newmar | CMDR-100 | Circuit Breaker, Commander II Series, 100A | 74 | 59.2
DC Power | DC Power Plant | Newmar | CMDR-125 | Circuit Breaker, Commander II Series, 125A | 74 | 59.2
DC Power | DC Power Plant | Newmar | CMDR-200 | Circuit Breaker, Commander II Series, 200A | 183 | 146.4
DC Power | DC Power Plant | Newmar | CMDR-250 | Circuit Breaker, Commander II Series, 250A | 236 | 188.8
DC Power | DC Power Plant | Newmar | CM2RBAS | DC Power Plant, Commander II Series, Accessory, Busbar Adapter, Short | 132 | 105.6
Chargers | DC Power Plant | Newmar |  | C2R-1000 RECTIFIER 48 VDC, 1000W EOL | 1147 | 917.6
Chargers | DC Power Plant | Newmar |  | C2R-2000 RECTIFIER 48/24 VDC, 2000W OBSOLETE | 1522 | 1217.6
DC Power | DC Power Plant | Newmar | COMMANDER II | DC Power Plant, Commander II Series, 6U | 6552 | 5241.6
DC Power | DC Power Plant | Newmar | COMMANDER II+ | DC Power Plant, Commander II Series ,7U | 8190 | 6552
| DC Power Plant | Newmar | CMDRS-48 | DC Power Plant, Commander | 5188.26 | 4150.61
DC Power | DC Power Plant | Newmar | CONTROLLER | DC Power Plant, Controller, EM40 | 1266 | 1012.8
DC Power | DC Power Plant | Newmar | CRS-2U | DC Power Plant, Centurion II Series, Accessory, 23", 2U Black, Pair | 107 | 85.6
DC Power | DC Power Plant | Newmar | IPS-12-40 | Power System, Integrated, 12V | 2992 | 2393.6
DC Power | DC Power Plant | Newmar | IPS-48-11 | Power System, Integrated, 48V | 2992 | 2393.6
DC Power | DC Power Plant | Newmar | RM-648HE | DC Power Plant, Sentinel Series, Rectifier, HE, 600W | 817 | 653.6
DC Power | DC Power Plant | Newmar | RM-1524HE | DC Power Plant, Sentinel Series, Rectifier, HE, 1500W, 24V | 1266 | 1012.8
DC Power | DC Power Plant | Newmar | RM2048HE | DC Power Plant, Centurion Series, Rectifier,HE, 2kW | 1491 | 1192.8
DC Power | DC Power Plant | Newmar | RM3048HE | DC Power Plant, Commander II Series, Rectifier, HE, 3kW | 1638 | 1310.4
DC Power | DC Power Plant | Newmar | SCOUT-R | DC Power Plant, Scout, Rectifier | 2514 | 2011.2
DC Power | DC Power Plant | Newmar | SCOUT-S | DC Power Plant, Scout | 1683 | 1346.4
DC Power | DC Power Plant | Newmar | SRS-48 | DC Power Plant, Sentinel Series | 2704 | 2163.2
DC Power | DC Power Plant | Newmar | SRS BP | DC Power Plant, Accessory, Sentinel, Blank Plate | 46 | 36.8
DC Power | DC Power Plant | Newmar | UFP-5 | DC Power Plant, Unity, Fuse Panel, 5 Position | 359 | 287.2
DC Power | DC Power Plant | Newmar | ULM-100 | DC Power Plant, Unity, Low Voltage Monitor | 1308 | 1046.4
DC Power | DC Power Plant | Newmar | UMB PM | DC Power Plant, Unity, Universal Mounting Bracket Set | 92 | 73.6
DC Power | DC Power Plant | Newmar | UR24-6 | DC Power Plant, Unity, Rectifier, 24V/6A | 459 | 367.2
DC Power | DC Power Plant | Newmar | UR48-3 | DC Power Plant, Unity, Rectifier, -48V/3A | 469 | 375.2
DC Power | DC Power Plant | Newmar | URS | DC Power Plant, Unity, Shelf | 620 | 496
DC Power | DC Power Plant | Newmar | USAR 24-6 | DC Power Plant, Unity, Rectifier, Standalone, 24V/6A | 620 | 496
DC Power | DC Power Plant | Newmar | USAR 48-3 | DC Power Plant, Unity, Rectifier, Standalone, -48V/3A | 576 | 460.8
DC Power | DC Systems | Newmar | 125-1000RM | Inverter, Rackmount, 125V, 2U | 3822 | 3057.6
DC Power | DC Systems | Newmar | 125-2000RM | Inverter, Rackmount, 125V, 2U | 7315 | 5852
DC Power | DC Systems | Newmar | 24-1000RM | Inverter, Rackmount, 1kVA, 2U | 3650 | 2920
DC Power | DC Systems | Newmar | 24-48-8RM | DC-DC Converter, Rackmount, 24V, 2U | 3041 | 2432.8
DC Power | DC Systems | Newmar | 24-48-DHS | Power Supply Module, DHS, 24V-48V,1500W | 2016 | 1612.8
DC Power | DC Systems | Newmar | 48-1000RM | Inverter, Rackmount, 48V, 2U | 3562 | 2849.6
DC Power | DC Systems | Newmar | 48-1200RM | Inverter, Rackmount, 48V, 2U | 3493 | 2794.4
DC Power | DC Systems | Newmar | 48-1U | Inverter, Rackmount, 48V, 1U | 3051 | 2440.8
DC Power | DC Systems | Newmar | 48-1U | Inverter, Rackmount, 48V, 1U | 5766 | 4612.8
| DC Systems | Newmar | 48-1000IRM | Inverter, Rackmount, 48V, 1U | 2874.8 | 2299.84
DC Power | DC Systems | Newmar | 48-2000IRM | Inverter, Rackmount, 48V, IEC, 2U | 7466 | 5972.8
DC Power | DC Systems | Newmar | 48-2000RM | Inverter, Rackmount, 48V, 2U | 6652 | 5321.6
DC Power | DC Systems | Newmar | 48-3000RM | Inverter, Rackmount, 48V, 2U | 7877 | 6301.6
DC Power | DC Systems | Newmar | BDS-DIN-UPS 12-10 | UPS, BDA/DAS, DIN, 12V/10A | 1017 | 813.6
DC Power | DC Systems | Newmar | BDS-DIN-UPS 24-10 | UPS, BDA/DAS, DIN, 24V/10A | 1084 | 867.2
|  | Newmar |  | Commander Shelf 436-1448-0 OBSOLETE | 5506 | 4404.8
DC Power | DC Systems | Newmar | BDS-DIN-UPS 48-10 | UPS, BDA/DAS, DIN, 48V/10A | 1545 | 1236
DC Power | DC Systems | Newmar | BMS-19/23 | Battery Shelf, 2x BM-48-4 | 466 | 372.8
DC Power | DC Systems | Newmar | 48-24-DHS | Power Supply Module, DHS, 48V-24V,1500W | 2016 | 1612.8
DC Power | DC Systems | Newmar | DIN-UPS 24-20P |  | 1164 | 931.2
DC Power | DC Systems | Newmar | DIN-RAIL | UPS, DIN, Accessory, Adapter, 19", 2U | 310 | 248
DC Power |  | Newmar |  | 36-12-35ISP CONV. OBSOLETE | 2746 | 2196.8
DC Power |  | Newmar |  | 110-12-18ISP DC Converter EOL | 1612 | 1289.6
DC Power | DC Systems | Newmar | DIN-BATT 12.1.2 | UPS, DIN, Accessory, Battery, 12V/1.2AH | 310 | 248
DC Power | DC Systems | Newmar | DIN-BATT 12.12 | UPS, DIN, Accessory, Battery, 12V/12 AH | 479 | 383.2
DC Power | DC Systems | Newmar | DIN-BATT 24-1.2 | UPS, DIN, Accessory, Battery, 24V/1.2 AH | 352 | 281.6
DC Power | DC Systems | Newmar | DIN-BATT 24-7.0 | UPS, DIN, Accessory, Battery, 12V/7 AH | 497 | 397.6
DC Power | DC Systems | Newmar | DIN-BATT 48 7 | UPS, DIN, Accessory, Battery, 48V/7 AH | 1031 | 824.8
DC Power | DC Systems | Newmar | DIN-BATT 48 1.2 | UPS, DIN, Accessory, Battery,, 48V/1.2 AH | 703 | 562.4
DC Power | DC Systems | Newmar | DIN-UPS 12-10 | UPS, DIN, 12V, 10A | 696 | 556.8
DC Power | DC Systems | Newmar | DIN-UPS 12-35 | UPS, DIN, 12V, 35A | 1059 | 847.2
DC Power | DC Systems | Newmar | DIN-UPS 24-10 | UPS, DIN, 24V, 10A | 755 | 604
DC Power | DC Systems | Newmar | DIN-UPS 24-20 | UPS, DIN, 24V, 20A | 1059 | 847.2
DC Power | DC Systems | Newmar | DIN-UPS 48-10 | UPS, DIN, 48V, 5A | 1059 | 847.2
DC Power | DC Systems | Newmar | DIN-UPS 48-5 | UPS, DIN, 48V, 10A | 805 | 644
DC Power | DC Systems | Newmar | DIN-UPS-TP10FT | UPS, DIN, Accessory, Temp Probe, 10FT | 104 | 83.2
DC Power | DC Systems | Newmar | DIN-UPS-TP3FT | UPS, DIN, Accessory, Temp Probe, 3FT | 83 | 66.4
DC Power | DC Systems | Newmar | DRM-220 | UPS, DIN, Accessory, Redundancy Module | 226 | 180.8
DC Power | DC Systems | Newmar | DRS-48-24-7500 | DC Power System, Converter, 48V-24V | 1457 | 1165.6
DC Power | DC Systems | Newmar | MDP-25.0 | UPS, DIN, Mobile Data Power | 996 | 796.8
DC Power | DC Systems | Newmar | PFM-500 | Manager, Power Function | 2698 | 2158.4
DC Power | DC Systems | Newmar | PM-12-40 | Power Module, Rackmount, 12V | 1850 | 1480
DC Power | DC Systems | Newmar | PM-12-80 | Power Module, Rackmount, 12V | 2706 | 2164.8
DC Power | Distribution | Newmar |  | Distribution Panel, Dual Bus, Circuit Breaker, Plug-in, UL | 762 | 609.6
DC Power | DC Systems | Newmar | PM-24-20 | Power Module, Rackmount, 24V | 1801 | 1440.8
DC Power |  | Newmar |  | DST-8-RB DISTRIBUTION PANEL w/ CONTROL EOL | 1375 | 1100
DC Power |  | Newmar |  | DST-FB-10 AMP PLUG-IN EOL | 42 | 33.6
DC Power |  | Newmar |  | DST-FB-15 AMP PLUG-IN EOL | 42 | 33.6
DC Power |  | Newmar |  | DST-FB-20 AMP PLUG-IN EOL | 42 | 33.6
DC Power |  | Newmar |  | DST-FB-25 AMP PLUG-IN EOL | 42 | 33.6
DC Power |  | Newmar |  | DST-FB-30 AMP PLUG-IN EOL | 42 | 33.6
DC Power |  | Newmar |  | DST-FB-5 AMP PLUG-IN EOL | 42 | 33.6
DC Power | DC Systems | Newmar | PM-24-40 | Power Module, Rackmount, 24V | 2706 | 2164.8
DC Power | DC Systems | Newmar | PM-48-10 | Power Module, Rackmount, 48V | 1801 | 1440.8
DC Power | DC Systems | Newmar | PM-48-20 | Power Module, Rackmount, 48V | 2706 | 2164.8
DC Power |  | Newmar |  | ESA ELECTRICAL SYSTEM ANALYZER OBS | 473 | 378.4
DC Power | DC Systems | Newmar | POWER-PAC 14AH | Power Supply, Battery Back-up, 14Ah | 1067 | 853.6
DC Power | Distribution | Newmar | FDP-2020 | Distribution Panel, Dual Bus, Fuse, 100A | 1427 | 1141.6
DC Power | DC Systems | Newmar | POWER-PAC 7AH | Power Supply, Battery Back-up, 7Ah | 895 | 716
DC Power |  | Newmar | ICR-2-25 | ICR-2-25 | 0 | 0
DC Power |  | Newmar | ICR-2-50 | ICR-2-50 | 394 | 315.2
DC Power | DC Systems | Newmar | SNMP | Inverter, RM, SNMP Card | 1260 | 1008
DC Power | DC Power Plant | Newmar |  | Power System, Integrated | 2992 | 2393.6
DC Power | DC Systems - DC | DuraComm | RM-1224 | Power Supply, Rackmount, Heavy Duty | 284 | 227.2
DC Power | DC Systems - DC | DuraComm | RM-548 | Power Supply, Rackmount, Heavy Duty | 284 | 227.2
DC Power | DC Systems - DC | DuraComm | RM-1224M | Power Supply, Rackmount, Heavy Duty, w/Meter | 350 | 280
DC Power | DC Systems - DC | DuraComm | RM-548M | Power Supply, Rackmount, Heavy Duty, w/Meter | 350 | 280
DC Power | DC Systems - DC | DuraComm | RM-2524 | Power Supply, Rackmount, Heavy Duty | 500 | 400
DC Power | DC Systems - DC | DuraComm | RM-1248 | Power Supply, Rackmount, Heavy Duty | 500 | 400
DC Power | DC Systems - DC | DuraComm | RM-2524M | Power Supply, Rackmount, Heavy Duty, w/Meter | 574 | 459.2
DC Power | DC Systems - DC | DuraComm | RM-1248M | Power Supply, Rackmount, Heavy Duty, w/Meter | 574 | 459.2
DC Power | Accessories | Newmar | MIC CLIP | Accessory, MIC CLIP, SPRING, Skin-Pac | 12 | 9.6
DC Power | DC Systems - DC | DuraComm | RM-3624 | Power Supply, Rackmount, Heavy Duty | 700 | 560
DC Power | DC Systems - DC | DuraComm | RM-3624M | Power Supply, Rackmount, Heavy Duty, w/Meter | 775 | 620
DC Power | DC Systems - DC | DuraComm | RM-5024 | Power Supply, Rackmount, Heavy Duty | 912 | 729.6
DC Power | DC Systems - DC | DuraComm | RM-2548 | Power Supply, Rackmount, Heavy Duty | 912 | 729.6
DC Power | DC Systems - DC | DuraComm | RM-5024M | Power Supply, Rackmount, Heavy Duty, w/Meter | 987 | 789.6
DC Power | DC Systems - DC | DuraComm | RM-2548M | Power Supply, Rackmount, Heavy Duty, w/Meter | 987 | 789.6
DC Power | DC Systems - DC | DuraComm | RMBB | Power Supplt, Rackmount, Accessory, Battery Backup | 230 | 184
DC Power | DC Systems - DC | DuraComm | RMBC | Power Supply, Rackmount, Accessory, Battery Backup | 260 | 208
DC Power | DC Systems - DC | DuraComm | RMBC-ACF-24 | Power Supply, Rackmount, Accessory, Battery Backup | 292 | 233.6
DC Power | DC Systems - DC | DuraComm | RMBC-ACF-48 | Power Supply, Rackmount, Accessory, Battery Backup | 292 | 233.6
DC Power | DC Systems - DC | DuraComm | RLP-4012 | Power Supply, Rackmount, Heavy Duty | 675 | 540
DC Power | DC Systems - DC | DuraComm | RLP-2024 | Power Supply, Rackmount, Heavy Duty | 675 | 540
DC Power | DC Systems - DC | DuraComm | RLP-1048 | Power Supply, Rackmount, Heavy Duty | 675 | 540
DC Power | DC Systems - DC | DuraComm | RLP-4012-UPS | Power Supply, Rackmount, Heavy Duty, UPS | 1112 | 889.6
DC Power | DC Systems - DC | DuraComm | RLP-2024-UPS | Power Supply, Rackmount, Heavy Duty, UPS | 1112 | 889.6
DC Power | DC Systems - DC | DuraComm | RLP-1048-UPS | Power Supply, Rackmount, Heavy Duty, UPS | 1112 | 889.6
DC Power | DC Systems - DC | DuraComm | RLP-4012BBSCLVD-MU | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring | 1342 | 1073.6
DC Power | DC Systems - DC | DuraComm | RLP-2024BBSCLVD-MU | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring | 1342 | 1073.6
DC Power | DC Systems - DC | DuraComm | RLP-1048BBSCLVD-MU | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring | 1342 | 1073.6
DC Power | DC Systems - DC | DuraComm | RLP-8012 | Power Supply, Rackmount, Heavy Duty, 12V/80A, 2U | 1040 | 832
DC Power | DC Systems - DC | DuraComm | RLP-4024 | Power Supply, Rackmount, Heavy Duty, 24V/40A, 2U | 1040 | 832
DC Power | DC Systems - DC | DuraComm | RLP-2048 | Power Supply, Rackmount, Heavy Duty, 48V/20A, 2U | 1040 | 832
DC Power | DC Systems - DC | DuraComm | RLP-4012-N+1 | Power Supply, Rackmount, Heavy Duty, Redundancy, 12V/40A, 2U | 1080 | 864
DC Power | DC Systems - DC | DuraComm | RLP-2024-N+1 | Power Supply, Rackmount, Heavy Duty, Redundancy, 24V/20A, 2U | 1080 | 864
DC Power | DC Systems - DC | DuraComm | RLP-1048-N+1 | Power Supply, Rackmount, Heavy Duty, Redundancy, 48V/10A, 2U | 1080 | 864
DC Power | DC Systems - DC | DuraComm | RLP-8012BBSCLVD | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring, 12V/80A, 2U | 1445 | 1156
DC Power | DC Systems - DC | DuraComm | RLP-4024BBSCLVD | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring, 24V/40A, 2U | 1445 | 1156
DC Power | DC Systems - DC | DuraComm | RLP-2048BBSCLVD | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring, 48V/20A, 2U | 1445 | 1156
DC Power | DC Systems - DC | DuraComm | RLP-8012BBSCLVD-MU | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring, 12V/80A, 2U | 1799 | 1439.2
DC Power | DC Systems - DC | DuraComm | RLP-4024BBSCLVD-MU | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring, 24V/40A, 2U | 1799 | 1439.2
DC Power | DC Systems - DC | DuraComm | RLP-2048BBSCLVD-MU | Power Supply, Rackmount, Heavy Duty, PFC, LVD, Monitoring, 48V/20A, 2U | 1799 | 1439.2
DC Power | DC Systems - DC | DuraComm | RLP-5048 | Power Supply, Rackmount, Heavy Duty, 48V/50A, 3U | 1477 | 1181.6
DC Power | DC Systems - DC | DuraComm | RLP-5048-110 | Power Supply, Rackmount, Heavy Duty 48V/50A, 3U | 1465 | 1172
DC Power | DC Systems - DC | DuraComm | RLP-5048M | Power Supply, Rackmount, Heavy Duty, w/Meter, 48V/50A, 3U | 1509 | 1207.2
DC Power | DC Systems - DC | DuraComm | RLP-6048 | Power Supply, Rackmount, Heavy Duty, 48V/60A, 3U | 2390 | 1912
DC Power | DC Systems - DC | DuraComm | RLP-6048M | Power Supply, Rackmount, Heavy Duty, w/Meter, 48V/60A, 3U | 2454 | 1963.2
DC Power | DC Systems - DC | DuraComm | RU2-10012-BMS | Power Supply, Rackmount, BMS, 12V/100A, 2U | 1654 | 1323.2
DC Power | DC Systems - DC | DuraComm | RU2-10012-BMS-MU | Power Supply, Rackmount, BMS, Monitoring, 12V/100A, 2U | 2289 | 1831.2
DC Power | DC Systems - DC | DuraComm | RUR-1000-15 | Power Supply, Rackmount, High Density, ACL, 12V/80A, 2U | 542 | 433.6
DC Power | DC Systems - DC | DuraComm | RUR-1000-24 | Power Supply, Rackmount, High Density, ACL, 24V/40A, 2U | 530 | 424
DC Power | DC Systems - DC | DuraComm | RUR-1000-48 | Power Supply, Rackmount, High Density, ACL, 48V/20A, 2U | 530 | 424
DC Power | DC Systems - DC | DuraComm | HE1U-2012 | Power Supply, Rackmount, High Effeciency, 12V/20A, 1U | 437 | 349.6
DC Power | DC Systems - DC | DuraComm | HE1U-1024 | Power Supply, Rackmount, High Effeciency, 24V/10A, 1U | 437 | 349.6
DC Power | DC Systems - DC | DuraComm | HE1U-548 | Power Supply, Rackmount, High Effeciency, 48V/5A, 1U | 437 | 349.6
DC Power | DC Systems - DC | DuraComm | HE1U-2012-BMS | Power Supply, Rackmount, High Effeciency, BMS, 12V/20A, 1U | 749 | 599.2
DC Power | DC Systems - DC | DuraComm | HE1U-1024-BMS | Power Supply, Rackmount, High Effeciency, BMS, 24V/10A, 1U | 749 | 599.2
DC Power | DC Systems - DC | DuraComm | HE1U-548-BMS | Power Supply, Rackmount, High Effeciency, BMS, 48V/5A, 1U | 749 | 599.2
DC Power | DC Systems - DC | DuraComm | HE1U-2012-BMS-MU | Power Supply, Rackmount, High Effeciency, BMS, Monitoring, 12V/20A, 1U | 1249 | 999.2
DC Power | DC Systems - DC | DuraComm | HE1U-1024-BMS-MU | Power Supply, Rackmount, High Effeciency, BMS, Monitoring, 24V/10A, 1U | 1249 | 999.2
DC Power | DC Systems - DC | DuraComm | HE1U-548-BMS-MU | Power Supply, Rackmount, High Effeciency, BMS, Monitoring, 48V/5A, 1U | 1249 | 999.2
DC Power | DC Systems - DC | DuraComm | HE1U-5012 | Power Supply, Rackmount, High Effeciency, 12V/50A, 1U | 707 | 565.6
DC Power | DC Systems - DC | DuraComm | HE1U-2524 | Power Supply, Rackmount, High Effeciency, 24V/25A, 1U | 707 | 565.6
DC Power | DC Systems - DC | DuraComm | HE1U-1248 | Power Supply, Rackmount, High Effeciency, 48V/12A, 1U | 707 | 565.6
DC Power | DC Systems - DC | DuraComm | HE1U-5012-BMS | Power Supply, Rackmount, High Effeciency, BMS, 12V/50A, 1U | 987 | 789.6
DC Power | DC Systems - DC | DuraComm | HE1U-2524-BMS | Power Supply, Rackmount, High Effeciency, BMS, 24V/25A, 1U | 987 | 789.6
DC Power | DC Systems - DC | DuraComm | HE1U-1248-BMS | Power Supply, Rackmount, High Effeciency, BMS, 48V/12A, 1U | 987 | 789.6
DC Power | DC Systems - DC | DuraComm | HE1U-5012-BMS-MU | Power Supply, Rackmount, High Effeciency, BMS, Monitoring, 12V/50A, 1U | 1392 | 1113.6
DC Power | DC Systems - DC | DuraComm | HE1U-2524-BMS-MU | Power Supply, Rackmount, High Effeciency, BMS, Monitoring, 24V/25A, 1U | 1392 | 1113.6
DC Power | DC Systems - DC | DuraComm | HE1U-1248-BMS-MU | Power Supply, Rackmount, High Effeciency, BMS, Monitoring, 48V/12A, 1U | 1392 | 1113.6
DC Power | DC Systems - DC | DuraComm | HE1U-10012 | Power Supply, Rackmount, High Effeciency, 12V/100A, 1U | 1175 | 940
DC Power | DC Systems - DC | DuraComm | HE1U-5024 | Power Supply, Rackmount, High Effeciency, 24V/50A, 1U | 1175 | 940
DC Power | DC Systems - DC | DuraComm | HE1U-2548 | Power Supply, Rackmount, High Effeciency, 48V/25A, 1U | 1175 | 940
DC Power | DC Systems - DC | DuraComm | HE1U-5012-N+1 | Power Supply, Rackmount, High Effeciency, Redundancy, 12V/50A, 1U | 1249 | 999.2
DC Power | DC Systems - DC | DuraComm | HE1U-2524-N+1 | Power Supply, Rackmount, High Effeciency, Redundancy, 24V/25A, 1U | 1249 | 999.2
DC Power | DC Systems - DC | DuraComm | HE1U-1248-N+1 | Power Supply, Rackmount, High Effeciency, Redundancy, 48V/12A, 1U | 1249 | 999.2
DC Power | DC Systems | Newmar |  | PM-48-50 Power Module EOL | 3929 | 3143.2
DC Power | DC Systems | Newmar | BDP-175 | Disconnect, Panel, Battery, 175 AMP (BTO) | 2279 | 1823.2
DC Power | DC Systems | Newmar | BDP-250 | Disconnect, Panel, Battery, 250 AMP (BTO) | 2279 | 1823.2
DC Power | DC Systems | Newmar | BDP-300 | Disconnect, Panel, Battery, 300 AMP (BTO) | 2279 | 1823.2
DC Power | DC Systems | Newmar | BDP-400 | Disconnect, Panel, Battery, 400 AMP (BTO) | 2946 | 2356.8
DC Power | DC Systems - DC | DuraComm | HE1U-10012-BBLVD | Power Supply, Rackmount, High Effeciency, Battery Backup, LVD, 12V/100A, 1U | 1414 | 1131.2
DC Power | DC Systems - DC | DuraComm | HE1U-5024-BBLVD | Power Supply, Rackmount, High Effeciency, Battery Backup, LVD, 24V/50A, 1U | 1414 | 1131.2
DC Power | DC Systems - DC | DuraComm | HE1U-2548-BBLVD | Power Supply, Rackmount, High Effeciency, Battery Backup, LVD, 48V/25A, 1U | 1414 | 1131.2
DC Power | DC Systems - DC | DuraComm | HE1U-C-Grey | Power Supply, Rackmount, High Effeciency, Grey | 7 | 5.6
DC Power | DC Systems - DC | DuraComm | RMF-4012 | Power Supply, Rackmount, PFC, Auto-Ranging, 12V/40A, 2U | 490 | 392
DC Power | DC Systems - DC | DuraComm | RMF-2024 | Power Supply, Rackmount, PFC, Auto-Ranging, 24V/20A, 2U | 490 | 392
DC Power | DC Systems - DC | DuraComm | RMF-1048 | Power Supply, Rackmount, PFC, Auto-Ranging, 48V/10A, 2U | 490 | 392
DC Power | DC Systems - DC | DuraComm | RMSL-1212 | Power Supply, Rackmount, Open-frame, 12V/12A, 2U | 157 | 125.6
DC Power | DC Systems - DC | DuraComm | RMSL-624 | Power Supply, Rackmount, Open-frame, 24V/6A, 2U | 157 | 125.6
DC Power | DC Systems - DC | DuraComm | RMSL-348 | Power Supply, Rackmount, Open-frame, 48V/3A, 2U | 157 | 125.6
DC Power | DC Systems - DC | DuraComm | RMSL-5012 | Power Supply, Rackmount, Open-frame, 12V/50A, 2U | 425 | 340
DC Power |  | Newmar |  | RM-SPM RACK MOUNT PANEL BRACKET EOL | 139 | 111.2
DC Power |  | Newmar |  | RM-SPS EOL | 139 | 111.2
DC Power | DC Systems - DC | DuraComm | RU1-2012 | Power Supply, Rackmount, Open-frame, 12V/20A, 1U | 354 | 283.2
DC Power | DC Systems - DC | DuraComm | RU1-1024 | Power Supply, Rackmount, Open-frame, 24V/10A, 1U | 354 | 283.2
DC Power | DC Systems - DC | DuraComm | RU1-548 | Power Supply, Rackmount, Open-frame, 48V/5A, 1U | 354 | 283.2
DC Power | DC Systems - DC | DuraComm | RU1-4012 | Power Supply, Rackmount, Open-frame, 12V/40A, 1U | 479 | 383.2
DC Power | DC Systems - DC | DuraComm | RU1-2024 | Power Supply, Rackmount, Open-frame, 24V/20A, 1U | 479 | 383.2
DC Power | DC Systems - DC | DuraComm | RU1-1048 | Power Supply, Rackmount, Open-frame, 48V/10A, 1U | 479 | 383.2
DC Power | DC Systems - DC | DuraComm | SM-1228 | Power Supply, Module, 28V/12A | 180 | 144
DC Power | DC Systems - DC | DuraComm | SM-250-48 | Power Supply, Module, 48V/5A | 87 | 69.6
DC Power | DC Systems - DC | DuraComm | P-600-13.8 | Power Supply, Module, 13.8V/45A | 270 | 216
DC Power | DC Systems - DC | DuraComm | P-600-27 | Power Supply, Module, 27V/24A | 270 | 216
DC Power | DC Systems - DC | DuraComm | PFC-600-13.8 | Power Supply, Module, PFC, 13.8V/45A | 360 | 288
DC Power | DC Systems - DC | DuraComm | PFC-600-27 | Power Supply, Module, PFC, 27V/24A | 360 | 288
DC Power | DC Systems - DC | DuraComm | PFC-600-48 | Power Supply, Module, PFC, 48V/13A | 360 | 288
DC Power | DC Systems - DC | DuraComm | WM-4012 | Power Supply, Wall Mount, 12V | 685 | 548
DC Power | DC Systems - DC | DuraComm | WM-2024 | Power Supply, Wall Mount, 24V | 685 | 548
DC Power | DC Systems - DC | DuraComm | WM-1048 | Power Supply, Wall Mount, 48V | 685 | 548
DC Power | DC Systems - DC | DuraComm | PSRM-5012NFP | Power Supply, Rackmount, Public Safety, BMS, 12V,2U | 1514 | 1211.2
DC Power | DC Systems - DC | DuraComm | PSRM-2524NFP | Power Supply, Rackmount, Public Safety, BMS, 24V,2U | 1514 | 1211.2
DC Power | DC Systems - DC | DuraComm | PSRM-1248NFP | Power Supply, Rackmount, Public Safety, BMS, 48V,2U | 1514 | 1211.2
DC Power | DC Systems - DC | DuraComm | PSRM-5012NFPMU | Power Supply, Rackmount, Public Safety, BMS, Monitoring, 12V,2U | 2219 | 1775.2
DC Power | DC Systems - DC | DuraComm | PSRM-2524NFPMU | Power Supply, Rackmount, Public Safety, BMS, Monitoring, 24V,2U | 2219 | 1775.2
DC Power |  | Newmar |  | SPM-200 SITE POWER MONITOR OBSOLETE | 1276 | 1020.8
DC Power | Monitoring | Newmar | SPM-500 | Monitoring, Remote Control | 1204 | 963.2
DC Power |  | Newmar |  | SPS 12-20 SITE POWER SYSTEM EOL | 1558 | 1246.4
DC Power |  | Newmar |  | SPS 24-10 SITE POWER SYSTEM OBSOLETE | 1558 | 1246.4
DC Power |  | Newmar |  | SPS 48-6 SITE POWER SYSTEM EOL | 1558 | 1246.4
DC Power | DC Systems - DC | DuraComm | PSRM-1248NFPMU | Power Supply, Rackmount, Public Safety, BMS, Monitoring, 48V,2U | 2219 | 1775.2
DC Power | DC Systems - DC | DuraComm | PSBC-160012NFP | Power Supply, Rackmount, Public Safety, Battery Charger, 12V,2U | 1917 | 1533.6
DC Power | DC Systems - DC | DuraComm | PSBC-160024NFP | Power Supply, Rackmount, Public Safety, Battery Charger, 24V,2U | 1917 | 1533.6
DC Power | DC Systems - DC | DuraComm | PSBC-160048NFP | Power Supply, Rackmount, Public Safety, Battery Charger, 48V,2U | 1917 | 1533.6
DC Power | RPS Accessories | Newmar | T 19" x 19" | Battery Tray, 19X19, 350LB, Black | 396 | 316.8
DC Power | RPS Accessories | Newmar | T 19" x 21" B | Battery Tray, 19X21, 400LB, Black | 430 | 344
DC Power | RPS Accessories | Newmar | T 19" x 21" G | Battery Tray, 19X21, 400LB, Grey | 430 | 344
DC Power | RPS Accessories | Newmar | BDP-1 | Disconnect Panel, Battery, 1 Breaker, 2U | 216 | 172.8
DC Power | RPS Accessories | Newmar | BDP-2 | Disconnect Panel, Battery, 2 Breaker, 2U | 310 | 248
DC Power | RPS Accessories | Newmar | BPL-2 | Accessory, Blank Panel, 2U | 79 | 63.2
DC Power | RPS Accessories | Newmar | BPL-3 | Accessory, Blank Panel, 3U | 98 | 78.4
DC Power | RPS Accessories | Newmar | QCK-3 | Kit, Quick Connect, 6 Module | 270 | 216
DC Power | RPS Accessories | Newmar | QCK-6 | Kit, Quick Connect, 3 Module | 453 | 362.4
DC Power | RPS Accessories | Newmar | RRC-3-19 | Assembly, Cover, Rear Rack | 235 | 188
DC Power | RPS Accessories | Newmar | RRC-3-23 | Assembly, Cover, Rear Rack | 271 | 216.8
DC Power | RPS Accessories | Newmar | RRC-7-19 | Assembly, Cover, Rear Rack | 271 | 216.8
DC Power | RPS Accessories | Newmar | RRC-7-23 | Assembly, Cover, Rear Rack | 296 | 236.8
DC Power | RPS Accessories | Newmar | RS 19 X 15B | Rack Shelf, Vent, Black | 149 | 119.2
DC Power | RPS Accessories | Newmar | RS 19 X 15G | Rack Shelf, Vent, Grey | 143 | 114.4
DC Power | RPS Accessories | Newmar | RS 19 x 16AB | Rack Shelf, Adjustable, Black | 186 | 148.8
DC Power | RPS Accessories | Newmar | RS 19 x 16AG | Rack Shelf, Adjustable, Grey | 186 | 148.8
DC Power | RPS Accessories | Newmar | RS 19 x 20AB | Rack Shelf, Adjustable, Black | 186 | 148.8
DC Power | RPS Accessories | Newmar | RS 19 x 20AG | Rack Shelf, Adjustable, Grey | 186 | 148.8
DC Power |  | Newmar | VAAH | VAAH GENERATOR METER |  | 0
DC Power |  | Newmar | VOTT | VOTT Engine Meter |  | 0
DC Power |  | Newmar | WBS-100 | SURFACE MT CIR |  | 0
DC Power |  | Newmar | WBS-120 | SURFACE MT CIR |  | 0
DC Power |  | Newmar | WBS-150 | SURFACE MT CIR |  | 0
DC Power |  | Newmar | WBS-50 | SURFACE MT CIR |  | 0
DC Power |  | Newmar | WBS-80 | SURFACE MT CIR |  | 0
DC Power |  | Newmar | WP-35 | WATERPROOF BATTERY CHARGER |  | 0
Distribution | Distribution | Newmar | AFB-500 | Distribution Block, Fuse | 48 | 38.4
Distribution | Distribution | Newmar | ANL100 | Fuse, ANL, 100A | 31 | 24.8
Distribution | Distribution | Newmar | ANL150 | Fuse, ANL, 150A | 33 | 26.4
Distribution | Distribution | Newmar | ANL200 | Fuse, ANL, 200A | 31 | 24.8
Distribution | Distribution | Newmar | ANL300 | Fuse, ANL, 300A | 31 | 24.8
Distribution | Distribution | Newmar | ANL400 | Fuse, ANL, 400A | 31 | 24.8
Distribution | Distribution | Newmar | BB-2 / 8 | Bus Bar, 2/8 | 102 | 81.6
Distribution | Distribution | Newmar | BB-2 | Bus Bar, 2 Studs | 62 | 49.6
Distribution | Distribution | Newmar | BB-5 | Bus Bar, 5 Studs | 115 | 92
Distribution | Distribution | Newmar | BB-8 | Bus Bar, 8 Studs | 153 | 122.4
Distribution | Distribution | Newmar | BBA-800 | Assembly, Busbar | 495 | 396
Distribution | Distribution | Newmar | DST-10 | Distribution Panel, Rackmount, Circuit Breaker, Plug-in, UL, 2U | 1202 | 961.6
Distribution | Distribution | Newmar | DST-20A | Distribution Panel, Rackmount, Dual Bus, Circuit Breaker, Plug-in, UL, 2U | 1688 | 1350.4
Distribution | Distribution | Newmar | FDP-1010 | Distribution Panel, Dual Bus, Fuse, 100A | 1122 | 897.6
Distribution | Distribution | Newmar | GB-19 | Accessory, Bus Bar, 19" | 119 | 95.2
DC Power | Desktop - DC | DuraComm | DTHP-1048 |  |  | 0
DC Power | Desktop - DC | DuraComm | DTHP-2024 | Power Supply, Desktop, High Power, 24V/20A |  | 0
DC Power | Desktop - DC | DuraComm | DTHP-4012 | Power Supply, Desktop, High Power, 12V/40A |  | 0
DC Power | Desktop - DC | DuraComm | DTHP-4012-BC | Power Supply, Desktop, High Power. Battery Charger, 12V/40A |  | 0
DC Power | Desktop - DC | DuraComm | LPBC-25 | Power Supply, Desktop, Accessory, Battery Charger, 20A |  | 0
Distribution | Distribution | Newmar | PBA-10 | Circuit Breaker, Plug-in, 10A | 65 | 52
Distribution | Distribution | Newmar | PBA-100 | Circuit Breaker, Plug-in, 100A | 90 | 72
Distribution | Distribution | Newmar | PBA-15 | Circuit Breaker, Plug-in, 15A | 65 | 52
Distribution | Distribution | Newmar | PBA-20 | Circuit Breaker, Plug-in, 20A | 65 | 52
Distribution | Distribution | Newmar | PBA-25 | Circuit Breaker, Plug-in, 25A | 65 | 52
Distribution | Distribution | Newmar | PBA-30 | Circuit Breaker, Plug-in, 30A | 65 | 52
Distribution | Distribution | Newmar | PBA-40 | Circuit Breaker, Plug-in, 40A | 65 | 52
Distribution | Distribution | Newmar | PBA-5 | Circuit Breaker, Plug-in, 5A | 65 | 52
Distribution | Distribution | Newmar | PBA-50 | Circuit Breaker, Plug-in, 50A | 65 | 52
Distribution | Distribution | Newmar | PBA-75 | Circuit Breaker, Plug-in, 75A | 90 | 72
Distribution | Distribution | Newmar | RC-DST | Distribution Panel, Rackmount, Accessory, DST, Rear Cover | 121 | 96.8
Distribution | Distribution | Newmar | UGF-1 | Fuse, GMT, 1A | 10 | 8
Distribution | Distribution | Newmar | UGF-10 | Fuse, GMT, 10A | 10 | 8
Distribution | Distribution | Newmar | UGF-15 | Fuse, GMT, 15A | 10 | 8
Distribution | Distribution | Newmar | UGF-3 | Fuse, GMT, 3A | 10 | 8
Distribution | Distribution | Newmar | UGF-5 | Fuse, GMT, 5A | 10 | 8
Distribution | Distribution | Newmar | UGF-7.5 | Fuse, GMT, 7.5A | 10 | 8
Distribution | Distribution - DC | DuraComm | DB-5 | Distribution Block, Fuse | 52 | 41.6
Distribution | Distribution - DC | DuraComm | DB-5-CM | Distribution Block, Accessory, Cover Kit | 9 | 7.2
Distribution | Distribution - DC | DuraComm | DB-5-J | Distribution Block, Accessory, Jumper Kit | 9 | 7.2
DC Power | Batteries - DC | DuraComm | B-12V-7A | Battery, Sealed, Lead-Acid, 12V/7Ah |  | 0
DC Power | Batteries - DC | DuraComm | B-6V-12A | Battery, Sealed, Lead-Acid, 6V/12Ah |  | 0
DC Power | Batteries - DC | DuraComm | B-12V-14A | Battery, Sealed, Lead-Acid, 12V/14Ah |  | 0
DC Power | Batteries - DC | DuraComm | B-12V-34A | Battery, Sealed, Lead-Acid, 12V/34Ah |  | 0
DC Power | Batteries - DC | DuraComm | B-12V-50A | Battery, Sealed, Lead-Acid, 12V/50Ah |  | 0
DC Power | Batteries - DC | DuraComm | B-12V-100A | Battery, Sealed, Lead-Acid, 12V/100Ah |  | 0
Distribution | Distribution - DC | DuraComm | DP-10i-100-MU | Distribution Panel, Rackmount, eFuse, Monitoring, 1U, Neg GND | 1122 | 897.6
Distribution | Distribution - DC | DuraComm | DP-10iN-100-MU | Distribution Panel, Rackmount, eFuse, Monitoring, 1U, Pos GND | 1382 | 1105.6
Distribution | Distribution - DC | DuraComm | DBRM-5-75 | Distribution Panel, Rackmount, Fuse, 2U | 87 | 69.6
Distribution | Distribution - DC | DuraComm | DBRM-10-75 | Distribution Panel, Rackmount, Fuse, 2U | 142 | 113.6
Distribution | Distribution - DC | DuraComm | DBRM-15-75 | Distribution Panel, Rackmount, Fuse, 2U | 186 | 148.8
Distribution | Distribution - DC | DuraComm | DBRM-20-75 | Distribution Panel, Rackmount, Fuse, 2U | 250 | 200
Distribution | Distribution - DC | DuraComm | DP10-LED-12 | Distribution Panel, Rackmount, ATC/ATO, LED, 12V, 2U | 230 | 184
Distribution | Distribution - DC | DuraComm | DP10-LED-24 | Distribution Panel, Rackmount, ATC/ATO, LED, 24V, 2U | 230 | 184
Distribution | Distribution - DC | DuraComm | DP10-LED-48 | Distribution Panel, Rackmount, ATC/ATO, LED, +48V, 2U | 230 | 184
Distribution | Distribution - DC | DuraComm | DP10-LED-48-N | Distribution Panel, Rackmount, ATC/ATO, LED, -48V, 2U | 230 | 184
Distribution | Distribution - DC | DuraComm | DPM-8-100 | Distribution Panel, Rackmount, ATC/ATO, 12/24V, 2U | 189 | 151.2
Distribution | Distribution - DC | DuraComm | DPM-8-100N | Distribution Panel, Rackmount, ATC/ATO, -12/24V, 2U | 189 | 151.2
Distribution | Distribution - DC | DuraComm | DP-20ATC-2JC-12 | Distribution Panel, Rackmount, Blade, 12V, 1U | 447 | 357.6
Distribution | Distribution - DC | DuraComm | DP-20ATC-2JC-24 | Distribution Panel, Rackmount, Blade, 24V, 1U | 447 | 357.6
Distribution | Distribution - DC | DuraComm | DP-20ATC-2JC-48 | Distribution Panel, Rackmount, Blade, +48V, 1U | 447 | 357.6
Distribution | Distribution - DC | DuraComm | DP-20ATC-2JC-48N | Distribution Panel, Rackmount, Blade, -48V, 1U | 447 | 357.6
Distribution | Distribution - DC | DuraComm | DP-20GMT-12 | Distribution Panel, Rackmount, GMT, 12V, 1U | 395 | 316
Distribution | Distribution - DC | DuraComm | DP-20GMT-24 | Distribution Panel, Rackmount, GMT, 24V, 1U | 395 | 316
Distribution | Distribution - DC | DuraComm | DP-20GMT-48 | Distribution Panel, Rackmount, GMT, +48V, 1U | 395 | 316
Distribution | Distribution - DC | DuraComm | DP-20GMT-48N | Distribution Panel, Rackmount, GMT, -48V, 1U | 395 | 316
Distribution | Distribution - DC | DuraComm | DCBP-400-40-6 | Distribution Panel, Rackmount, Circuit Breaker, 2U | 739 | 591.2
Distribution | Distribution - DC | DuraComm | DCBP-400-60-6 | Distribution Panel, Rackmount, Circuit Breaker, 2U | 739 | 591.2
Distribution | Distribution - DC | DuraComm | DCBB-700 | Distribution Panel, Rackmount,Accessory, Busbar | 739 | 591.2
Distribution | Distribution - DC | DuraComm | WM-DB-5 | Distribution Block, Wallmount, Fuse | 60 | 48
Distribution | Distribution - DC | DuraComm | WM-DB-5-CM | Distribution Block, Wallmount, Fuse | 79 | 63.2
Distribution | Distribution - DC | DuraComm | WM-10GMT-12 | Distribution Block, Wallmount, GMT, 12V | 189 | 151.2
Distribution | Distribution - DC | DuraComm | WM-10GMT-24 | Distribution Block, Wallmount, GMT, 24V | 189 | 151.2
Distribution | Distribution - DC | DuraComm | WM-10GMT-48 | Distribution Block, Wallmount, GMT, +48V | 189 | 151.2
Distribution | Distribution - DC | DuraComm | WM-10GMT-48N | Distribution Block, Wallmount, GMT, -48V | 189 | 151.2
Distribution | Distribution - DC | DuraComm | DIN-5-75 | Distribution Block, DIN, Fuse | 77 | 61.6
Distribution | Distribution - DC | DuraComm | DIN-5-75-CM | Distribution Block, DIN, Accessory, Mounting Bracket | 98 | 78.4
Distribution | Distribution - DC | DuraComm | DIN-10-75 | Distribution Block, DIN, Fuse | 125 | 100
Power Enclosures | Power Enclosures | Newmar | PE ADAPTER KIT | Power Enclosures, Accessory | 132 | 105.6
Power Enclosures | Power Enclosures | Newmar | PE-110V-100W-100AH/24V | Power Enclosures, Public Safety, 110V/100W/100Ah/24V | 8331 | 6664.8
Power Enclosures | Power Enclosures | Newmar | PE-12V-120W-18AH | Power Enclosures, Public Safety, 12V/120W/18Ah | 5366 | 4292.8
Power Enclosures | Power Enclosures | Newmar | PE-24V-240W-100AH | Power Enclosures, Public Safety, 24V/240W/100Ah | 5943 | 4754.4
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-100AH | Power Enclosures, Public Safety, 48V/480W/100Ah | 8247 | 6597.6
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-55AH | Power Enclosures, Public Safety, 48V/480W/55Ah | 5845 | 4676
Power Enclosures | Power Enclosures | Newmar | PE-12V-120-18AH-UL2524 | Power Enclosures, Public Safety, 12V/120W/18Ah, UL2524 | 5259 | 4207.2
Power Enclosures | Power Enclosures | Newmar | PE-12V-120-55AH-UL2524 | Power Enclosures, Public Safety, 12V/120W/55Ah, UL2524 | 5301 | 4240.8
Power Enclosures | Power Enclosures | Newmar | PE-12V-120-100AH-UL2524 | Power Enclosures, Public Safety, 12V/120W/100Ah, UL2524 | 5497 | 4397.6
Power Enclosures | Power Enclosures | Newmar | PE-24V-240W-18AH-UL2524 | Power Enclosures, Public Safety, 24V/240W/18Ah, UL2524 | 5310 | 4248
Power Enclosures | Power Enclosures | Newmar | PE-24V-240W-55AH | Power Enclosures, Public Safety, 24V/240W/55Ah | 5197 | 4157.6
Power Enclosures | Power Enclosures | Newmar | PE-24V-240W-55AH-UL2524 | Power Enclosures, Public Safety, 24V/240W/55Ah, UL2524 | 5562 | 4449.6
Power Enclosures | Power Enclosures | Newmar | PE-24V-240W-100AH-UL2524 | Power Enclosures, Public Safety, 24V/240W/100Ah, UL2524 | 5816 | 4652.8
Power Enclosures | Power Enclosures | Newmar | PE-48V-265W-18AH | Power Enclosures, Public Safety, 48V/265W/18Ah | Contact Factory
Power Enclosures | Power Enclosures | Newmar | PE-48V-265W-36AH | Power Enclosures, Public Safety, 48V/265W/36Ah | Contact Factory
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-18AH | Power Enclosures, Public Safety, 48V/480W/18Ah | 4817 | 3853.6
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-18AH-UL2524 | Power Enclosures, Public Safety, 48V/480W/18Ah, UL2524 | 5350 | 4280
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-55AH | Power Enclosures, Public Safety, 48V/480W/55Ah | 5508 | 4406.4
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-55AH-UL2524 | Power Enclosures, Public Safety, 48V/480W/55Ah, UL2524 | 5737 | 4589.6
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-82AH/UB-UL2524 | Power Enclosures, Public Safety, 48V/480W/82Ah, UB-UL2524 | 5670 | 4536
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-100AH | Power Enclosures, Public Safety, 48V/480W/100Ah | 7773 | 6218.4
Power Enclosures | Power Enclosures | Newmar | PE-48V-480W-100AH-UL2524 | Power Enclosures, Public Safety, 48V/480W/100Ah, UL2524 | 8616 | 6892.8
Power Enclosures | Power Enclosures | Newmar | PE-48V-1200W-600AH | Power Enclosures, Public Safety, 48V/700W/400Ah | 6195 | 4956
Power Enclosures | Power Enclosures | Newmar | PE-110V-165W-100AH/24V-UL2524 | Power Enclosures, Public Safety, 110V/100W/100Ah/24V, UL2524 | 6980 | 5584
Power Enclosures | Power Enclosures | Newmar | PE-48V-480-18AH-UL2524 | Power Enclosure, Public Safety, 48V/480W/55Ah, | 5677 | 4541.6
Power Enclosures | Power Enclosures | Newmar | PE-12V-120-55AH-UL2524 | Power Enclosure, Public Safety, 12V/120W/18Ah, | 5624 | 4499.2
Power Enclosures | Power Enclosures - DC | DuraComm | PSDA-MU1 | Power Enclosure, Annunciator Panel, Monitoring | 2109 | 1687.2
Power Enclosures | Power Enclosures - DC | DuraComm | EH-12-15N | Power Supply, Environmentally Hardened, LVD, 12V/15A/7Ah | 1249 | 999.2
Power Enclosures | Power Enclosures - DC | DuraComm | EH-12-15N-MU-14AH | Power Supply, Environmentally Hardened, LVD, Monitoring, 12V/15A/14Ah | 2652 | 2121.6
Power Enclosures | Power Enclosures - DC | DuraComm | EH-24-10N | Power Supply, Environmentally Hardened, LVD, 24V/10A | 1217 | 973.6
Power Enclosures | Power Enclosures - DC | DuraComm | EH-24-10N-14AH | Power Supply, Environmentally Hardened, LVD, 24V/10A/14Ah | 1332 | 1065.6
Power Enclosures | Power Enclosures - DC | DuraComm | EH-24-10N-MU-14AH | Power Supply, Environmentally Hardened, LVD, Monitoring, 24V/10A/14Ah | 2652 | 2121.6
Power Enclosures | Power Enclosures - DC | DuraComm | EH-48-10N-14AH | Power Supply, Environmentally Hardened, LVD, 48V/10A/14Ah | 2277 | 1821.6
Power Enclosures | Power Enclosures - DC | DuraComm | EH-48-10N-MU-14AH | Power Supply, Environmentally Hardened, LVD, Monitoring, 48V/10A/14Ah | 2797 | 2237.6
Power Enclosures | Power Enclosures - DC | DuraComm | EH-48-5N | Power Supply, Environmentally Hardened, LVD, 48V/5A/7Ah | 1332 | 1065.6
Power Enclosures | Power Enclosures - DC | DuraComm | EH-48-5N-14AH | Power Supply, Environmentally Hardened, LVD, 48V/5A/14Ah | 2120 | 1696
Power Enclosures | Power Enclosures - DC | DuraComm | EH-48-5N-MU | Power Supply, Environmentally Hardened, LVD, Monitoring, 48V/5A/7Ah | 2017 | 1613.6
Power Enclosures | Power Enclosures - DC | DuraComm | EH-48-5N-MU-14AH | Power Supply, Environmentally Hardened, LVD, Monitoring, 48V/5A/14Ah | 2652 | 2121.6
Power Enclosures | Public Safety | Newmar | AP-8000B | Power Enclosure, Annunciator Panel | 2000 | 1600
Accessories | Accessories | Newmar | BI-100 | Battery Integrator | 237 | 189.6
Accessories | Accessories | Newmar | BI-200 | Battery Integrator | 422 | 337.6
Accessories | Accessories | Newmar | BI-24-100 | Battery Integrator, 24V | 260 | 208
Accessories | Accessories | Newmar | BM-48-4 | Module, Battery, 48V/4Ah | 775 | 620
Accessories | Accessories | Newmar | CA-24 | Accessory, Connector Assembly, 24" | 44 | 35.2
Accessories | Accessories | Newmar | CABLE 22-5 | Accessory, Cable, 22-5 Conductor, Unshielded, Grey | 6 | 4.8
Accessories | Accessories | Newmar | CC-24 | Accessory, Connector Assembly, Battery Module, 24" | 81 | 64.8
Desktop Power | DC Systems - DC | DuraComm | RU2-4012-BMS |  |  | 0
Desktop Power | DC Systems - DC | DuraComm | RU2-2024-BMS |  |  | 0
Desktop Power | DC Systems - DC | DuraComm | RU2-1048-BMS |  |  | 0
Accessories | Accessories | Newmar | CCK-4 | CCK-4 QUICK CONNECT KIT 4-MODULES | 554 | 443.2
Accessories | Accessories | Newmar | CK-50A | Accessory, Connector Kit, Anderson, 50A | 31 | 24.8
Accessories | Accessories | Newmar | DBA | Analyzer, Battery , Digitial | 1296 | 1036.8
Accessories | Accessories | Newmar | LVD-12-30 | Low Voltage Disconnect | 300 | 240
Accessories | Accessories | Newmar | LVD-12-75 | Low Voltage Disconnect | 424 | 339.2
Accessories | Accessories | Newmar | LVD-24-50 | Low Voltage Disconnect | 453 | 362.4
Accessories | Accessories | Newmar | LVD-48-30 | Low Voltage Disconnect | 539 | 431.2
Accessories | Accessories | Newmar | MT-FD 6 | Distribution, Fuse, Muklti-timer | 458 | 366.4
Accessories | Accessories | Newmar | PC-10 | Filter, Noise | 98 | 78.4
Accessories | Accessories | Newmar | PC-25 | Filter, Noise | 145 | 116
Accessories | Accessories | Newmar | PI-10B | Phone-Com, Black | 139 | 111.2
Accessories | Accessories | Newmar | PI-10W | Phone-Com, White | 139 | 111.2
Accessories | Accessories | Newmar | PI-2B | Phone-Com, Black | 121 | 96.8
Accessories | Accessories | Newmar | PI-2W | Phone-Com, White | 121 | 96.8
Accessories | Accessories | Newmar | PI-2WS | Phone-Com, White, Set | 378 | 302.4
Accessories | Accessories | Newmar | PI-2BS | Phone-Com, Black, Set | 378 | 302.4
Accessories | Accessories | Newmar | PTK | Dsitribution, Fuse, Kit, MT-FD6 | 16 | 12.8
Accessories | Accessories | Newmar | RA-1 | Accessory, Fittings, Right-Angle, 1 | 50 | 40
Accessories | Accessories | Newmar | RA-2 | Accessory, Fittings, Right-Angle, 2 | 65 | 52
Accessories | Accessories | Newmar | RA-3 | Accessory, Fittings, Right-Angle, 3 | 71 | 56.8
Accessories | Accessories | Newmar | TCS-48 | Accesory, Temp Sensor | 142 | 113.6
Accessories | Accessories | Newmar | KIT-H | Accessory, High Vibe Kit | 90 | 72
Accessories | Accessories | Newmar | KIT-L | Accessory, High Vibe Kit | 81 | 64.8
Accessories | Accessories - DC | DuraComm | LVD-12 | Low Voltage Disconnect, 12V | 182 | 145.6
Accessories | Accessories - DC | DuraComm | LVD-24 | Low Voltage Disconnect, 24V | 182 | 145.6
Accessories | Accessories - DC | DuraComm | LVD-48 | Low Voltage Disconnect, 48V | 182 | 145.6
Accessories | Accessories - DC | DuraComm | LVD-12-RM | Low Voltage Disconnect, Rackmount, 12V, 1U | 204 | 163.2
Accessories | Accessories - DC | DuraComm | LVD-24-RM | Low Voltage Disconnect, Rackmount, 24V, 1U | 204 | 163.2
Accessories | Accessories - DC | DuraComm | LVD-48-RM | Low Voltage Disconnect, Rackmount, 48V, 1U | 204 | 163.2
Accessories | Accessories - DC | DuraComm | LVD-24-100 | Low Voltage Disconnect, 100A, 24V | 327 | 261.6
Accessories | Accessories - DC | DuraComm | LVD-12-130 | Low Voltage Disconnect, 130A, 12V | 345 | 276
Accessories | Accessories - DC | DuraComm | DIN-LVD-12 | Low Voltage Disconnect, DIN, 12V | 180 | 144
Accessories | Accessories - DC | DuraComm | DIN-LVD-24 | Low Voltage Disconnect, DIN, 24V | 180 | 144
Accessories | Accessories - DC | DuraComm | DIN-LVD-48 | Low Voltage Disconnect, DIN, 48V | 180 | 144
Accessories | Accessories - DC | DuraComm | SL-Rack | Battery Charger, Accessory, DPS, Rackmount Shelf 5U | 57 | 45.6
Accessories | Accessories - DC | DuraComm | DIN-MB | Accessory, Din, Mounting Bracket | 22 | 17.6
Accessories | Accessories - DC | DuraComm | DIN-MB-L | Accessory, Din, Mounting Bracket, Large | 37 | 29.6
Accessories | Accessories - DC | DuraComm | IQ-4 | Battery Charger, Accessory, DPS, 3-stage | 50 | 40
Accessories | Accessories - DC | DuraComm | MMBB | Module, Battery Backup, Isolator | 250 | 200
Accessories | Accessories - DC | DuraComm | MMBC | Module, Battery Backup, Isolator | 270 | 216
Chargers | Chargers | Newmar | CFB-12 | Charger, Kit, 3 Stage | 241 | 192.8
Chargers | Chargers | Newmar | CFB-24 | Charger, Kit, 3 Stage | 241 | 192.8
Chargers | Chargers | Newmar | CFB-48 | Charger, Kit, 3 Stage | 241 | 192.8
Chargers | Chargers | Newmar | CFCB | CHARGER FUNCTION CONTROL BOARD | 230 | 184
Distribution | DC Systems - DC | DuraComm | RMSL-1248 | Power Supply, Rackmount, Open-frame, 2U |  | 0
Chargers | Chargers | Newmar | TCS 12/24 | Charger, Accessory, Temperature Sensor, 25' Cable | 138 | 110.4
Chargers | Chargers | Newmar | TCS-12/24-40 | Charger, Accessory, Temperature Sensor, 40' Cable | 180 | 144
Chargers | Chargers - DC | DuraComm | BCR-600-12 | Battery Charger, Rackmount, 12V/40A, 2U | 905 | 724
Chargers | Chargers - DC | DuraComm | BCR-600-24 | Battery Charger, Rackmount, 24V/21A, 2U | 905 | 724
Chargers | Chargers - DC | DuraComm | BCR-600-48 | Battery Charger, Rackmount, 48V/10.5A, 2U | 905 | 724
Chargers | Chargers - DC | DuraComm | BCR-1000-12 | Battery Charger, Rackmount, 12V/60A, 2U | 1175 | 940
Chargers | Chargers - DC | DuraComm | BCR-1000-24 | Battery Charger, Rackmount, 24V/34.7A, 2U | 1175 | 940
Chargers | Chargers - DC | DuraComm | BCR-1000-48 | Battery Charger, Rackmount, 48V/17A, 2U | 1175 | 940
Chargers | Chargers - DC | DuraComm | BCR-1600-12 | Battery Charger, Rackmount, 2U | 1465 | 1172
Chargers | Chargers - DC | DuraComm | BCR-1600-24 | Battery Charger, Rackmount, 2U | 1465 | 1172
Chargers | Chargers - DC | DuraComm | BCR-1600-48 | Battery Charger, Rackmount, 2U | 1465 | 1172
Chargers | Chargers - DC | DuraComm | BC-15-LFP | Battery Charger, Internal BMS, LiFePo, 12V/15A | 317 | 253.6
Chargers | Chargers - DC | DuraComm | BC-30-LFP | Battery Charger, Internal BMS, LiFePo, 12V/30A | 351 | 280.8
Chargers | Chargers - DC | DuraComm | BC-45-LFP | Battery Charger, Internal BMS, LiFePo, 12V/45A | 400 | 320
Chargers | Chargers - DC | DuraComm | BC-75-LFP | Battery Charger, Internal BMS, LiFePo, 12V/75A | 605 | 484
Chargers | Chargers - DC | DuraComm | BC-27-15-LFP | Battery Charger, Internal BMS, LiFePo, 27V/15A | 470 | 376
Chargers | Chargers - DC | DuraComm | BC-27-25-LFP | Battery Charger, Internal BMS, LiFePo, 27V/25A | 579 | 463.2
Chargers | Chargers - DC | DuraComm | DPS-15 | Battery Charger, Converter, 12V/15A | 210 | 168
Chargers | Chargers - DC | DuraComm | DPS-27-15 | Battery Charger, Converter, 24V/15A | 324 | 259.2
Chargers | Chargers - DC | DuraComm | DPS-27-25 | Battery Charger, Converter, 24V/25A | 404 | 323.2
Chargers | Chargers - DC | DuraComm | DPS-30 | Battery Charger, Converter, 12V/30A | 239 | 191.2
Chargers | Chargers - DC | DuraComm | DPS-45 | Battery Charger, Converter, 12V/45A | 267 | 213.6
Chargers | Chargers - DC | DuraComm | DPS-55 | Battery Charger, Converter, 12V/55A | 300 | 240
Chargers | Chargers - DC | DuraComm | DPS-75 | Battery Charger, Converter, 12V/75A | 445 | 356
Chargers | Chargers - DC | DuraComm | DPS-90 | Battery Charger, Converter, 12V/90A | 460 | 368
DC Systems - Mobile | DC Systems - Mobile | Newmar | 115-12-20A | Power Supply, Mobile, Heavy Duty, 12V | 1333 | 1066.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | 115-12-35CD | Power Supply, Mobile, Heavy Duty, 12V, CD | 1947 | 1557.6
DC Systems - Mobile | DC Systems - Mobile | Newmar | 115-12-8 | Power Supply, Mobile, Heavy Duty, 12V | 612 | 489.6
DC Systems - Mobile | DC Systems - Mobile | Newmar | 115-24-10 | Power Supply, Mobile, Heavy Duty, 24V | 1325 | 1060
DC Systems - Mobile | DC Systems - Mobile | Newmar | 115-24-18CD | Power Supply, Mobile, Heavy Duty, 24V, CD | 2073 | 1658.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | 115-24-35CD | Power Supply, Mobile, Heavy Duty, 24V, CD | 3057 | 2445.6
DC Systems - Mobile | DC Systems - Mobile | Newmar | 1-2-120 | Battery Isolator, Mobile, Heavy Duty, | 212 | 169.6
DC Systems - Mobile | DC Systems - Mobile | Newmar | 12-12-3I | Power Stabilizer, Mobile, Isolated, 12V | 260 | 208
DC Systems - Mobile | DC Systems - Mobile | Newmar | 12-12-6I | Power Stabilizer, Mobile, Isolated, 12V | 403 | 322.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | 12-1500A | Inverter, Mobile, PS, w/o Remote | 1176 | 940.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | 12-1500A | Inverter, Mobile, PS, w/Remote | 1524 | 1219.2
DC Systems - Mobile | DC Systems - Mobile | Newmar | 12-24-16 | DC Converter, Mobile, Step-up | 836 | 668.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | 12-24-25 | DC Converter, Mobile, Step-up | 1181 | 944.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | 12-24-7 | DC Converter, Mobile, Step-up | 450 | 360
DC Systems - Mobile | DC Systems - Mobile | Newmar | 1-2-70 | Battery Isolator, Mobile, Heavy Duty | 113 | 90.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | 1-3-120 | Battery Isolator, Mobile, Heavy Duty | 275 | 220
DC Systems - Mobile | DC Systems - Mobile | Newmar | 1-3-165 | Battery Isolator, Mobile, Heavy Duty | 394 | 315.2
DC Systems - Mobile | DC Systems - Mobile | Newmar | 1-3-70 | Battery Isolator, Mobile, Heavy Duty | 275 | 220
DC Systems - Mobile | DC Systems - Mobile | Newmar | 150-A | Filter, Noise | 266 | 212.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | 2000TQ | Inverter-Charger, Mobile, Torque | 5624 | 4499.2
DC Systems - Mobile | DC Systems - Mobile | Newmar | 2-3-120 | Battery Isolator, Mobile, Heavy Duty, | 543 | 434.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | 2-3-70 | Battery Isolator, Mobile, Heavy Duty, | 304 | 243.2
DC Systems - Mobile | DC Systems - Mobile | Newmar | 24-12-3 | DC-DC Converter, Mobile, Standard, 24V | 195 | 156
DC Systems - Mobile | DC Systems - Mobile | Newmar | 24-24-3I | Power Stabilizer, Mobile, Isolated, 24V | 298 | 238.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | 24-24-7I | Power Stabilizer, Mobile, Isolated, 24V | 658 | 526.4
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2012-35 | Power Enclosure, Public Safety, 12V/20A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1024-35 | Power Enclosure, Public Safety, 24V/10A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-548-35 | Power Enclosure, Public Safety, 48V/5A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4012-35 | Power Enclosure, Public Safety, 12V/40A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2024-35 | Power Enclosure, Public Safety, 24V/20A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1048-35 | Power Enclosure, Public Safety, 48V/10A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4110-35 | Power Enclosure, Public Safety, 110VAC/4A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2012-50 | Power Enclosure, Public Safety, 12V/20A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1024-50 | Power Enclosure, Public Safety, 24V/10A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-548-50 | Power Enclosure, Public Safety, 48V/5A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4012-50 | Power Enclosure, Public Safety, 12V/40A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2024-50 | Power Enclosure, Public Safety, 24V/20A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1048-50 | Power Enclosure, Public Safety, 48V/10A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4110-50 | Power Enclosure, Public Safety, 110VAC/4A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2012-100 | Power Enclosure, Public Safety, 12V/20A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1024-100 | Power Enclosure, Public Safety, 24V/10A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4012-100 | Power Enclosure, Public Safety, 12V/40A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2024-100 | Power Enclosure, Public Safety, 24V/20A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4110-100 | Power Enclosure, Public Safety, 110VAC/4A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2012-35MU | Power Enclosure, Public Safety, Monitoring, 12V/20A/35Ah, |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1024-35MU | Power Enclosure, Public Safety, Monitoring, 24V/10A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-548-35MU | Power Enclosure, Public Safety, Monitoring, 48V/5A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4012-35MU | Power Enclosure, Public Safety, Monitoring, 12V/40A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2024-35MU | Power Enclosure, Public Safety, Monitoring, 24V/20A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1048-35MU | Power Enclosure, Public Safety, Monitoring, 48V/10A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4110-35MU | Power Enclosure, Public Safety, Monitoring, 110VAC/4A/35Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2012-50MU | Power Enclosure, Public Safety, Monitoring, 12V/20A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1024-50MU | Power Enclosure, Public Safety, Monitoring, 24V/10A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-548-50MU | Power Enclosure, Public Safety, Monitoring, 48V/5A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4012-50MU | Power Enclosure, Public Safety, Monitoring, 12V/40A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2024-50MU | Power Enclosure, Public Safety, Monitoring, 24V/20A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1048-50MU | Power Enclosure, Public Safety, Monitoring, 48V/10A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4110-50MU | Power Enclosure, Public Safety, Monitoring, 110VAC/4A/50Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2012-100MU | Power Enclosure, Public Safety, Monitoring, 12V/20A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-1024-100MU | Power Enclosure, Public Safety, Monitoring, 24V/10A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4012-100MU | Power Enclosure, Public Safety, Monitoring, 12V/40A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-2024-100MU | Power Enclosure, Public Safety, Monitoring, 24V/20A/100Ah |  | 0
Power Enclosures | Power Enclosures - DC | DuraComm | PS-4110-100MU | Power Enclosure, Public Safety, Monitoring, 110VAC/4A/100Ah |  | 0
DC Systems - Mobile | DC Systems - Mobile | Newmar | 3000TQ | Inverter-Charger, Mobile, Torque | 7614 | 6091.2
DC Systems - Mobile | DC Systems - Mobile | Newmar | 48-12-18I | DC-DC Converter, Step-down, Isolated, 48V/12V | 1148 | 918.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | 48-12-1I | DC-DC Converter, Step-down, Isolated, 48V/12V | 126 | 100.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | 48-12-35I | DC-DC Converter, Step-down, Isolated, 48V/12V | 1824 | 1459.2
DC Systems - Mobile | DC Systems - Mobile | Newmar | 48-12-6I | DC-DC Converter, Step-down, Isolated, 48V/12V | 747 | 597.6
| DC Systems - Mobile | Newmar | 72-12-18ISP | DC-DC Converter, Step-down, Isolated, 130V/12V | 1575.29 | 1260.23
DC Systems - Mobile | DC Systems - Mobile | Newmar | 72-13-7.5ISP | DC-DC Converter, Mobile, Isolated, 130V/13V | 2100 | 1680
DC Systems - Mobile | DC Systems - Mobile | Newmar | 72-13-15ISP | DC-DC Converter, Mobile, Isolated, 130V/13V | 2100 | 1680
DC Systems - Mobile | DC Systems - Mobile | Newmar | 72-24-4ISP | DC-DC Converter, Mobile, Isolated, 130V/24V | 2100 | 1680
DC Systems - Mobile | DC Systems - Mobile | Newmar | 72-24-8ISP | DC-DC Converter, Mobile, Isolated, 130V/24V | 2100 | 1680
| DC Systems - Mobile | Newmar | 72-24-9ISP | DC-DC Converter, Step-down, Isolated, 130V/24V | 1600.46 | 1280.37
DC Systems - Mobile | DC Systems - Mobile | Newmar | APS-160 | Power Selector,Automatic | 451 | 360.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | APS-70 | Power Selector,Automatic | 165 | 132
DC Systems - Mobile | DC Systems - Mobile | Newmar | ERC-12-15 | Relay, Emergency, 12V | 186 | 148.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | ERC-12-35 | Relay, Emergency, 12V | 275 | 220
DC Systems - Mobile | DC Systems - Mobile | Newmar | ERC-24-35 | Relay, Emergency, 24V | 348 | 278.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | NP-12 | Battery, 4.0 A-H (591-0412-0) | 121 | 96.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | NP-12 | Power Conditioner, NAV-PAC, 12V | 738 | 590.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | NP-24 | Power Conditioner, NAV-PAC, 24V | 798 | 638.4
DC Systems - Mobile | DC Systems - Mobile | Newmar | NS-12-20 Battery | Protection, Battery, 4.0Ah | 121 | 96.8
DC Systems - Mobile | DC Systems - Mobile | Newmar | NS-12-20 | Protection, Start-Guard | 304 | 243.2
DC Systems - Mobile | DC Systems - Mobile | Newmar | TMR-30A | Timer, Power | 150 | 120
DC Systems - Mobile | DC Systems - Mobile | Newmar | TQ-DSP 12/24 | Inverter-Charger, Mobile, Torque, Accessory, LCD Remote, 12/24V | 605 | 484
DC Systems - Mobile | DC Systems - Mobile | Newmar | TQ-DSP 24 | Inverter-Charger, Mobile, Torque, Accessory, LCD Remote, 24V | 605 | 484
DC Systems - Mobile | DC Systems - Mobile | Newmar | TQ-RMK | Inverter-Charger, Mobile, Torque, Accessory, Remote Extension Kit | 145 | 116
Battery Management Systems | BMS - DC | DuraComm | BMS-12-75 | Battery Management System, Rackmount, 12V/75A, 1U | 447 | 357.6
Battery Management Systems | BMS - DC | DuraComm | BMS-24-40 | Battery Management System, Rackmount, 24V/40A, 1U | 447 | 357.6
Battery Management Systems | BMS - DC | DuraComm | BMS-48-20 | Battery Management System, Rackmount, 48V/20A, 1U | 447 | 357.6
Battery Management Systems | BMS - DC | DuraComm | BMS-12-75-MU | Battery Management System, Rackmount, Remote Monitoring, 12V/75A, 1U | 1120 | 896
Battery Management Systems | BMS - DC | DuraComm | BMS-24-40-MU | Battery Management System, Rackmount, Remote Monitoring, 24V/40A, 1U | 1120 | 896
Battery Management Systems | BMS - DC | DuraComm | BMS-48-20-MU | Battery Management System, Rackmount, Remote Monitoring, 48V/20A, 1U | 1120 | 896
Battery Management Systems | BMS - DC | DuraComm | BMS-360-12 | Battery Management System, Rackmount, 12V/75A, 2U | 807 | 645.6
Battery Management Systems | BMS - DC | DuraComm | BMS-360-24 | Battery Management System, Rackmount, 24V/40A, 2U | 807 | 645.6
Battery Management Systems | BMS - DC | DuraComm | BMS-360-48 | Battery Management System, Rackmount, 48V/20A, 2U | 807 | 645.6
Battery Management Systems | BMS - DC | DuraComm | BMS-360-12-MU | Battery Management System, Rackmount, Remote Monitoring, 12V/75A, 2U | 1230 | 984
Battery Management Systems | BMS - DC | DuraComm | BMS-360-24-MU | Battery Management System, Rackmount, Remote Monitoring, 24V/40A, 2U | 1230 | 984
Battery Management Systems | BMS - DC | DuraComm | BMS-360-48-MU | Battery Management System, Rackmount, Remote Monitoring, 48V/20A, 2U | 1230 | 984
Battery Management Systems | BMS - DC | DuraComm | BMS-600-12 | Battery Management System, Rackmount, 12V/40A, 2U | 1227 | 981.6
Battery Management Systems | BMS - DC | DuraComm | BMS-600-24 | Battery Management System, Rackmount, 24V/21A, 2U | 1227 | 981.6
Battery Management Systems | BMS - DC | DuraComm | BMS-600-48 | Battery Management System, Rackmount, 48V/10.5A, 2U | 1227 | 981.6
Battery Management Systems | BMS - DC | DuraComm | BMS-600-12-MU | Battery Management System, Rackmount, Remote Monitoring, 12V/40A, 2U | 1590 | 1272
DC Power | Power Enclosures - DC | DuraComm | EH-24-10N-MU | Power Supply, Environmentally Hardened, LVD, Monitoring, 24V/10A |  | #VALUE!
Battery Management Systems | BMS - DC | DuraComm | BMS-600-24-MU | Battery Management System, Rackmount, Remote Monitoring, 24V/21A, 2U | 1590 | 1272
Battery Management Systems | BMS - DC | DuraComm | BMS-600-48-MU | Battery Management System, Rackmount, Remote Monitoring, 48V/10.5A, 2U | 1590 | 1272
Battery Management Systems | BMS - DC | DuraComm | BMS-1000-12 | Battery Management System, Rackmount, 12V/60A, 2U | 1332 | 1065.6
Battery Management Systems | BMS - DC | DuraComm | BMS-1000-24 | Battery Management System, Rackmount, 24V/34.7A, 2U | 1332 | 1065.6
Battery Management Systems | BMS - DC | DuraComm | BMS-1000-48 | Battery Management System, Rackmount, 48V/17.4A, 2U | 1332 | 1065.6
Battery Management Systems | BMS - DC | DuraComm | BMS-1000-12-MU | Battery Management System, Rackmount, Remote Monitoring, 12V/60A, 2U | 1747 | 1397.6
Battery Management Systems | BMS - DC | DuraComm | BMS-1000-24-MU | Battery Management System, Rackmount, Remote Monitoring, 24V/34.7A, 2U | 1747 | 1397.6
Battery Management Systems | BMS - DC | DuraComm | BMS-1000-48-MU | Battery Management System, Rackmount, Remote Monitoring, 48V/17.4A, 2U | 1747 | 1397.6
Battery Management Systems | BMS - DC | DuraComm | BMS-1600-12 | Battery Management System, Rackmount, 12V/100A, 1U | 1570 | 1256
Battery Management Systems | BMS - DC | DuraComm | BMS-1600-24 | Battery Management System, Rackmount, 24V/55A, 1U | 1570 | 1256
Battery Management Systems | BMS - DC | DuraComm | BMS-1600-48 | Battery Management System, Rackmount, 48V/27.5A, 1U | 1570 | 1256
Battery Management Systems | BMS - DC | DuraComm | BMS-1600-12-MU | Battery Management System, Rackmount, Remote Monitoring, 12V/100A, 1U | 2049 | 1639.2
Battery Management Systems | BMS - DC | DuraComm | BMS-1600-24-MU | Battery Management System, Rackmount, Remote Monitoring, 24V/55A, 1U | 2049 | 1639.2
Battery Management Systems | BMS - DC | DuraComm | BMS-1600-48-MU | Battery Management System, Rackmount, Remote Monitoring, 48V/27.5A, 1U | 2049 | 1639.2
Monitoring | Monitoring - DC | DuraComm | DC-RMCU1 | Monitoring, Remote Control, Centri Series | 715 | 572
Monitoring | Monitoring - DC | DuraComm | RM-DC-RMCU1 | Monitoring, Rackmount, Remote Control, Centri Series, 1U | 752 | 601.6
Monitoring | Monitoring - DC | DuraComm | DC-RMCU-2W | Monitoring, Remote Control, Centri Series | 972 | 777.6
Monitoring | Monitoring - DC | DuraComm | RM-DC-RMCU-2W | Monitoring, Rackmount, Remote Control, Centri Series, 1U | 1009 | 807.2
Monitoring | Monitoring - DC | DuraComm | DC-RMCU-8G | Monitoring, Remote Control, Centri Series | 1009 | 807.2
Monitoring | Monitoring - DC | DuraComm | RM-DC-RMCU-8G | Monitoring, Rackmount, Remote Control, Centri Series, 1U | 1174 | 939.2
DC Systems - Mobile | DC Systems | Newmar | PT-24-13W | Charger, Wallmount, Phase Three, 24V, 13A | 869.673 | 696
DC Systems - Mobile | DC Systems | Newmar | PT-24-20U | Charger, Wallmount, Phase Three, 24V, 20A | 1400.595 | 1120.8
DC Systems - Mobile | DC Systems | Newmar | PT-24-45U | Charger, Wallmount, Phase Three, 24V, 45A | 2290.6905 | 1832.8
DC Systems - Mobile | DC Systems | Newmar | PT-24-8W | Charger, Wallmount, Phase Three, 24V, 8A | 739.935 | 592
DC Systems - Mobile | DC Systems | Newmar | PT-24-95U | Charger, Wallmount, Phase Three, 24V, 95A | 3532.725 | 2826.4
DC Systems - Mobile | DC Systems | Newmar | PT-25W | Charger, Wallmount, Phase Three, 12V, 25A | 869.673 | 696
DC Systems - Mobile | DC Systems | Newmar | PT-32-25W | Charger, Wallmount, Phase Three, 32V, 25A | 2771.1705 | 2217.6
DC Systems - Mobile | DC Systems | Newmar | PT-40U | Charger, Wallmount, Phase Three, 12V, 40A | 1404.207 | 1124
Batteries | Batteries - DC | Narada | 591-1210-7 | 100 Amp Front Terminal Telecom Battery | 700 | 560
Batteries | Batteries - DC | Narada | 591-1215-0 | 150 Amp Front Terminal Telecom Battery | 1000 | 800
Batteries | Batteries - DC | Narada | 591-1221-0 | 210 Amp Front Terminal Telecom Battery | 1200 | 960
DC Power | Newmar | Newmar | RMI-400W-1U | Inverter, 400W, 1U | 1000 | 800
Distribution | Newmar | Newmar | FDP-1010-48N | Distribution Panel, GMT, Dual Bus, Fuse, 100A | 624.75 | 500

## TOC
Title | Order
AC Power | Rugged UPS
Desktop Power | Desktop - DC
DC Power | DC Power Plant | DC Systems | DC Systems - DC | DC Converters - DC | RPS Accessories
Distribution | Distribution - DC | Distribution
Monitoring | Monitoring - DC | Monitoring
Power Enclosures | Power Enclosures | Power Enclosures - DC | Public Safety
Accessories | Accessories | Accessories - DC
Battery Management Systems | BMS - DC
Chargers | Chargers | Chargers - DC
Batteries | Batteries | Batteries - DC
DC Systems - Mobile | DC Systems - Mobile