Communication Structure Request for Quote

| Customer Contact Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Quote Due Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Delivery Due Date: |  |  |  |  |  |  |
| Your Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Company Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | State: |  |  |  |  |  |  |  |  |  | Zip Code: |  |  |
| Phone: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fax: |  |  |  |  |  |
| E-mail: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Information (Fields marked in red are required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Name/Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  |  |  |  |  |  |  |  |  | County: |  |  |  |  |
| Coordinates (IMPORTANT): |  |  |  |  |  |  | *Latitude: |  |  |  |  |  |  |  |  |  |  |  |  | *Longitude: |  |  |  |  |  |  |  |
| * If coordinates are not available, please provide address above |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of Structure: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If Guyed tower, soil report & plot plan recommended. |  |  |  |  |  |  |  | List Radius: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | List anchor & base elevations or assume flat: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall Height of Structure (above finish grade): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Base Elevation above surrounding terrain: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Engineering Standard to be used: ☒ TIA-G ☒ TIA-H ☒ Assume per local jurisdiction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Code/Standard: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Customer specified 3-second Gust Wind Speed (MPH): SPECIFY SOURCE OF WINDSPEED IF PROVIDED: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Wind speed with Ice: ☒ Assume per local jurisdiction |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Radial Ice Thickness (in): ☒ Assume per local jurisdiction |  |  |  |  |  |  |
| Structure Class / Risk Category (required for TIA-G or TIA-H Design): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check below if minimum criteria is required, final criteria to be determined by engineer of record |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Exposure: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Topography Category: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Crest Height: (required for Topo 2, 3, & 4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Prelim Foundation Design Required with Structure Quote: |  |  |  |  | Foundation Type: ☐Caisson ☐Pad/Pier ☐Other___________ |  |  |  |  |  |  |  | Soil Type: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Special Requirements (i.e. fall zone, capacity requirements, dimensional restrictions, domestic or traceability requirements, etc): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Antennas & Lines (Appurtenances) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| *Centerline for Baseline Elevation | *Quantity |  |  |  |  | Antenna Model # (or EPA sq ft and weight) |  |  |  |  |  |  |  | Dimensions |  |  |  |  | Mount Model # (or type) |  |  |  |  |  |  | Line Size | Line Qty |  |
| Mounts can be assumed: Include Mounts on Quote: If yes, please specify for which elevations ____________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dishes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| *Centerline for Baseline Elevation | *Quantity |  |  |  |  | Model Number or Diameter/Type (grid, solid, solid w/radome, high performance) |  |  |  |  |  |  |  |  |  |  |  |  | Azimuth & Frequency (IMPORTANT with proposed dishes) |  |  |  |  |  |  | Line Size | Line Qty |  |

| Optional Equipment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Lights: | ☐ Red Beacons |  | ☐ Medium Intensity Strobes |  | ☐ Dual Lights | ☐ Other (specify): |
| Paint: ☐ |  | Color/Spec Number: |  |  |  |  |
| Transmission Line Bridge: ☐ |  |  |  | Dimensions/Details: |  |  |
| Special Structure Type Info (i.e. cell silo, flag pole, cross pole, tree pole, water tank, clock tower, etc): |  |  |  |  |  |  |

# Structure Categorization Based on Service Provided

Fig. 1

Risk Categorization in Accordance with ANSI/TIA and the 2018 IBC (TIF)(p.8). (https://wia.org/wp-content/uploads/White-Paper-Risk-Categorization-in-Accordance-with-ANSI-TIA-2018-IBC-Final-v3-5.2.2018.pdf) Copyright May 2018. By Telecommunications Industry Foundation.

# Structure Categorization Based on Risk/Hazard in the Event of Failure

Fig. 2

Risk Categorization in Accordance with ANSI/TIA and the 2018 IBC (TIF)(p.8). (https://wia.org/wp-content/uploads/White-Paper-Risk-Categorization-in-Accordance-with-ANSI-TIA-2018-IBC-Final-v3-5.2.2018.pdf) Copyright May 2018. By Telecommunications Industry Foundation.

# GEOTECHNICAL INVESTIGATIONS

# FOR TELECOMMUNICATION TOWERS

A soil investigation by a geotechnical engineering firm is recommended for each tower site to determine its unique soil and physical characteristics.  To ensure that the report furnishes useful information to the foundation designer, the guidelines listed below should be followed.

## Number of Borings

### Guyed Tower	Preferred	one at tower base and one at each guy anchor

### Minimum	one at tower base and one at outer guy anchors

SS Tower	Preferred	one at each tower leg or one at center of tower base if base width is less than 15 feet

Minimum	one at center of tower base if base width less than 20 feet

### Monopole		one at center of monopole base

## Depth of Borings

The depth is dependent on the magnitude of the tower reaction forces and the type of soil encountered.

#### Guyed Tower

Base:	15 to 20 feet

Anchors:	15 to 20 feet for large reactions (greater than 30 kips) if deadman anchors are anticipated

10 to 15 feet for small reactions (less than 30 kips) if deadman anchors are anticipated

30 to 50 feet if drilled pier type foundation is anticipated

##### SS Tower	20 to 25 feet minimum if shallow pad type foundation is anticipated

30 to 50 feet minimum if drilled pier type foundation is anticipated

##### Monopole	25 to 40 feet if fill soil are not encountered

20 to 40 feet into native soil if fill soil is encountered

If rock anchors are anticipated, the rock should be cored a minimum of 10 to 20 feet.  Rock need not be cored at a guyed tower base.

## Geotechnical Data

Soil Properties – The soil report should provide the following, including all applicable factors of safety.

###### Minimum Required Information

  - Allowable Bearing Pressure – values vs. depth and expected settlement, mainly at tower base (all tower types)

  - Allowable Passive Pressure – values vs. depth (all tower types)

  - Allowable Skin Friction – values vs. depth (SS and guyed towers only)

  - Angle of Internal Friction – (all tower types)

  - Unit Weight – buoyant, if submerged (all tower types)

  - Cohesion – values vs. depth, if any (all tower types)

  - Rock Quality Designation (RQD) – if rock is encountered (all tower types)

  - If rock anchors are anticipated

    - Ultimate Rock Shear Strength

    - Unit Weight

    - Rock/Grout Friction or Bond Strength

    - Rock Engagement Angle

###### Optional Information (if drilled piers are anticipated for monopole or guyed tower)

  - Lateral Modulus of Subgrade Reaction

  - Strain at 50% of the Maximum Principal Stress Difference (E50)

###### Boring Logs

  - Date, sampling methods, and number of samples

  - Soil strata classification per USCS, and their depth

  - Depth of free water encountered and groundwater depth to be used for design

  - Standard Penetration Test (SPT) blow counts (blows per foot)

  - Maximum and average frost penetration depth

  - Unit weight of soil, buoyant unit weight (if submerged)

  - Type of rock encountered

Recommendations

  - Foundation system best suited for existing soil conditions

  - Alternative foundation system that can also be considered

  - Construction problems anticipated (e.g. temporary casings, drilling slurry, rock augers or core barrels, jack hammering, etc.)

  - Other variables that will affect the installation and design

  - Depth of saturated soil if expected

  - Soil resistivity if any special corrosion mitigating measures are required