## ZEF Energy Price List 2025
Pricing & Lead Time Report
BEFORE SUBMITTING AN ORDER: Check with your Sales Rep/Account Manager regarding current lead times as they are subject to changes by product model.
SKU | Description | MSRP | Downpayment Requirement | Lead Time
DC Fast Chargers | Kempower Power - Power Cabinets
ZEFNET_KP_C501_50_D4 | (1) cabinet 50kW cabinet; 200-500V output; 4 plug max; Dynamic & simultaneous charging enabled; Does not include charger branding | 51024 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501_50_D6 | Single Cabinet 50kW, 500V & 800V adaptive, Dynamic, 6 plug max | 58336 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501_50_D8 | Single Cabinet 50kW, 500V & 800V adaptive, Dynamic, 8 plug max | 58336 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C801_50_D4 | (1) cabinet 50kW cabinet; 800V output; 4 plug max; Dynamic & simultaneous charging enabled; Does not include charger branding | 51024 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C801_50_D6 | Single Cabinet 50kW, 800V, Dynamic, 6 plug max | 58336 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C801_50_D8 | Single Cabinet 50kW, 800V, Dynamic, 8 plug max | 58336 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502_50_D4 | (2) cabinet 50kW cabinet; 200-500V output; 4 plug max; Dynamic & simultaneous charging enabled; Does not include charger branding | 87849 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502_50_D6 | Double Cabinet 50kW, 500V & 800V adaptive, Dynamic, 6 plug max | 103446 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502_50_D8 | Double Cabinet 50kW, 500V & 800V adaptive, Dynamic, 8 plug max | 103446 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C802_50_D4 | (2) cabinet 50kW, 800V output; 4 plug max; Dynamic & simultaneous charging enabled; Does not include charger branding | 87849 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C802_50_D6 | Double Cabinet, 50kW, 800V, Dynamic, 6 plug max | 103446 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C802_50_D8 | Double Cabinet, 50kW, 800V, Dynamic, 8 plug max | 103446 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C503_50_D4 | (3) cabinet 50kW cabinet; 200-500V output; 4 plug max; Dynamic & simultaneous charging enabled; Does not include charger branding | 121273 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C503_50_D6 | Triple Cabinet 50kW, 500V & 800V adaptive, Dynamic, 6 plug max | 144670 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C503_50_D8 | Triple Cabinet 50kW, 500V & 800V adaptive, Dynamic, 8 plug max | 144670 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C803_50_D4 | (3) cabinet 50kW, 800V output; 4 plug max; Dynamic & simultaneous charging enabled; Does not include charger branding | 121273 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C803_50_D6 | Triple cabinet, 50kW, 800V, Dynamic, 6 plug max | 144670 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C803_50_D8 | Triple cabinet, 50kW, 800V, Dynamic, 8 plug max | 144670 | 50% | 24 Weeks + shipping time
ZEFNET_KP_Option_Power Module_50 | 50kW power module (for 500V, 800V, or adaptive cabinets) | 18107 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C1_Steel Base Kit | Steel base 200 mm raise kit for C501/C801 | 1391 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C2_Steel Base Kit | Steel base 200 mm raise kit for C502/C802 | 2782 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C3_Steel Base Kit | Steel base 200 mm raise kit for C503/C803 | 4173 | 50% | 24 Weeks + shipping time
DC Fast Chargers | Kempower Satellites
ZEFNET_KP_CSCh_Pay_300A_5M | 2-plug dispenser (1 CCS 300A, 1 CHAdeMO 125A), With contactless payment terminal; 5M cord length; Does not include charger branding | 27330 | 50% | 24 Weeks + shipping time
ZEFNET_KP_2xCCS_Pay_300A_5M | 2-plug dispensers (2x CCS1 300A) 5M cord length; Includes contactless payment terminal; Does not include charger branding | 30452 | 50% | 24 Weeks + shipping time
ZEFNET_KP_CCS_Pay_300A_5M | 1-plug dispenser (1 CCS 300A), 5M cord length; Includes payment terminal; Does not include charger branding | 18923 | 50% | 24 Weeks + shipping time
ZEFNET_KP_Option_7M cable | Upgrade to 7M cord length. This cost should be applied on a per cord basis. | 399 | 50% | 24 Weeks + shipping time
ZEFNET_KP_CSCh_Pay_200A_5M | (1) CCS (200A) + (1) CHAdeMO plug satellite, screen interface w/ credit card + RFID reader, 5M cords | 24159 | 50% | 24 Weeks + shipping time
ZEFNET_KP_2xCCS_200A_5M | (2) CCS (200A) plug satellite, screen interface, 5M cords | 21955 | 50% | 24 Weeks + shipping time
ZEFNET_KP_2xCCS_Pay_200A_5M | (2) CCS (200A) plug satellite, screen interface w/ credit card + RFID reader, 5M cords | 24111 | 50% | 24 Weeks + shipping time
ZEFNET_KP_CCS_200A_5M | (1) CCS (200A) plug satellite, screen interface, 5M cords | 13596 | 50% | 24 Weeks + shipping time
ZEFNET_KP_CCS_Pay_200A_5M | (1) CCS (200A) plug satellite, screen interface w/ credit card + RFID reader, 5M cords | 15752 | 50% | 24 Weeks + shipping time
ZEFNET_KP_CSCh_300A_5M | (1) CCS (300A) + (1) CHAdeMO plug satellite, screen interface, 5M cords | 25175 | 50% | 24 Weeks + shipping time
ZEFNET_KP_CSCh_Pay_300A_5M | (1) CCS (300A) + (1) CHAdeMO plug satellite, screen interface w/ credit card + RFID reader, 5M cords | 27330 | 50% | 24 Weeks + shipping time
ZEFNET_KP_2xCCS_300A_5M | (2) CCS (300A) plug satellite, screen interface, 5M cords | 28296 | 50% | 24 Weeks + shipping time
ZEFNET_KP_CCS_300A_5M | (1) CCS (300A) plug satellite, screen interface, 5M cords | 16767 | 50% | 24 Weeks + shipping time
DC Fast Chargers | Kempower Station Chargers
ZEFNET_KP_C501-STA_50_CCSx2_300A | Station Single Cab. 50kW, (2) CCS (300A) plugs, 200-500V output, 5M cord | 60526 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501-STA_50_CCSx2_300A_Pay | Station Single Cab. 50kW, (2) CCS (300A) plugs, 200-500V output, 5M cord, CC reader | 62646 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502-STA_50_CCSx2_300A | Station Double Cab. 50kW, (2) CCS (300A) plugs, 200-500V output, 5M cord | 87086 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502-STA_50_CCSx2_300A_Pay | Station Double Cab. 50kW, (2) CCS (300A) plugs, 200-500V output, 5M cord, CC reader | 89377 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502-STA_50_CCS+Chad_300A_Pay | Station Double Cab. 50kW, (1) CCS (300A) + (1) CHAdeMO plug, 200-500V output, 5M cord, CC reader | 86154 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502-STA_50_CCS+Chad_300A | Station Double Cab. 50kW, (1) CCS (300A) + (1) CHAdeMO plug, 200-500V output, 5M cord | 83863 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501-STA_50_CCS+Chad_300A_Pay | Station Single Cab. 50kW, (1) CCS (300A) + (1) CHAdeMO plug, 200-500V output, 5M cord, CC reader | 59664 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501-STA_50_CCS+Chad_300A | Station Single Cab. 50kW, (1) CCS (300A) + (1) CHAdeMO plug, 200-500V output, 5M cord | 57544 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502-STA_50_CCSx2_200A_Pay | Station Double Cab. 50kW, (2) CCS (200A) plugs, 200-500V output, 5M cord, CC reader | 82830 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502-STA_50_CCSx2_200A | Station Double Cab. 50kW, (2) CCS (200A) plugs, 200-500V output, 5M cord | 80539 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501-STA_50_CCSx2_200A_Pay | Station Single Cab. 50kW, (2) CCS (200A) plugs, 200-500V output, 5M cord, CC reader | 56587 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501-STA_50_CCSx2_200A | Station Single Cab. 50kW, (2) CCS (200A) plugs, 200-500V output, 5M cord | 54467 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502-STA_50_CCS+Chad_200A_Pay | Station Double Cab. 50kW, (1) CCS (200A) + (1) CHAdeMO plug, 200-500V output, 5M cord, CC reader | 80473 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C502-STA_50_CCS+Chad_200A | Station Double Cab. 50kW, (1) CCS (200A) + (1) CHAdeMO plug, 200-500V output, 5M cord | 78254 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501-STA_50_CCS+Chad_200A_Pay | Station Single Cab. 50kW, (1) CCS (200A) + (1) CHAdeMO plug, 200-500V output, 5M cord, CC reader | 56634 | 50% | 24 Weeks + shipping time
ZEFNET_KP_C501-STA_50_CCS+Chad_200A | Station Single Cab. 50kW, (1) CCS (200A) + (1) CHAdeMO plug, 200-500V output, 5M cord | 54515 | 50% | 24 Weeks + shipping time
DC Fast Chargers | Kempower Movable Chargers
ZEFNET_KP_T500_CCS_50 | Moveable Charger 50kW, (1) CCS plug, 200-500V output, 5M cord | 33144 | 50% | 24 Weeks + shipping time
ZEFNET_KP_T500_CCSx2_50 | Moveable Charger 50kW, (2) CCS plugs simultaneous, 200-500V output, 5M cords | 39821 | 50% | 24 Weeks + shipping time
ZEFNET_KP_T500_CCS-Chad_50 | Moveable Charger 50kW, (1) CCS + (1) Chad plug simultaneous, 200-500V output, 5M cords | 40400 | 50% | 24 Weeks + shipping time
ZEFNET_KP_T800_CCS_50 | Moveable Charger 50kW, (1) CCS plug, 800V output, 5M cord | 32759 | 50% | 24 Weeks + shipping time
ZEFNET_KP_T800_CCSx2_50 | Moveable Charger 50kW, (2) CCS plugs simultaneous, 800V output, 5M cords | 39051 | 50% | 24 Weeks + shipping time
DC Fast Chargers | Commissioning & Service Level Agreements
Cx_Pre-Commissioning Consultation Call |  | 250 | n/a
Cx_Commissioning Service DCFC | Single Station Charger or singe Power Cabinet w/ a Satellite Commissioning | 3520 | n/a
Cx_Commissioning Service DCFC, addtl | per ea. additional Satellite or Station Charger commissioning @ same site | 1760 | n/a
SLA_KP_Zone 1 PM Only (per cabinet) | Annual preventative maintenance, 1yr. Price varies by location of installed DCFC, Zone 1 | 2212 | n/a
SLA_KP_Zone 1 PM Adder | Annual preventative maintenance for additional unit @ same site,1yr. Price varies by location of installed DCFC, Zone 1 | 1264 | n/a
SLA_KP_Zone 1 PM + Field Cab + Sat | Annual preventative maintenance + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 1 | 4424 | n/a
SLA_KP_Zone 1 PM + Field Sat adder | Annual preventative maintenance for additional unit + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 1 | 1264 | n/a
SLA_KP_Zone 2 PM Only (per cabinet) | Annual preventative maintenance, 1yr. Price varies by location of installed DCFC, Zone 2 | 2520 | n/a
SLA_KP_Zone 2 PM Adder | Annual preventative maintenance for additional unit @ same site,1yr. Price varies by location of installed DCFC, Zone 2 | 1440 | n/a
SLA_KP_Zone 2 PM + Field Cab + Sat | Annual preventative maintenance + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 2 | 5040 | n/a
SLA_KP_Zone 2 PM + Field Sat adder | Annual preventative maintenance for additional unit + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 2 | 1440 | n/a
SLA_KP_Zone 3 PM Only (per cabinet) | Annual preventative maintenance, 1yr. Price varies by location of installed DCFC, Zone 3 | 3080 | n/a
SLA_KP_Zone 3 PM Adder | Annual preventative maintenance for additional unit @ same site,1yr. Price varies by location of installed DCFC, Zone 3 | 1760 | n/a
SLA_KP_Zone 3 PM + Field Cab + Sat | Annual preventative maintenance + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 3 | 6160 | n/a
SLA_KP_Zone 3 PM + Field Sat adder | Annual preventative maintenance for additional unit + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 3 | 1760 | n/a
SLA_KP_Zone 4 PM Only (per cabinet) | Annual preventative maintenance, 1yr. Price varies by location of installed DCFC, Zone 4 | 3584 | n/a
SLA_KP_Zone 4 PM Adder | Annual preventative maintenance for additional unit @ same site,1yr. Price varies by location of installed DCFC, Zone 4 | 2048 | n/a
SLA_KP_Zone 4 PM + Field Cab + Sat | Annual preventative maintenance + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 4 | 7168 | n/a
SLA_KP_Zone 4 PM + Field Sat adder | Annual preventative maintenance for additional unit + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 4 | 2048 | n/a
SLA_KP_Zone 5 PM Only (per cabinet) | Annual preventative maintenance, 1yr. Price varies by location of installed DCFC, Zone 5 | 4816 | n/a
SLA_KP_Zone 5 PM Adder | Annual preventative maintenance for additional unit @ same site,1yr. Price varies by location of installed DCFC, Zone 5 | 2752 | n/a
SLA_KP_Zone 5 PM + Field Cab + Sat | Annual preventative maintenance + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 5 | 9632 | n/a
SLA_KP_Zone 5 PM + Field Sat adder | Annual preventative maintenance for additional unit + warranty field labor 1yr. Price varies by location of installed DCFC, Zone 5 | 2752 | n/a
DC Fast Chargers | Shipping
SHIP-MINISUB | Freight costs for shipping a "Minisub_399kW Capable" or "Minisub_266kW Capable" | 850 | n/a
ZEFNET_KP_Ship_C501/C801 | Shipping and Ground Freight - Kempower Single cabinet | 1030 | n/a
ZEFNET_KP_Ship_C502/C802 | Shipping and Ground Freight - Kempower Double cabinet | 1340 | n/a
ZEFNET_KP_Ship_C503/C803 | Shipping and Ground Freight - Kempower Triple cabinet | 1960 | n/a
ZEFNET_KP_Ship_Dispen | Freight costs for shipping Kempower dispenser/satillite unit | 600 | n/a
ZEFNET_KP_Ship_C-Sta | Shipping and Ground Freight - Kempower C-Station | 900 | n/a
ZEFNET_KP_Ship_Move | Freight costs for shipping Kempower Moveable Charger | 780 | n/a
ZEFNET_KP_Ship_Mod | Freight costs for shipping up to three additional Kempower Power Modules | 450 | n/a
Level 2 Chargers | ZEFNET Standard Series EVSEs
ZEFNET-40-C | Single Plug, 7.7kW Power. Can be mounted to a wall or a PMD-10R pedestal. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. | 2565 | 50% | 5 weeks
ZEFNET-60-C | Single Plug, 11.5kW Power. Can be mounted to a wall or a PMD-10R pedestal. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. | 2955 | 50% | 5 weeks
ZEFNET-80-C | Single Plug, 15.4kW Power. Can be mounted to a wall or a PMD-10R pedestal. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. | 3185 | 50% | 5 weeks
ZEFNET-100-C | Single Plug, 19.2kW Power. Can be mounted to a wall or a CS-PDL pedestal. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. | 4199 | 50% | 5 weeks
SHIP-CWS | Shipping for CWS units | 60 | n/a | n/a
Level 2 Chargers | EV Charger Accessories
WMR-STD-M1 | Mobility1 Wall-mounted retractor. Price varies depending on cable clamp diameter required. | 394 | 50% | 5 weeks
WMCC | Wall Mount Cable Cradle | 21 | 50% | 5 weeks
SHIP-WMR | Shipping per Wall-Mounted Retractor | 30 | n/a | n/a
PMD-10R | ProMountDuo™ Universal Pedestal, Powdercoated black over stainless steel, Ruggedized. Can accommodate one or two of the ZEFNET-40-C, ZEFNET-60-C, or ZEFNET-80-C | 912 | 50% | 7 weeks
CS-PDL | CS EVSE Pedestal for use with ZEFNET-100-C. Powdercoated black over steel. | 800 | 50% | 7 weeks
CS-PDL-DMKT | CS Dual Mount Pedestal Kit for mounting qty 2x ZEFNET-100-C's to a CS-PDL. | 299 | 50% | 7 weeks
HCS-PDL | ClipperCreek HCS Pedestal | 938 | 50% | 7 weeks
HCS-PDL-DM-CMK | ClipperCreek Dual Mount Cable Management Pedestal Extension | 1605 | 50% | 7 weeks
HCS-PDL-DMKT | ClipperCreek HCS Pedestal Dual Mounting Kit | 215 | 50% | 7 weeks
HCS-PDL-SM-CMK | ClipperCreek Single Mount Cable Management Pedestal Extension | 1132 | 50% | 7 weeks
HCS-PDL-QMK | ClipperCreek HCS Pedestal Quad Mounting Kit | 472 | 50% | 7 weeks
SHIP-PEDESTAL | PMD-10R or CS-PDL pedestal or Dual Mount Pedestal Extension shipping. | 80 | n/a | n/a
SHIP-DMK | Dual Mount Kit shipping | 60 | n/a | n/a
Level 2 Chargers | Standard Series Branding
ZEFNET-STD-VNYL-BRND-CUSTOM | The cost to print and apply custom branding vinyls for ZEFNET-40-C, ZEFNET-60-C, or ZEFNET-80-C commercial chargers | 110 | 50% | +3 weeks
ZEFNET-VNYL-BRND-SETUP | The cost to review and approve custom branding before printing and application (required on a per design, per product basis) | 700 | 100% | n/a
Level 2 Chargers | ZEFNET PRO Series EVSEs
ZEFNET-PRO-40-US | Premium Retractable Dual Plug Pedestal Package. Total 15.4kW Power, 7.7kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 9680 | 50% | 13 Weeks
ZEFNET-PRO-40-CCR-US | Premium Retractable Dual Plug Pedestal Package.. Total 15.4kW Power, 7.7kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. w/Credit Card Module Option. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 10940 | 50% | 13 Weeks
ZEFNET-PRO-40-CCR-SER-US | Premium Retractable Dual Plug Pedestal Package. Total 15.4kW Power, 7.7kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. w/Credit Card Module Option and w/Integrated Breaker Panel Option. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 11560 | 50% | 13 Weeks
ZEFNET-PRO-40-SER-US | Premium Retractable Dual Plug Pedestal Package . Total 15.4kW Power, 7.7kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. w/Integrated Breaker Panel Option. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 10300 | 50% | 13 Weeks
ZEFNET-PRO-60-US | Premium Retractable Dual Plug Pedestal Package. Total 23kW Power, 11.5kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 10460 | 50% | 13 Weeks
ZEFNET-PRO-60-CCR-US | Premium Retractable Dual Plug Pedestal Package.. Total 23kW Power, 11.5kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. w/Credit Card Module Option. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 11720 | 50% | 13 Weeks
ZEFNET-PRO-60-SER-US | Premium Retractable Dual Plug Pedestal Package . Total 23kW Power, 11.5kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. w/Integrated Breaker Panel Option. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 11080 | 50% | 13 Weeks
ZEFNET-PRO-60-CCR-SER-US | Premium Retractable Dual Plug Pedestal Package. Total 23kW Power, 11.5kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. w/Credit Card Module Option and w/Integrated Breaker Panel Option. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 12340 | 50% | 13 Weeks
ZEFNET-PRO-80-US | Premium Retractable Dual Plug Pedestal Package. Total 30.8kW Power, 15.4kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 10930 | 50% | 13 Weeks
ZEFNET-PRO-80-CCR-US | Premium Retractable Dual Plug Pedestal Package.. Total 30.8kW Power, 15.4kW per plug. 5-year warranty + support, 5-year cellular service, and 5-year portal access included. Includes smart phone app point-of-sale capabilities. Hot-dipped galvanized steel pedestal construction. w/Credit Card Module Option. Made with US-Sourced Steel. ZEF Energy branding included or custom branding available for an extra charge. | 12190 | 50% | 13 Weeks
Level 2 Chargers | ZEFNET Pro Accessories
ZEFNET-PRO-INSTALL KIT | ZEFNET PRO Install Plate and Anchor Kit with galvanized hardware | 115 | 50% | 3 Weeks
SHIP-ZNP-INSTALL-KIT | Shipping per ZEFNET-PRO-INSTALL KIT when shipped separate from ZEFNET-PRO | 28 | n/a | n/a
ZEFNET-PRO-HG-ANTENNA-KIT | Optional high gain antenna kit. Required for ZEFNET-PROs that will be installed in rural areas and anywhere with poor cellular signal. | 150 | 50% | Ships with ZEFNET PRO
ZEFNET-PRO-CCR-HG-ANTENNA-KIT | Optional high gain antenna kit. Required for credit card reader equipped ZEFNET-PROs that will be installed in rural areas and anywhere with poor cellular signal. | 225 | 50% | Ships with ZEFNET PRO
Level 2 Chargers | ZEFNET Pro Branding
ZEFNET-ZNP-VNYL-BRND-CUSTOM | Customer supplied branding, applied to the front and/or back panels of the ZEFNET PRO. | $129 per side | 50% | Dependent on completion of the customer's design
ZEFNET-VNYL-BRND-SETUP | One time, per design, artwork setup fee for custom branded charger vinyl. | 700 | 100%
Level 2 Chargers | Commissioning & Service Level Agreements
Cx_Commissioning Service Pro L2 | Single ZEFNET Pro Commissioning | 1320 | n/a | n/a
Cx_Commissioning Service Pro L2, addtl | Additional ZEFNET Pro Commissioning at same site | 440 | n/a | n/a
SLA_ZNP_Zone 1 PM Only | Preventative Maintenance Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 1 | 1422 | n/a | n/a
SLA_ZNP_Zone 1 PM Adder | PM SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 1 | 474 | n/a | n/a
SLA_ZNP_Zone 1 PM + Field | Preventative Maintenance and Warranty Field Labor Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 1 | 3002 | n/a | n/a
SLA_ZNP_Zone 1 PM + Field adder | PM + Field SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 1 | 1106 | n/a | n/a
SLA_ZNP_Zone 2 PM Only | Preventative Maintenance Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 2 | 1620 | n/a | n/a
SLA_ZNP_Zone 2 PM Adder | PM SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 2 | 540 | n/a | n/a
SLA_ZNP_Zone 2 PM + Field | Preventative Maintenance and Warranty Field Labor Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 2 | 3420 | n/a | n/a
SLA_ZNP_Zone 2 PM + Field adder | PM + Field SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 2 | 1260 | n/a | n/a
SLA_ZNP_Zone 3 PM Only | Preventative Maintenance Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 3 | 1980 | n/a | n/a
SLA_ZNP_Zone 3 PM Adder | PM SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 3 | 660 | n/a | n/a
SLA_ZNP_Zone 3 PM + Field | Preventative Maintenance and Warranty Field Labor Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 3 | 4180 | n/a | n/a
SLA_ZNP_Zone 3 PM + Field adder | PM + Field SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 3 | 1540 | n/a | n/a
SLA_ZNP_Zone 4 PM Only | Preventative Maintenance Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 4 | 2304 | n/a | n/a
SLA_ZNP_Zone 4 PM Adder | PM SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 4 | 768 | n/a | n/a
SLA_ZNP_Zone 4 PM + Field | Preventative Maintenance and Warranty Field Labor Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 4 | 4864 | n/a | n/a
SLA_ZNP_Zone 4 PM + Field adder | PM + Field SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 4 | 1792 | n/a | n/a
SLA_ZNP_Zone 5 PM Only | Preventative Maintenance Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 5 | 3096 | n/a | n/a
SLA_ZNP_Zone 5 PM Adder | PM SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 5 | 1032 | n/a | n/a
SLA_ZNP_Zone 5 PM + Field | Preventative Maintenance and Warranty Field Labor Service Level Agreement for a ZEFNET Pro, per year. Price varies by location of installed EVSE, Zone 5 | 6536 | n/a | n/a
SLA_ZNP_Zone 5 PM + Field adder | PM + Field SLA for each additional ZEFNET Pro at same site. price varies by location of installed EVSE, Zone 5 | 2408 | n/a | n/a
Level 2 Chargers | ZEFNET Pro Service Parts
ZNPCBA11 | ZEFNET Pro Peripheral Controller Box Assembly | 470 | 50% | 2 weeks
ZEFNET-ZNP-LED-ASSY | LED halo assembly, each | 227 | 50% | 2 weeks
ZEFNET-HMI-ASSY | Complete HMI (human/machine interface) assembly for ZEFNET PROs | 1602 | 50% | 2 weeks
HMI-PC-M8-01 | HMI to Peripheral Controller data cable, M8 to M8 | 7 | 50% | 1 week
CCRPCW-01 | ZEFNET Pro credit card reader power cable, M8 to MDB | 6 | 50% | 1 week
EPCW-10 | EVSE to Peripheral Controller M8 cable | 14 | 50% | 1 week
ZEFNET-ZNP-60-CABLE-CUT-SK v1 | Replacement Cable and Retractor Cable Clamp for ZEFNET-PRO-60's | 412 | 50% | 2 weeks
RETRACTOR-STD-M1-0.75" | Mobility1 Cable retractor with cable clamp for ZEFNET PROs | 374.9 | 50% | 2 weeks
RETRACTOR-CLAMP-M1-0.75 | Mobility1 Cable clamp for RETRACTOR-STD-M1-0.75" | 14.95 | 50% | 2 weeks
ZNP-ANT-DOME | Standard antenna for ZEFNET PROs | 101 | 50% | 1 Week