## Req'd shop dwg list
EQUIPMENT AND MATERIAL CHECKLIST
Section No. | Equipment/Material/Report | Shop Drawings/ Material Certifications/Reports Required | Mfr's Services Required | Spare Parts Required | O&M Manual Required | Extended Warranty Required
104 | Haul Route | Y | N | N | N | N | Strike through items that do not apply to project. Do not delete rows.
108 | Initial Project Schedule | Y | N | N | N | N
109 | Schedule of Values | Y | N | N | N | N
01502 | Flow Control & Sewage Bypassing Arrangement Plan | Y | N | N | N | N
01650 | Certified Factory Testing - Pumps | Y | N | N | N | N
| Certified Factory Testing - Control Panel | Y | N | N | N | N
| Certified Factory Testing - Generator | Y | N | N | N | N
| Operational Testing Report | Y | N | N | N | N
| Final Acceptance Testing and Certification Report | Y | N | N | N | N
02060 | Record Drawings | Y | N | N | N | N
| Permits | Y | N | N | N | N
02300 | Sheeting and Shoring Design | Y | N | N | N | N
| Material Certifications | Y | N | N | N | N
02495 | Equipment Details | Y | N | N | N | N
| Calculations | Y | N | N | N | N
| Pre-Construction Surveys | Y | N | N | N | N
| Post Construction Surveys | Y | N | N | N | N
| Conformation Of Threshold Values | Y | N | N | N | N
| Proposed Remedial Measures | Y | N | N | N | N
02930 | Seed Mixture | Y | N | N | N | N
| Fertilizer Product Data | Y | N | N | N | N
| Lime Product Data | Y | N | N | N | N
03300 | Cementious Materials | Y | N | N | N | N
| Aggregates | Y | N | N | N | N
| Admixtures | Y | N | N | N | N
| Concrete Mix Design | Y | N | N | N | N
| Reinforcing Steel | Y | N | N | N | N
| Formwork Drawings | Y | N | N | N | N
| Fiber Reinforcement | Y | N | N | N | N
| Testing Laboratory Qualifications | Y | N | N | N | N
03400 | Certificate of Manufacturer Qualifications | Y | N | N | N | N
| Calculations and Details | Y | N | N | N | N
| Pipe Connector Details | Y | N | N | N | N
| Joint Material Details and Specifications | Y | N | N | N | N
| Lifting Device and Hole Details | Y | N | N | N | N
03400 | Calculations or Test Results for Lifting Device Components and Holes | Y | N | N | N | N
| Concrete Mix Design | Y | N | N | N | N
| Concrete Strength Reports for Productions Days | Y | N | N | N | N
| Reinforcing and Cement Mill CertificatesMaterial Reports | Y | N | N | N | N
03930 | Design Data | Y | N | N | N | N
| Prepackaged Materials | Y | N | N | N | N
| Instructions | Y | N | N | N | N
| Seive Analysis for Aggregate | Y | N | N | N | N
| Epoxy Resin Binder Material Report | Y | N | N | N | N
| Epoxy Resin Grout Test Report | Y | N | N | N | N
| Product Experience Verification | Y | N | N | N | N
| Training Certificates | Y | N | N | N | N
| Diagram of Spalled Areas | Y | N | N | N | N
| Application and Delivery Records | Y | N | N | N | N
03931 | Design Data | Y | N | N | N | N
| Instructions | Y | N | N | N | N
| Resurfacing Materials Report | Y | N | N | N | N
| Epoxy Primer Report | Y | N | N | N | N
| Coating Report | Y | N | N | N | N
| Exterior Below Grade Waterproofing Report | Y | N | N | N | N
| Product Experience and Test Data - Coating System | Y | N | N | N | N
| Certificates - Training and Qualifications | Y | N | N | N | N
| Holiday Detection Report | Y | N | N | N | N
04200 | Concrete Masonry Unit Product Data | Y | N | N | N | N
| Brick Product Data | Y | N | N | N | N
| Reinforcement Product Data | Y | N | N | N | N
| Wire Ties and Anchors Product Data | Y | N | N | N | N
| Weeps Product Data | Y | N | N | N | N
| Cleaning Solution Product Data | Y | N | N | N | N
| Cavity Drainage Material | Y | N | N | N | N
| Mortar Mix Design | Y | N | N | N | N
| Grout Mix Design | Y | N | N | N | N
05500 | Welding Certificates | Y | N | N | N | N
| Anchor Details | Y | N | N | N | N
05500 | Structural Aluminum Fabrication Shop Drawings | Y | N | N | N | N
| Aluminum Grating | Y | N | N | N | N
| Steel Beam | Y | N | N | N | N
| Steel Lintel | Y | N | N | N | N
| Fasteners Product Data | Y | N | N | N | N
| Ladders | Y | N | N | N | N
| Ladder Cage | Y | N | N | N | N
05501 | Anchor Bolts Product Data | Y | N | N | N | N
| Expansion Anchors Product Data | Y | N | N | N | N
| Sleeve Anchors Product Data | Y | N | N | N | N
| Adhesive Anchors Product Data | Y | N | N | N | N
05510 | Structural Analysis Data | Y | N | N | N | N
| Structural Details | Y | N | N | N | N
05520 | Detail Drawings | Y | N | N | N | N
| Certified Test Results Showing Design Requirement Compliance | Y | N | N | N | N
| Virginia PE Sealed Structural Analysis Data | Y | N | N | N | N
| Welding Certificates | Y | N | N | N | N
05715 | Shop Drawings Sealed by Virginia PE | Y | N | N | N | N
| Design Data Sealed by Virginia PE | Y | N | N | N | N
| Installation Instructions | Y | N | N | N | N
06200 | Product Data for Each Fabricated Product | Y | N | N | N | N
| Material Certificates for Dimensioned Lumber | Y | N | N | N | N
| ICC-ES Evaluation Reports | Y | N | N | N | N
| Engineering Calculations for Wood Trusses | Y | N | N | N | N
07311 | Product Data | Y | N | N | N | N
| Manufacturers Warranty | Y | N | N | N | Y
07620 | Product Data | Y | N | N | N | N
| Shop Drawings | Y | N | N | N | N
07900 | Product Data | Y | N | N | N | N
08100 | Shop Drawings for Door and Frame | Y | N | N | N | N
| Product Data for Hardware | Y | N | N | N | N
08310 | Hatches | Y | N | N | N | N
09900 | Product Data | Y | N | N | N | N
| Instructions including MSDS | Y | N | N | N | N
| Certificates | Y | N | N | N | N
11307 | Shop Drawings | Y | Y | N | Y | N
11308 | Shop Drawings | Y | Y | N | Y | N
13329 | N/A | N/A | N/A | N/A | N/A | N/A
14630 | Trolley | Y | N | N | Y | N
| Beam | Y | N | N | N | N
| Load Test Certification | Y | N | N | N | N
15062 | Ductile Iron Pipe Materials Certification | Y | N | N | N | N
| Ceramic Epoxy Coating Information | Y | N | N | N | N
| PVC Pipe Materials Certification | Y | N | N | N | N
| Gate Valves | Y | N | N | Y | N
| Check Valves | Y | N | N | Y | N
| Ball Valves | Y | N | N | N | N
| Unions | Y | N | N | N | N
| Pipe Couplings | Y | N | N | N | N
| Pipe Sleeves | Y | N | N | N | N
| Non-Mechanical Type Seals | Y | N | N | N | N
| Mechanical Type Seals | Y | N | N | N | N
| Flanged Expansion Joint | Y | N | N | N | N
| Pipe Supports and Hangers | Y | N | N | N | N
| Water Service Piping | Y | N | N | N | N
15100 | Certified Performance Curves | Y | N | N | N | N
| Certified Copies of Hydrostatic Test Results | Y | N | N | N | N
| Setting Plan | Y | N | N | N | N
| Pump Submittal Data | Y | Y | Y | Y | N
| Location and Description of Service Centers and Spare Parts Stock | Y | N | N | N | N
| Manufacturer Annotation of Preferred Operating Range on Pump Curves | Y | N | N | N | N
| Torsional Analysis of Imtermediate Shafting | Y | N | N | N | N
| Bearing Life Projection and Warranty at Specified Operating Condition | Y | N | N | N | N
| Sump Pump | Y | N | N | N | N
| Pump Manufacturer Written Statement that Pump Was Installed in Accordance with Their Recommendations | Y | N | N | N | N
| Operation and Maintenance Manuals | Y | N | N | N | N
15150 | Certified Performance Curves | Y | N | N | N | N
| Certified Copies of Hydrostatic Test Results | Y | N | N | N | N
| Setting Plan | Y | N | N | N | N
| Pump Submittal Data | Y | Y | Y | Y | N
| Location and Description of Service Centers and Spare Parts Stock | Y | N | N | N | N
| Manufacturer Annotation of Preferred Operating Range on Pump Curves | Y | N | N | N | N
| Bearing Life Projection and Warranty at Specified Operating Condition | Y | N | N | N | N
| Pump Manufacturer Written Statement that Pump Was Installed in Accordance with Their Recommendations | Y | N | N | N | N
15160 | Setting Plan | Y | N | N | N | N
| Pump Submittal Data | Y | Y | Y | Y | Y
| Engine Information | Y | Y | Y | Y | Y
| Fuel Tank Information | Y | Y | Y | Y | Y
| Automatic Tank Gauging Information | Y | Y | Y | Y | Y
| System Enclosure Information | Y | Y | N | Y | Y
| Location and Description of Service Centers and Spare Parts Stock | Y | N | N | N | N
| List of User Contacts | Y | N | N | N | N
| Manufacturer Written Statement that Pump Was Installed in Accordance with Their Recommendations | Y | N | N | N | N
15163 | Shop Drawings | Y | Y | N | Y | Y
15170 | Pressure Transmitter | Y | N | N | N | N
| Float Switches | Y | N | N | N | N
| Submersible Level Transmitter | Y | N | N | N | N
| Pressure Sensor | Y | N | N | N | N
| Pressure Gauge Assembly | Y | N | N | N | N
| Intrusion Sensor | Y | N | N | N | N
15492 | Manufacturer's Product Data | Y | N | N | N | N
| Manufacturer's Installation Instructions | Y | N | N | N | N
| Welders Statements | Y | N | N | N | N
| Material Certificates | Y | N | N | N | N
15700 | Testing and Balancing Reports | Y | N | N | N | N
| Unit Heater | Y | N | N | N | N
| Wet Well Ventilation Fan | Y | N | N | Y | N
15700 | Control Room Ventilation Fan | Y | N | N | Y | N
| Dry Well Ventilation Fan | Y | N | N | Y | N
| Dampers | Y | N | N | N | N
| Louvers | Y | N | N | N | N
| Ductwork | Y | N | N | N | N
16010 | N/A | N/A | N/A | N/A | N/A | N/A
16050 | N/A | N/A | N/A | N/A | N/A | N/A
16120 | Conductors Product Data | Y | N | N | N | N
16130 | Raceway Product Information | Y | N | N | N | N
| Fittings Product Information | Y | N | N | N | N
| Outlet Box Product Information | Y | N | N | N | N
| Junction Box Product Information | Y | N | N | N | N
| Cabinets Product Information | Y | N | N | N | N
16140 | Switch Product Information | Y | N | N | N | N
| Duplex Receptacle Product Information | Y | N | N | N | N
| GFCI Receptacle Product Information | Y | N | N | N | N
16170 | Disconnect Switches | Y | N | N | Y | N
16260 | Motor Controlers | Y | N | N | Y | N
16310 | Factory Test Reports | Y | N | N | N | N
| Motor Control Panel | Y | Y | N | Y | N
16320 | Panelboards | Y | N | N | Y | N
16330 | Transformers | Y | N | N | N | N
16340 | Surge Protection Device | Y | N | N | N | N
16400 | Service Conduit | Y | N | N | N | N
16430 | Enclosed Main Circuit Breaker | Y | N | N | Y | N
16450 | Conductor Product Data | Y | N | N | N | N
| Ground Rod Product Data | Y | N | N | N | N
16500 | Product Data for Each Type of Fixture | Y | N | N | N | Y
16620 | Generator Package | Y | Y | N | Y | Y
| Automatic Tank Gauging System | Y | N | N | N | N
| Manufacturer' Calculations | Y | N | N | N | N
| Factory Test Reports | Y | N | N | N | N
| Source Quality Control Test Reports | Y | N | N | N | N
| Field Quality Control Test Reports | Y | N | N | N | N
| Special Warranty | Y | N | N | N | Y
| Reactive Load Bank Test Report | Y | N | N | N | N
16630 | Automatic Transfer Switch | Y | Y | N | Y | Y
| Operational Testing Report | Y | N | N | N | N
Add site and utility items and other project specific items not included in the pump station specifications.